## Sewerage Devlpment Contrib 1
Mogale City Local Municipality
Sewerage - Development contribution for an increase in the capacity for a premises
Land use types
Land Use Type |  | Res 1 | Res 2 | Res 3 | Res 4 | Bus 1 | Bus 2 | Bus 3 | Educational, Institutional, Municipal, Government | Old Age Homes, Hospitals, Residences,Hostels | Commercial, Industrial | Parks and Sport Grounds
A Development Contribution per land use type for sewage/wastewater
Cost of capacity per kℓ/d of average daily flow for: | R/kℓ/d
external and internal services (A) |  | 7112.9602 | 7112.9602 | 7112.9602 | 7112.9602 | 7112.9602 | 7112.9602 | 7112.9602 | 7112.9602 | 7112.9602 | 7112.9602 | 7112.9602
New Application
Area in Hectors (Application) |  | Land use types Bus 1: 0; Land use types Bus 2: 0; Land use types Bus 3: 0 | 0 | 0 | 0 | 0
FAR |  | Land use types Bus 1: 0; Land use types Bus 2: 0; Land use types Bus 3: 0 | 0 | 0 | 0
Application: Capacity for which application is lodged for the premises (B) | kℓ/d of average daily flow | 1.5 | 0.6 | 0.6 | 0.45 | 0.8 | 0.8 | 0.8 | 0.35 | 0.7 | 1.2 | 0
No of Units and/or equivalent Area (100m2) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Existing Allocation
Area in Hectors (Existing Allocation) |  | Land use types Bus 1: 0; Land use types Bus 2: 0; Land use types Bus 3: 0 | 0 | 0 | 0 | 0
FAR |  | Land use types Bus 1: 0; Land use types Bus 2: 0; Land use types Bus 3: 0 | 0 | 0 | 0
Existing allocation: Capacity that is currently applicable for the premises (C) | kℓ/d of average daily flow | 1.5 | 0.6 | 0.6 | 0.45 | 0.8 | 0.8 | 0.8 | 0.35 | 0.7 | 1.2 | 0
No of Units and/or equivalent Area (100m2) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Change in capacity as a result of the application for sewage/effluent (B)-(C) =(D) | kℓ/d of average daily flow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rand (Incl Vat @15%)
TOTAL DEVELOPMENT CONTRIBUTION SEWERAGE/WASTEWATER SERVICES | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d = day
FAR = floor area ratio
R/kℓ/d =Rand per kilolitre per day
kℓ/d = kilolitre per day
No. = number
Area in Hectors
Note on M19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dependent on Area
Note on M31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dependent on Area

## Sewerage per Land use Type
Mogale City Local Municipality
Sewerage - Guideline capacity requirements per land use type
Land use | Maximum FAR. / Maximum Number of Dwelling Units (Units) | Unit of measure | Guideline Capacity Requirement per Unit of Measure |  | Land use | Maximum FAR. / Maximum Number of Dwelling Units (Units) | Unit of measure | Guideline Capacity Requirement per Unit of Measure
Residential 1 | 1 unit/erf | kℓ/d/erf |  |  | Business 2 | FAR: 1.5 | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 1.5 |  |  |  |  | 0.8
Residential 2 | 20 units/ha | kℓ/d/unit |  |  | Business 2 | FAR: 2.0 | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 0.6 |  |  |  |  | 0.8
Residential 3 | 44 units/ha | kℓ/d/unit |  |  | Business 3 | FAR: 0.8 | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 0.6 |  |  |  |  | 0.8
Residential 4 | 64 units/ha | kℓ/d/unit |  |  | Schools Churches |  | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 0.45 |  | Government |  |  | 0.35
Municipal
Institutions
Business 1 | FAR: 2.0 | kℓ/d/100 m2 of floor area permitted by the FAR |  |  | Old aged homes |  | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 0.8 |  | Hospitals (medical facilities) |  |  | 0.7
Residences
Hostels
Business 1 | FAR: 5.0 | kℓ/d/100 m2 of floor area permitted by the FAR |  |  | Industrial |  | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 0.8 |  | Commercial (storage and warehousing) |  |  | 1.2
[5 empty] | Parks and Sport Grounds |  |  | <=2ha,12kℓ/day
>2ha<=10ha>10kℓ/day
>10ha=8kℓ/day
erf = stand |  |  |  | Data to be provided from time to time by the municipality
FAR = floor area ratio |  |  |  | Data to be provided by the municipality when assets are revalued
ha = hectare |  |  |  | Calculation from another sheet or transferred to another sheet
kℓ/d = kilolitre per day |  |  |  | Calculation in this sheet
kℓ/d/m2 = kilolitre per day per square metre |  |  |  | Information from application
kℓ/d/100m2 = kilolitre per day per one hundred square metres |  |  |  | Component of the development contribution
m2 = square metre |  |  |  | Development contribution for engineering services

## Sewerage Annual Increase
Sewerage - Annual increase in cost per kℓ/day
Year for which the development contribution is calculated
|  | Base year | Base year + 1 | Base year + 2 | Base year + 3 | Base year + 4
|  | 1 July 2021 to 30 June 2022 | 1 July 2022 to 30 June 2023 | 1 July 2023 to 30 June 2024 | 1 July 2024 to 30 June 2025 | 1 July 2025 to 30 June 2026
A - Increase factor |  | 6448.74 | 1.05 | 1.1025 | 1.1576 | 1.2155
B - Cost per per kℓ/day for the year for which the development contribution is calculated | [5 empty] | Rand
For sewage/wastewater treatment works capacity
Base year | [5 empty] | 6448.74
Increase factor for the year for which the development contribution is calculated (taken from A above) | [5 empty] | 1.103
Cost per kℓ/day for the year for which the development contribution is calculated | [5 empty] | 7112.9602
Data to be provided from time to time by the municipality
Data to be provided by the municipality when assets are revalued
Calculation from another sheet or transferred to another sheet
Calculation in this sheet
Information from application
Component of the development contribution
Development contribution for engineering services

## Water Develpment Contrib 1
Mogale City Local Municipality
Water supply - Development contribution for an increase in the capacity for a premises/Rezoning
Zoning |  | Res 1 | Res 2 | Res 3 | Res 4 | Bus 1 | Bus 2 | Bus 3 | Educational, Institutional, Municipal, Government | Old Age Homes, Hospitals, Residences,Hostels | Commercial, Industrial | Parks and Sport Grounds
Development Contribution per land use type
Cost of capacity per kℓ/d of average daily water demand for: | R/kℓ/d
external and internal services (A) |  | 2076.877 | 2076.877 | 2076.877 | 2076.877 | 2076.877 | 2076.877 | 2076.877 | 2076.877 | 2076.877 | 2076.877 | 2076.877
New Application
Area in Hectors (Application) |  | Bus 1: 0; Bus 2: 0; Bus 3: 0 | 0 | 0 | 0 | 0
FAR |  | Bus 1: 0; Bus 2: 0; Bus 3: 0 | 0 | 0 | 0
Application: Capacity for which the application is lodged for the premises (B) | kℓ/d of average daily flow | 1.8 | 0.8 | 0.8 | 0.6 | 1 | 1 | 1 | 0.5 | 0.8 | 1.7 | 0
No of Units and/or equivalent Area (100m2) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Existing Allocation
Area in Hectors (Existing Allocation) |  | Bus 1: 0; Bus 2: 0; Bus 3: 0 | 0 | 0 | 0 | 0
FAR |  | Bus 1: 0; Bus 2: 0; Bus 3: 0 | 0 | 0 | 0
Exising allocation: Capacity that is currently applicable for the premises (C) | kℓ/d of average daily flow | 1.8 | 0.8 | 0.8 | 0.6 | 1 | 1 | 1 | 0.5 | 0.8 | 1.7 | 0
No of Units and/or equivalent Area (100m2) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Change in capacity as a result of the application (B)-(C)=(D) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R (Incl Vat @ 15%)
TOTAL DEVELOPMENT CONTRIBUTION FOR WATER SUPPLY SERVICES/UNIT (excl Vat) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d = day
FAR = floor area ratio
R/kℓ/d =Rand per kilolitre per day
kℓ/d = kilolitre per day
No. = number
Area in Hectors
Note on M19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dependent on Area
Note on M31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dependent on Area

## Water per Land use Type
Mogale City Local Municipality
Water supply - Guideline potential daily water requirement per land use type
Land use | Maximum FAR. / Maximum Number of Dwelling Units (Units) | Unit of measure | Guideline Capacity Requirement per Unit of Measure |  | Land use | Maximum FAR. / Maximum Number of Dwelling Units (Units) | Unit of measure | Guideline Capacity Requirement per Unit of Measure
Residential 1 | 1 unit/erf | kℓ/d/erf |  |  | Business 2 | FAR: 1.5 | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 1.8 |  |  |  |  | 1
Residential 2 | 20- 40 units/ha | kℓ/d/unit |  |  | Business 2 | FAR: 1.0 | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 0.8 |  |  |  |  | 1
Residential 3 | 41-60 units/ha | kℓ/d/unit |  |  | Business 3 | FAR: 0.8 | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 0.8 |  |  |  |  | 1
Residential 4 | 61 units/ha | kℓ/d/unit |  |  | Schools Churches |  | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 0.6 |  | Government |  |  | 0.5
Municipal
Institutions
Residential 5 |  |  |  |  | Industrial 1
[5 empty] | Parks and Sports Grounds | <=2ha,15kl/day
>2ha<=10ha>12.5kl/day
Transitional Residential | n/a |  | determined by municipality |  |  | >10ha=10kl/day
Agricultural Residential | 1 unit/ agricultural holding |  | approved by municipality by means of SDP
Business 1 | FAR: 2.0 (Residential use, hotel, service industry, commercial use) | kℓ/d/100 m2 of floor area permitted by the FAR |  |  | Old aged homes |  | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 1 |  | Hospitals (medical facilities) |  |  | 0.8
Residences
Hostels
Business 1 | FAR: 5.0 (shops, office use) | kℓ/d/100 m2 of floor area permitted by the FAR |  |  | Industrial |  | kℓ/d/100 m2 of floor area permitted by the FAR
|  |  | 1 |  | Commercial (storage and warehousing) |  |  | 1.7
erf = stand |  |  |  | Data to be provided from time to time by the municipality
FAR = floor area ratio |  |  |  | Data to be provided by the municipality when assets are revalued
ha = hectare |  |  |  | Calculation from another sheet or transferred to another sheet
kℓ/d = kilolitre per day |  |  |  | Calculation in this sheet
kℓ/d/m2 = kilolitre per day per square metre |  |  |  | Information from application
kℓ/d/100m2 = kilolitre per day per one hundred square metres |  |  |  | Component of the development contribution
m2 = square metre |  |  |  | Development contribution for engineering services

## Water Annual Increase
Water supply - Annual increase in cost per kℓ/day
Year for which the development contribution is calculated
|  | Base year | Base year + 1 | Base year + 2 | Base year + 3 | Base year + 4
|  | 1 July 2021 to 30 June 2022 | 1 July 2022 to 30 June 2023 | 1 July 2023 to 30 June 2024 | 1 July 2024 to 30 June 2025 | 1 July 2025 to 30 June 2026
A - Increase factor |  | 1888.07 | 1.05 | 1.1025 | 1.1576 | 1.2155
B - Cost per per kℓ/day for the year for which the development contribution is calculated | [5 empty] | Rand
Base year | [5 empty] | 1888.07
Increase factor for the year for which the development contribution is calculated (taken from A above) | [5 empty] | 1.1
Cost per kℓ/day for the year for which the development contribution is calculated | [5 empty] | 2076.877
Data to be provided from time to time by the municipality
Data to be provided by the municipality when assets are revalued
Calculation from another sheet or transferred to another sheet
Calculation in this sheet
Information from application
Component of the development contribution
Development contribution for engineering services