## BUILDING BOQ
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO.1 :
1 | SECTION 1A: PRELIMINARY & GENERAL
Contractual requirement (As described in section C3)
General items
1,1 | Budgetary Allowance: For unscheduled or non-schedule items which are not specified in the Bills of Quantities (Determined by the Mogale City Local Municipality), | Psum | 1 | 2000000
1.3 | Industrial scaffolding, Specialised Machinery, Plant and Equipment | Psum | 1 | 700000
| TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (SECTION 1A P&G's ONLY) |  |  | 2700000
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL No 1B :
SECTION 1B: LABOUR RATE
Work done between Monday and Friday from 7:30am to 4pm shall be paid as per qouted rate for that particular item.
Overtime during Saturdays; Sundays; and Public Holidays
1.4 | Artisan Builder | Hour | 1 | R
1.5 | Assistant Builder | Hour | 1 | R
1.6 | Artisan Carpenter | Item | 1 | R
1.7 | Assistant Carpenter | Item | 1 | R
1.8 | Labourer | Item | 1 | R
| TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (SECTION 1B: LABOUR RATE) |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
2 | DEMOLITIONS, REMOVALS AND ALTERATIONS - SANS 1200C
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
Old materials
Old materials from alterations except where described to be reused or handed over, become the property of the Contractor who must allow credit for same in the item rates as described below. Old materials from the removals and alterations except where described to be reused or handed over, as well as old rubbish, must regularly be carted from the site and not be allowed to accumulate on or around the site. None of the old materials are to be used for new work except where specifically described as to be handed over by the contractor to the Employer. Such materials or articles shall be properly stored by the contractor until handing over thereof. The contractor shall obtain an official receipt listing the materials or articles and dates of handing over. If the contractor fails to submit the receipt when requested to do so it shall be deemed that the materials or articles are still in his possesion and he will be held liable to the Employer for the full replacement value thereof which amount will be deducted from any monies due to the contractor
Rates must be shown in full and extended and not lumped.
The Employer reserve the right to keep any or all of the old materials described in the bill of quantities irrespective of such materials having been priced or not at the rates indicated against the respective items.
TEMPORARY BARRIERS ,SCREENS,
Temporary barriers, screens, including removal
2.1 | Dust screen 2500mm high between concrete floor and suspended ceiling formed of suitable timber framing and polyethylene sheeting stapled on including corners, ends, | m | 1 | R
2.2 | Drywall barrier 2500mm high formed of galvinized steel channel section rails and studs covered on one side with 12.7mm gypsum board panels and finishes with two coats interior quality PVA emulsion paint on one side including corners, ends, | m | 1 | R
2.3 | Extra over drywall screen for a single door and frame complete with 3 lever lock and handle | m | 1 | R
REMOVAL OF EXISTING WORK
2.4 | Breaking down and removing concrete including finishes, | m³ | 1 | R
2.5 | Strip footings, basis, | m³ | 1 | R
2.6 | Steps and landings | m³ | 1 | R
2.7 | Raised floors | m³ | 1 | R
2.8 | Surface bed | m³ | 1 | R
Breaking up and removing reinforced concrete, including cutting off and removing reinforcement
2.9 | Slabs | m³ | 1 | R
2.1 | Stairs and landings | m³ | 1 | R
2.11 | Columns | m³ | 1 | R
2.12 | Beams | m³ | 1 | R
Lift and removing pre-cast concrete including bedding,
2.13 | 60mm Interlocking paving | m² | 1 | R
2.14 | 80mm Interlocking paving | m² | 1 | R
2.15 | 50mm Cement or brick paving | m² | 1 | R
Breaking down and removing brickwork including finishes,
2.16 | Half brick walls | m² | 1 | R
2.17 | One brick walls | m² | 1 | R
2.18 | One and a half brick walls | m² | 1 | R
Taking out and removing doors, windows, from partitioning to be demolished
2.19 | Timber door and aluminium frame 813 x 2032mm high | No | 1 | R
2.2 | Timber door and aluminium frame 813 x 2032mm high and make good 90mm partition wall | No | 1 | R
2.21 | Window panel | No | 1 | R
Taking out and removing doors, windows, from brickwork to be demolished
2.22 | Timber door and steel frame from brick wall | No | 1 | R
2.23 | Timber double door and steel frame from brick wall | No | 1 | R
2.24 | Timber paraplegic door and steel frame 900 x 2032mm high from brick wall | No | 1 | R
2.25 | Steel strong room door and frame 900 x 2130mm high from brick wall | No | 1 | R
2.26 | Glazed steel window from brick wall | No | 1 | R
Taking out and removing windows, including thresholds, sills, and building up openings in brick walls including making good cement plaster on both sides
2.27 | 110mm brick wall | m² | 1 | R
2.28 | 220mm brick wall | m² | 1 | R
2.29 | 345mm brick wall | m² | 1 | R
Taking down and removing roofs, floors, panelling, ceilings, partitions,
2.3 | Steel roof sheeting from timber or steel trusses including ridge, flashings, | m² | 1 | R
2.31 | Concrete tiles from timber or steel trusses including ridge, flashings, | m² | 1 | R
2.32 | 150 x 150mm Sheet iron eaves gutter | m | 1 | R
2.33 | 100 x 75mm Sheet iron down pipe | m | 1 | R
2.34 | 15 x 300mm Fibre cement or timber fascia and barge boards | m | 1 | R
2.35 | Timber suspended floors including support beams, | m | 1 | R
2.36 | Timber wall panneling iincluding cleats, beads, | m² | 1 | R
2.37 | 6.4mm Nailed up ceilings including brandering cornices, | m² | 1 | R
2.38 | 9.5mm Suspended ceiling including framework, cornices, | m² | 1 | R
2.39 | Drywall, timber, partitioning 2800mm high and make good finishes | m | 1 | R
2.4 | Vertical bulkhead not exceeding 500mm high | m | 1 | R
2.41 | Aluminium glazed shopfronts including doors ±2500mm high | m | 1 | R
Taking out sundry carpentry items,
2.42 | Timber skirting and quadrants | m | 1 | R
2.43 | Timber skirting and quadrants to treads and risers | m | 1 | R
2.44 | PVC skirting and quadrants | m | 1 | R
2.45 | PVC skirting and quadrants to treads and risers | m | 1 | R
2.46 | Aluminium skirting and quadrants | m | 1 | R
2.47 | Aluminium skirting and quadrants to treads and risers | m | 1 | R
2.48 | Aluminium edging | m | 1 | R
Taking out and removing sundry joinery work
2.49 | Existing timber wall shelving, brackets, cleats, not exceeding 300mm wide | m | 1 | R
2.5 | 600mm Wide x 800mm high kitchen floor units complete with doors, | m | 1 | R
2.51 | 600mm Wide x 2800mm high built in cupboard complete with doors, shelving, | m | 1 | R
2.52 | Soft board pinning boards including timber framing around | m² | 1 | R
2.53 | Notice, white boards, 1200 x 900mm high | No | 1 | R
Taking up and removing vinyl floor coverings, carpeting, and prepare screed for new carpet or ceramic tiles
2.54 | Vinyl tile floor tile covering including skirtings and preparing screed for new ceramic tiles covering | m² | 1 | R
2.55 | Vinyl tile floor tile covering including skirtings and preparing screed for treads and risers | m² | 1 | R
2.56 | Carpet tile floor covering and preparing screed for new carpet tiles | m² | 1 | R
2.57 | Carpet tile floor covering to treads and risers and preparing screed for new carpet tiles | m² | 1 | R
2.58 | Carpet floor covering including underfelt and preparing screed for new carpet tiles | m² | 1 | R
2.59 | Parquet wood flooring including skirtings, for new carpet tiles | m² | 1 | R
2.6 | Remove existing wallpaper to walls and prepare surfaces to receive new paint, including skim coat plaster | m² | 1 | R
2.61 | Laminated floor covering including underfelt and preparing screed for new laminated flooring | m² | 1 | R
Sundries
2.62 | Remove existing aluminium stair nosing | m | 1 | R
2.63 | Remove existing alumnium angle edging to treads and risers of stairs | m | 1 | R
Taking out and replacing ironmongery
2.64 | Brass window peg stay | No | 1 | R
2.65 | Brass window handle | No | 1 | R
2.66 | Brass gripper catch | No | 1 | R
Taking out and refixing ironmongery,
2.67 | Two or three lever lockset from timber door | No | 1 | R
2.68 | WC Indicator bolt from timber door | No | 1 | R
2.69 | Chromium plated hat and coat hook | No | 1 | R
Ironmongery sundries
2.7 | Remove existing curtain tracks, rails, vertical louvres, | No | 1 | R
2.71 | Remove existing towel rails, toilet paper holders, | No | 1 | R
2.72 | Service existing door locksets by tightening loose screws, fixing handles, | No | 1 | R
2.73 | Service existing WC locksets by tightening loose screws, fixing handles, | No | 1 | R
2.74 | Service existing aluminium door lockset by tightening loose screws, fixing handles, | No | 1 | R
2.75 | Service existing aluminium double door lockset by tightening loose screws, fixing handles, | No | 1 | R
2.76 | Service existing door closer by tightening loose screws, fixing handles, | No | 1 | R
2.77 | Service existing aluminium louvre fanlight with vertical glass by tightening loose screws, fixing blades, | No | 1 | R
Hacking up/off and removing granolithic, screeds, plaster, from concrete or brickwork and preparing surfaces for new screeds plaster,
2.78 | 50mm Granolithic on floors | m² | 1 | R
2.79 | 50mm Granolithic from treads and risers of stairs | m² | 1 | R
2.8 | 30mm Screed on floors | m² | 1 | R
2.81 | 50mm Screed on floors | m² | 1 | R
2.82 | Internal plaster from walls and columns | m² | 1 | R
2.83 | Internal plaster from ceilings and beams | m² | 1 | R
2.84 | External plaster from walls and columns | m² | 1 | R
Hacking up/off and removing ceramic tile floor and wall finishes including removing mortar bed or backing and preparing concrete or brick surfaces for new screed, plaster or tile finishes
2.85 | Tiles to floors including skirtings | m² | 1 | R
2.86 | Tiles to treads and risers in narrow widths | m² | 1 | R
2.87 | Tiles to walls | m² | 1 | R
2.88 | Tiles to walls in narrow widths | m² | 1 | R
2.89 | Tile skirting 150mm high | m² | 1 | R
Hacking up/off and removing porcelain tile floor and wall finishes including removing mortar bed or backing and preparing concrete or brick surfaces for new screed, plaster or tile finishes
2.9 | Tiles to floors including skirtings | m² | 1 | R
2.91 | Tiles to treads and risers in narrow widths | m² | 1 | R
2.92 | Tiles to walls | m² | 1 | R
2.93 | Tiles to walls in narrow widths | m² | 1 | R
2.94 | Tile skirting 150mm high | m² | 1 | R
Taking out and removing glass and mirrors
2.95 | Remove existing mirrors | No | 1 | R
2.96 | Glass from steel windows including cleaning out rebates and preparing for new glass | No | 1 | R
2.97 | Glass from aluminium doors or windows including cleaning out rebates and preparing for new glass | m² | 1 | R
2.98 | Glass from timber doors or windows including cleaning out rebates and preparing for new glass | m² | 1 | R
BUILDING UP OPENINGS - SANS 2001-CM2:2011
Brickwork in NFP bricks in class II mortar in building up openings
2.99 | 115mm brickwall | m² | 1 | R
2.1 | 230mm brick walls | m² | 1 | R
2.101 | 345mm brick walls | m² | 1 | R
Brickwork in NFP bricks in class II mortar in building up openings, including bonding new to existing and making good cement plaster on both sides (paint elsewhere mesured)
2.102 | 110mm brickwall | m² | 1 | R
2.103 | 220mm brick walls | m² | 1 | R
2.104 | 345mm brick walls | m² | 1 | R
Sundries
2.105 | Cutting toothings and bonding new brickwork to existing | m² | 1 | R
Face bricks pointed with flush horizontal and vertical joints
2.106 | Extra over brickwork for face brickwork in patches | m² | 1 | R
2.107 | 150mm Wide brick-on-edge header course sill set sloping and slightly projecting | m | 1 | R
2.108 | Cutting toothings and bonding new face brickwork to existing | m | 1 | R
PREPARATORY WORK TO EXISTING SURFACES
2.109 | Cutting out joints of existing brickwork to receive plaster | m² | 1 | R
2.11 | Hacking face of existing concrete columns, beams, to receive plaster | m² | 1 | R
2.111 | Making good defects in existing screeded floors | m² | 1 | R
MAKING GOOD OF FINISHES
Making good face brickwall
2.112 | Brickwork at end of half brick wall | m | 1 | R
2.113 | Brickwork at end of one brick wall | m | 1 | R
Making good "Rhino" gypsum plasterboard ceilings and brandering
2.114 | Ceiling in patches | m² | 1 | R
2.115 | Ceilings where half brick walls removed | m² | 1 | R
2.116 | Ceilings where one brick walls removed | m² | 1 | R
2.117 | Traps Door in gypsum ceiling, size 650mm x 650mm | m² | 1 | R
2.118 | Traps Door in fibre cement ceiling, size 650mm x 650mm | m² | 1 | R
Making good vinyl floor tiles
2.119 | Floors in patches | m² | 1 | R
2.12 | Floors where partitions removed | m | 1 | R
2.121 | Floors where one brick walls removed | m | 1 | R
2.122 | Floors where one brick walls removed | m | 1 | R
Making good untinted granolithic
2.123 | Making good screed where brick walls, removed not exceeding 300mm wide | m | 1 | R
Making good cement screeds
2.124 | 30mm thick floors in patches | m² | 1 | R
2.125 | Making good screed where brick walls, removed not exceeding 300mm wide | m | 1 | R
2.126 | Making good plaster to face of walls where brick walls, removed not exceeding 300mm wide | m | 1 | R
2.127 | Making good plaster to concrete ceiling where wall removed not exceeding 300mm wide | m | 1 | R
Making good internal cement plaster
2.128 | Walls in patches | m² | 1 | R
2.129 | Concrete ceilings in patches | m² | 1 | R
2.13 | Walls where half brick walls removed | m² | 1 | R
2.131 | Walls where one brick walls removed | m² | 1 | R
2.132 | Concrete ceilings where half brick walls removed | m² | 1 | R
2.133 | Concrete ceilings where one brick walls removed | m² | 1 | R
Making good white glazed tiles
2.134 | Walls in patches | m² | 1 | R
2.135 | Walls where half brick walls removed | m² | 1 | R
2.136 | Walls where one brick walls removed | m² | 1 | R
Making good porcelain tiles
2.137 | Walls in patches | m² | 1 | R
2.138 | Walls where half brick walls removed | m² | 1 | R
2.139 | Walls where one brick walls removed | m² | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 2 - DEMOLITIONS,REMOVALS AND ALTERATIONS) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 3
3 | EARTHWORKS (PROVISIONAL) - SANS 1200DA
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
NOTE:
For Preambles see the Model Preambles for Trades 2008
Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site
EARTHWORKS
SUPPLEMENTARY PREAMBLES
Nature of ground
Descriptions of excavations shall be deemed to include all ground conditions classifiable as "earth" and where conditions of a more difficult character are indicated these are separately measured
Demolitions
Taking down and removing
3.1 | Diamond mesh fence with steel posts and droppers | m² | 1 | R
3.2 | Steel palisade fence with steel posts and droppers | m² | 1 | R
3.3 | Concrete palisade fence with concrete posts and droppers | m² | 1 | R
3.4 | Security fence with 45 degree barbed wire overhang with posts and droppers | m² | 1 | R
3.5 | Half brick boundary or yard wall | m² | 1 | R
3.6 | One brick boundary or yard wall | m² | 1 | R
Carting away of excavated material
Site clearance
3.7 | Digging up and removing rubbish, debris, vegetation, hedges, shrubs and trees not exceeding 200mm girth, bushes, and remove from site to a dumping site located by the contractor | m² | 1 | R
3.8 | Excavate and remove topsoil 150mm deep and deposit on site | m³ | 1 | R
3.9 | Remove rubble from site to a dumping site located by the contractor | m³ | 1 | R
BULK EXCAVATION, FILLING,
Open face excavation
3.1 | Not exceeding 2m deep | m³ | 1 | R
3.11 | Exceeding 2m and not exceeding 4m deep | m³ | 1 | R
3.12 | Exceeding 4m and not exceeding 6m deep | m³ | 1 | R
Extra over bulk excavation in earth for excavation in
3.13 | Soft rock | m³ | 1 | R
3.14 | Hard rock | m³ | 1 | R
Risk of collapse of excavations
3.15 | Sides of bulk excavations not exceeding 1,5m deep | m² | 1 | R
3.16 | Sides of bulk excavations exceeding 1,5m deep | m² | 1 | R
Compaction of surfaces
3.17 | Compaction of ground surface under building including scarifying for a depth of 150mm, breaking down over size material, adding suitable material where necessary and adding 2% cement and compacting to 95% Mod AASHTO density | m² | 1 | R
Excavation in earth not exceeding 2m deep
3.18 | Under buildings to platforms | m² | 1 | R
3.19 | Under paving, ramps, steps, not exceeding 300mm deep and grade to levels | m² | 1 | R
Extra over bulk excavation in earth for excavation in
3.2 | Soft rock | m³ | 1 | R
3.21 | Hard rock | m³ | 1 | R
Risk of collapse of excavations
3.22 | Sides of bulk excavations not exceeding 1,5m deep | m² | 1 | R
Extra over all excavations for carting away
3.23 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m³ | 1 | R
Compaction of surfaces
3.24 | Compaction of ground surface under building including scarifying for a depth of 150mm, breaking down over size material, adding suitable material where necessary and adding 2% cement and compacting to 95% Mod AASHTO density | m² | 1 | R
Imported filling G5 material supplied by the contractor and compacted to 98% Mod AASHTO density in 150mm thick layers
3.25 | To platforms | m³ | 1 | R
Earth filling obtained from the excavations and/or prescribed stock piles on site compacted to 93% Mod AASHTO density
3.26 | To embankments | m³ | 1 | R
3.27 | Over site to make up levels | m³ | 1 | R
3.28 | In prescribed stock piles on site | m³ | 1 | R
EXCAVATION, FILLING, OTHER THAN BULK Excavation in platform not exceeding 2m deep
3.29 | Trenches | m³ | 1 | R
3.3 | Ground beams | m³ | 1 | R
3.31 | Column bases | m³ | 1 | R
Extra over trench and hole excavations in earth for excavation in
3.32 | Soft rock | m³ | 1 | R
3.33 | Hard rock | m³ | 1 | R
Risk of collapse of excavations
3.34 | Sides of trench and hole excavations not exceeding 1,5m deep | m² | 1 | R
Compaction of surfaces
3.35 | Compaction of ground surface to bottom of trenches including shaping and scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where neccessary and compacting to 95% Mod AASHTO density | m² | 1 | R
3.36 | Compaction of ground surface under paving including shaping and scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where neccessary and compacting to 95% Mod AASHTO density | m² | 1 | R
Earth filling obtained from the excavations and/or prescribed stock piles on site compacted to 95% Mod AASHTO density in 150mm layers
3.37 | Under ramps | m³ | 1 | R
3.38 | Under raft slab, | m³ | 1 | R
3.39 | Backfilling to trenches, holes, | m³ | 1 | R
Filling G5 material supplied by the contractor and compacted to 95% Mod AASTHO density in 150mm layers
3.4 | Under floors | m³ | 1 | R
3.41 | Under apron paving | m³ | 1 | R
Filling G6 material supplied by the contractor and compacted to 95% Mod AASTHO density in 150mm layers
3.42 | Under floors | m³ | 1 | R
Filling G7 material supplied by the contractor and compacted to 95% Mod AASTHO density in 150mm layers
3.43 | Under floors | m³ | 1 | R
Protection against termites
3.44 | Poisoning surface of ground or filling under floors, steps, . including raking out 75mm deep V-shaped channels against the walls, . treating with poison solution, backfilling and ramming | m² | 1 | R
Prescribed density tests on filling
3.45 | Modified AASHTO Density test | No | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 3 - EARTHWORKS) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 4
4 | CONCRETE, FORMWORK AND REINFORCEMENT - SANS 2001-CC2
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
SUPPLEMENTARY PREAMBLES
Cost of tests
The costs of making, storing and testing of concrete test cubes as required under clause 7 "Tests" of SABS 1200 G shall include the cost of providing cube moulds necessary for the purpose, for testing costs and for submitting reports on the tests to the architect. The testing shall be undertaken by an independent firm or institution nominated by the contractor to the approval of the project manager. (Test cubes are measured separately)
Formwork
Descriptions of formwork shall be deemed to include use and waste only (except where described as "left in" or "permanent"), for fitting together in the required forms, wedging, plumbing and fixing to true angles and surfaces as necessary to ensure easy release during stripping and for reconditioning as necessary before re-use.
The vertical strutting shall be carried down to such construction as is sufficiently strong to afford the required support without damage and shall remain in position until the newly constructed work is able to support itself.
Formwork to soffits of solid slabs shall be deemed to be to slabs not exceeding 250mm thick unless otherwise described
Formwork to sides of bases, pile caps, ground beams, will only be measured where it is prescribed by the engineer for design reasons. Formwork necessitated by irregularity or collapse of excavated faces will not be measured and the cost thereof shall be deemed to be included in the allowance for taking the risk of collapse of the sides of the excavations, provision for which is made in "Earthworks"
CONCRETE CAST AGAINST EXCAVATED SURFACES
15MPa/20mm Concrete
4.1 | Surface blinding under footings and bases | m³ | 1 | R
4.2 | Strip footings | m³ | 1 | R
4.3 | Holes, bases, | m³ | 1 | R
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
25MPa/20mm Concrete
4.4 | Strip footings | m³ | 1 | R
4.5 | Column bases | m³ | 1 | R
4.6 | Raft slab and beams | m³ | 1 | R
4.7 | In ramps | m³ | 1 | R
4.8 | Surface beds cast in panels on waterproofing | m³ | 1 | R
4.9 | Thickening out surface beds incliding excavation | m³ | 1 | R
4.1 | In steps | m³ | 1 | R
REINFORCED CONCRETE
25MPa/20mm Concrete
4.11 | Slabs and beams | m³ | 1 | R
4.12 | Columns | m³ | 1 | R
4.13 | Stairs and landings | m³ | 1 | R
4.14 | Wall beams | m³ | 1 | R
4.15 | Ramps | m³ | 1 | R
30MPa/20mm Concrete
4.16 | Slabs and beams | m³ | 1 | R
4.17 | Columns | m³ | 1 | R
4.18 | Stairs and landings | m³ | 1 | R
4.19 | Wall beams | m³ | 1 | R
4.2 | Ramps | m³ | 1 | R
4.21 | Machine bases | m³ | 1 | R
TEST BLOCKS
4.22 | Making and testing 150 x 150 x 150mm concrete strength test cubes | No | 1 | R
(Provisional)
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a wood float
4.23 | Surface beds, slabs | m³ | 1 | R
4.24 | Surface beds, slabs, to falls and currents | m³ | 1 | R
ROUGH FORMWORK (DEGREE OF ACCURACY III)
Rough formwork to sides
4.25 | Square and rectangular columns | m³ | 1 | R
4.26 | Sides of beams | m³ | 1 | R
4.27 | Wall beams | m³ | 1 | R
4.28 | Edge of slabs not exceeding 300mm high | m | 1 | R
4.29 | Edge of steps, risers, surface beds, not exceeding 300mm high | m | 1 | R
Rough formwork to soffits
4.3 | Beams | m³ | 1 | R
4.31 | Wall beams | m³ | 1 | R
4.32 | Slabs not exceeding 3.5m high | m³ | 1 | R
SMOOTH FORMWORK (DEGREE OF ACCURACY II)
Smooth formwork to sides
4.33 | Square and rectangular columns | m³ | 1 | R
4.34 | Sides of beams | m² | 1 | R
4.35 | Wall beams | m² | 1 | R
4.36 | Edge of slabs not exceeding 300mm high | m | 1 | R
4.37 | Edge of steps, risers, surface beds, not exceeding 300mm high | m | 1 | R
Smooth formwork to soffits
4.38 | Beams | m² | 1 | R
4.39 | Wall beams | m² | 1 | R
4.4 | Slabs not exceeding 3.5m high | m² | 1 | R
4.41 | Slabs exceeding 3.5m but not exceeding 4.5m high | m² | 1 | R
REINFORCEMENT (PROVISIONAL)
Mild steel reinforcement to structural concrete work
4.42 | 8mm Diameter bars | t | 1 | R
4.43 | 12mm Diameter bars | t | 1 | R
4.44 | 16mm Diameter bars | t | 1 | R
4.45 | 25mm Diameter bars | t | 1 | R
High tensile steel reinforcement to structural concrete work
4.46 | 8mm Diameter bars | t | 1 | R
4.47 | 12mm Diameter bars | t | 1 | R
4.48 | 16mm Diameter bars | t | 1 | R
4.49 | 25mm Diameter bars | t | 1 | R
Fabric reinforcement
4.5 | Type 193 fabric reinforcement in concrete surface beds, slabs, | m² | 1 | R
4.51 | Type 245 fabric reinforcement in concrete surface beds, slabs, | m² | 1 | R
4.52 | Type 395 fabric reinforcement in concrete surface beds, slabs, | m² | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 4 - CONCRETE, FORMWORK AND REINFORCEMENT) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
5 | PRECAST CONCRETE - SANS 2001-CC2
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
SUPPLEMENTARY PREAMBLES
Sizes
Blocks, sills, measured linear shall be made in suitable lengths. Large size setting out drawings shall be prepared where necessary and submitted to the architect for approval before moulds are made
General
Where kerbstones, blocks, are laid in ground descriptions shall be deemed to include necessary excavation, filling in and ramming
CEMENT BRICK PAVING
5.1 | 50mm Thick SABS approved coloured cement brick paving of 112 x 224mm bricks laid to falls on 25mm sand layer with joints filled in with sand and vibrated, including all straight cutting including approved weedkiller | m² | 1 | R
INTERLOCKING PRECAST CONCRETE PAVING
5.2 | 60mm Thick grey interlocking precast concrete paving blocks with butt joints on and including 20mm thick river-sand bedding treated with weedkiller and with clean sand swept into joints. | m² | 1 | R
5.3 | 80mm Thick grey interlocking precast concrete paving blocks with butt joints on and including 20mm thick river-sand bedding treated with weedkiller and with clean sand swept into joints. | m² | 1 | R
5.4 | Extra over for circular cutting to 60mm thick precast concrete paving blocks | m | 1 | R
5.5 | Extra over for circular cutting to 80mm thick precast concrete paving blocks | m | 1 | R
Kerbs, slabs,
5.6 | Precast concrete garden kerb to SABS 927 , size 50 x 225mm high in 1000mm lengths, wet pressed, placed in position, bedded and jointed in (3:1) cement mortar and flush pointed on exposed faces, including 15MPa/19mm unreinforced concrete haunching at back of each joint, including excavation, backfilling, ramming, . | m | 1 | R
5.7 | Precast concrete mountable kerbing to SABS 927 , size 150 x 300mm high in 1000mm lengths, wet pressed, placed in position, bedded and jointed in (3:1) cement mortar and flush pointed on exposed faces, including 15MPa/19mm unreinforced concrete haunching at back of each joint, including excavation, backfilling, ramming, . | m | 1 | R
5.8 | Precast concrete mountable kerbing to SABS 927, size 150 x 300mm high in 1000mm lengths, with and including 250 x 180mm thick concrete weathered channel cast in suitable lengths, including all necessary formwork, wet pressed, placed in position, bedded and jointed in (3:1) cement mortar and flush pointed on exposed faces, including 15MPa/19mm unreinforced concrete haunching at back of each joint, including excavation, backfilling, ramming, . | m | 1 | R
5.9 | Precast concrete mountable kerbing to SABS 927, size 150 x 300mm high in 1000mm lengths, with and including 250 x 180mm thick concrete weathered channel cast in suitable lengths, including all necessary formwork, wet pressed, placed in position, bedded and jointed in (3:1) cement mortar and flush pointed on exposed faces, including 15MPa/19mm unreinforced concrete haunching at back of each joint, including excavation, backfilling, ramming, but circular on plan to radius not exceeding 2m | m | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 5 - PRECAST CONCRETE) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 6
6 | MASONRY - SANS 2001-CM1/CM2
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
SUPPLEMENTARY PREAMBLES
BRICKWORK
Sizes in descriptions
Where sizes in descriptions are given in brick units, "one brick" shall represent the length and "half brick" the width of a brick
Face bricks
Bricks shall be ordered timeously to obtain uniformity in size and colour
Pointing
Descriptions of recessed pointing to fair face brickwork and face brickwork shall be deemed to include square recessed, hollow recessed, weathered pointing,
FOUNDATIONS (PROVISIONAL)
Brickwork of NFPE bricks (14Mpa nominal compressive strength) in class I (1:3) mortar
6.1 | One brick walls | m² | 1 | R
6.2 | One and a half brick walls | m² | 1 | R
SUPERSTRUCTURE
Brickwork of NFP bricks (7.5Mpa nominal compresive strength) in class II (1:4) mortar
6.3 | Piers | m² | 1 | R
6.4 | Half brick walls | m² | 1 | R
6.5 | Half brick walls inside existing | m² | 1 | R
6.6 | Half brick walls in lining to existing walls | m² | 1 | R
6.7 | Half brick walls in beamfilling | m² | 1 | R
6.8 | One brick walls | m² | 1 | R
6.9 | One brick walls circular on plan | m² | 1 | R
6.1 | One brick walls in gables, parepets, m² | m² | 1 | R
6.11 | One brick walls in fire wall | m² | 1 | R
WALL CLADDING
Stone wall cladding (PC Sum of R 300.00/m2 delivered to site) as supplied by Durastone or similar approved
6.12 | Split face stone wall cladding to external walls build in mortar as per suppliers instructions | m² | 1 | R
BRICKWORK SUNDRIES
Brickwork reinforcement
6.13 | 75mm Wide reinforcement built in horizontally | m | 1 | R
6.14 | 150mm Wide reinforcement built in horizontally | m | 1 | R
Prestressed fabricated lintels
6.15 | 110 x 75mm not exceeding 3m Lintels | m | 1 | R
6.16 | 110 x 75mm exceeding 3m but not exceeding 4.5m Lintels | m | 1 | R
Turning pieces
6.17 | 110mm Wide turning piece to lintels | m | 1 | R
6.18 | 220mm Wide turning piece to lintels | m | 1 | R
Bonding to existing
6.19 | Cutting toothings and bonding new brickwork to existing | m² | 1 | R
Galvanised hoop iron cramps, ties,
6.2 | 30 x 1,6mm Roof tie 1500mm long with one end fixed to timber and
| other end built into brickwork | No | 1 | R
6.21 | 30 x 1,6mm Wall tie 1500mm long with one end shot pinned to concrete and other end build into brickwork | No | 1 | R
Air bricks .
6.22 | 229 x 76mm Clay vermin proof air brick | No | 1 | R
6.23 | 229 x 156mm Clay vermin proof air brick | No | 1 | R
FACE BRICKWORK
Approved FBS face bricks (PC Sum of R 4500.00/1000 delivered to site) built in strher bond and pointed with square recessed horizontal and vertical joints, including fair cutting , angles,
6.24 | Extra over brickwork for face brickwork | m² | 1 | R
6.25 | Extra over brickwork for face brickwork in foundation walls, ramp, | m² | 1 | R
6.26 | Extra brickwork for face brickwork in soldier course panels | m² | 1 | R
6.27 | Face brick-on-edge flat lintel course 220mm wide pointed on soffit and both sides | m | 1 | R
6.28 | Face brick-on-edge flat coping 220mm wide pointed on both sides | m | 1 | R
6.29 | Cut face brick-on-edge external window cill, 150mm wide, set sloping and slightly projecting in cement mortar and pointed on top, front edge and projecting soffit including all necessary fair raking cutting to facings under and fair and fitted ends | m | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 6 - MASONRY) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 7 :
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
7 | PAINTWORK - SANS 10400
CLEANING,
Wash down with approved cleaning material by specialist
7.1 | Internal face brick walls | m² | 1 | R
7.2 | External face brick walls | m² | 1 | R
7.3 | Granolithic to stairs and landings | m² | 1 | R
PAINTWORK TO NEW WORK ON FLOATED PLASTER
One coat universal undercoat and two coats interior quality super acrylic PVA paint
7.4 | On internal plastered walls | m² | 1 | R
7.5 | On internal plastered ceilings and beams | m² | 1 | R
7.6 | On external plastered ceilings | m² | 1 | R
One coat primer and two coats exterior quality super acrylic PVA paint
7.7 | On external walls | m² | 1 | R
7.8 | On top of plastered ledges, cills, | m² | 1 | R
One coat primer and two coats interior non drip enamel paint
7.9 | On internal plastered walls | m² | 1 | R
ON PLASTER BOARD
One coat universal undercoat and two coats interior quality super acrylic PVA paint
7.1 | On ceilings, cornices and partitioning . | m² | 1 | R
ON FIBRE CEMENT
One coat universla primer and two coats exterior quality super acrylic PVA paint
7.11 | On fascias and barge boards | m² | 1 | R
ON METAL
Spot priming defects in pre-primed surfaces with zinc chromate primer and applying one universal undercoat and two coats non drip high gloss alkyd enamel paint on steel
7.12 | On steel doors, frames and steel grids . | m² | 1 | R
ON WOOD
One coats wood primer undercoat and two coats quality super acrylic PVA paint
7.13 | On doors and panals ect. | m² | 1 | R
7.14 | On skirtings, rails, not exceeding 300mm girth | m² | 1 | R
Two coats interior quality varnish
7.15 | On doors | m² | 1 | R
7.16 | On skirtings, rails, not exceeding 300mm girth | m² | 1 | R
PAINTWORK TO PREVIOUSLY PAINTED WORK
ON SCREEDED FLOORS,
Wash down well with sugar soap, rinse with clean water and allow to dry, remove loose and flaking paint, make good cracks and defects with an interior filler, allow to dry and sand smooth, and apply two full coats stoep paint on previously painted surfaces in fair condition
7.17 | On screeded floors | m² | 1 | R
PAINT ON PLASTER, .
Wash down well with sugar soap, rinse with clean water and allow to dry, remove loose and flaking paint, make good cracks and defects with an interior filler, allow to dry and sand smooth, spot prime bare and repaired areas with plaster primer thinned 20% with mineral turpentine and apply universal undercoat to repaired areas and apply two full coats acrylic PVA paint on previously painted surfaces in fair condition
7.18 | On plastered ceilings and beams | m² | 1 | R
7.19 | On internal plastered walls | m² | 1 | R
7.2 | Raking soffits of stairs and landings | m² | 1 | R
Wash down well with sugar soap, rinse with clean water and allow to dry, remove loose and flaking paint, make good cracks and defects with an external filler, allow to dry and sand smooth, spot prime bare and repaired areas with plaster primer thinned 20% with mineral turpentine and apply universal undercoat to repaired areas and apply two full coats washable mat enamel paint on previously painted surfaces in fair condition
7.21 | On internal plastered walls | m² | 1 | R
Wash down well with sugar soap, rinse with clean water and allow to dry, remove any rust, loose and flaking paint and treat rusted areas only with an approved rust inhibitor, spot prime bare metal areas with zinc chromate metal primer, and apply one coat universal undercoat to primed areas and two full coats enamel on previously painted surfaces in fair condition
7.22 | On doors and pressed steel door and window frames | m² | 1 | R
7.23 | On window frames | m² | 1 | R
7.24 | On balustrading | m² | 1 | R
7.25 | On burglar doors, bars, | m² | 1 | R
PAINT ON WOOD
Wash down well with sugar soap, rinse with clean water and allow to dry, remove loose and flaking paint, make good cracks and defects with an external filler, allow to dry and sand smooth, spot prime bare and repaired areas with plaster primer thinned 20% with mineral turpentine and apply universal undercoat to repaired areas and apply two full coats washable mat enamel paint on previously painted surfaces in fair condition
7.26 | On doors, frames, | m² | 1 | R
7.27 | On bulkheads not exceeding 300mm high | m | 1 | R
Wash down well with sugar soap, sand down, rinse with clean water and allow to dry, remove any loose flaking varnish and treat exposed areas only with a sealer and apply two coats clear varnish on previously varnished surfaces in fair condition
7.28 | On doors, frames, | m² | 1 | R
7.29 | On timber panneling | m² | 1 | R
7.3 | On general surfaces of fittings, linings, | m² | 1 | R
7.31 | On window cill not exceeding 300mm girth | m² | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 7 : PAINTWORK) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 8
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
8 | CARPENTRY AND JOINERY - SANS 10400
ROOF CONSTRUCTION
Prefabricated plate nailed timber roof truss construction
Sawn softwood trusses, bracing,
Typical Truss A
8.1 | Mono pitched truss construction to 12 degrees pitch comprising of 38 x 152mm SAP grade 7 rafter, 38 x 114mm SAP grade 7 tie beam, 38 x 114 SAP grade 7 webs and struts including all sprockets, bracing, gangnails, nails, nuts, washers, joints , approximate size 8100mm long x 1800mm high with entire truss containing 500mm eaves overhang projection on one side and 595mm overhang projection on the other side | No | 1 | R
Typical Truss B
8.2 | Mono pitched truss construction to 12 degrees pitch comprising of 50 x 228mm SAP grade 7 rafter, 38 x 114mm SAP grade 7 angle bracing, 38 x 114 SAP grade 7 vertical strut including all sprockets, bracing, gangnails, nails, nuts, washers, joints , approximate size 3500mm long x 1500mm high with entire truss containing 526mm eaves overhang projection on one side and 595mm overhang projection on the other side | No | 1 | R
Typical Truss C
8.3 | Mono pitched truss construction to 12 degrees pitch comprising of 38 x 152mm SAP grade 7 rafter, 38 x 114mm SAP grade 7 tie beam, 38 x 114 SAP grade 7 webs and struts including all sprockets, bracing, gangnails, nails, nuts, washers, joints , approximate size 7200mm long x 3900mm high with entire truss containing 300mm eaves overhang projection on one side and 400mm overhang projection on the other side | No | 1 | R
Typical Truss D
8.4 | Double pitched truss construction to 12 degrees pitch comprising of 38 x 114mm SAP grade 7 rafter, 38 x 114mm SAP grade 7 tie beam, 38 x 114 SAP grade 7 webs and struts including all sprockets, bracing, gangnails,nails,nuts, washers,joints ,approximate size 14200mm long x 1900mm high with entire truss containing 600mm eaves overhang projection on both sides and 400mm overhang projection on the other side | No | 1 | R
Rafters as Trusses
8.5 | 50 x 228mm Grade 7 SAP rafters in lengths exceeding 3900mm and not exceeding 6600mm laid to 3 degree pitch and set as truss and hanging one end on wall with and including angle brackets including all sprockets, bracing, gangnails, nails, nuts, washers, joints , with entire truss containing 570mm eaves overhang projection | m | 1 | R
8.6 | 50 x 228mm Grade 7 SAP rafters in lengths exceeding 3900mm and not exceeding 6600mm laid to 3 degree pitch and set as truss and hanging one end on wall with and including angle brackets including all sprockets, bracing, gangnails, nails, nuts, washers, joints , with entire truss containing 900mm eaves overhang projection on one side and 300mm overhang projection on the other side | m | 1 | R
8.7 | 50 x 228mm Grade 7 SAP rafters in lengths exceeding 6600mm laid to 3 degree pitch and set as truss and hanging one end on wall with and including angle brackets including all sprockets, bracing, gangnails, nails, nuts, washers, joints , with entire truss containing 300mm eaves overhang projection on one side and 300mm overhang projection on the other side | m | 1 | R
Sawn softwood (Grade 7)
8.8 | 38 x 114mm Wall plates | m | 1 | R
8.9 | 52 x 76mm Purlins | m | 1 | R
8.1 | 52 x 76mm Wrot soft wood (Grade 7) purlins | m | 1 | R
8.11 | 76 x 76mm Splay cut purlins | m | 1 | R
Sawn softwood (Grade 7)
8.12 | 50 x 228mm Rafters in lengths not exceeding 2400mm | m | 1 | R
8.13 | 50 x 228mm Rafters in lengths exceeding 3900mm and not exceeding 6600mm | m | 1 | R
8.14 | 50 x 228mm Rafters in lengths exceeding 6600mm | m | 1 | R
8.15 | 50 x 228mm Rafters as beams in lengths exceeding 3900mm and not exceeding 6600mm | m | 1 | R
8.16 | Design, supply, deliver ,temporarily store, hoist in position and erect plate nailed timber roof trusses, purlins, gangboarding, temporary and permanent bracing, (measured on slope of roof) | m² | 1 | R
Sundries
8.17 | Two coats creosote on sawn timbers | m² | 1 | R
8.18 | Splay end of 38 x 152mm rafter down to 38 x 114mm | No | 1 | R
8.19 | Splay end of 50 x 228mm rafter down to 50 x 114mm | No | 1 | R
8.2 | Splay end of 50 x 228mm rafter down to 50 x 152mm | No | 1 | R
8.21 | 2.5mm Diameter galvanised wire tie 700mm girth wrapped around rafter and purlins with ends tied together | No | 1 | R
EAVES, VERGES,
Pressed-fibre cement
8.22 | 12 x 250mm Barge boards including galvanised steel H-profile jointing strips | m | 1 | R
8.23 | 15 x 250mm Fascia boards including galvanised steel H-profile jointing strips | m | 1 | R
DOORS,
40mm Thick semi-solid flush panel doors with commercial veneer both sides suitable for painting and hung to steel, aluminium, timber frames
8.24 | Door, size 813 x 1880mm high | No | 1 | R
8.25 | Door, size 813 x 2032mm high | No | 1 | R
8.26 | Door, size 864 x 2032mm high | No | 1 | R
8.27 | Door, size 915 x 2032mm high | No | 1 | R
8.28 | Double door in two equal leaves with rebated meeting stiles, size | No | 1 | R
8.29 | 1510 x 2032mm high | No | 1 | R
40mm Thick semi-solid flush panel doors with sapele hardwood veneer both sides suitable for varnish
8.3 | Door, size 813 x 1880mm high | No | 1 | R
8.31 | Door, size 813 x 2032mm high | No | 1 | R
8.32 | Door, size 864 x 2032mm high | No | 1 | R
8.33 | Door, size 915 x 2032mm high | No | 1 | R
8.34 | Double door in two equal leaves with rebated meeting stiles, size 1510 x 2032mm high | No | 1 | R
40mm Thick solid flush panel doors with commercial veneer both sides suitable for painting and hung to steel, aluminium, timber frames
8.27 | Door, size 813 x 1880mm high | No | 1 | R
8.28 | Door, size 813 x 2032mm high | No | 1 | R
8.29 | Door, size 864 x 2032mm high | No | 1 | R
8.3 | Door, size 915 x 2032mm high | No | 1 | R
8.31 | Double door in two equal leaves with rebated meeting stiles, size 1510 x 2032mm high | No | 1 | R
40mm Thick solid flush panel doors with sapele hardwood veneer both sides suitable for varnish
8.32 | Door, size 813 x 1880mm high | No | 1 | R
8.33 | Door, size 813 x 2032mm high | No | 1 | R
8.34 | Door, size 864 x 2032mm high | No | 1 | R
8.35 | Door, size 915 x 2032mm high | No | 1 | R
8.36 | Double door in two equal leaves with rebated meeting stiles, size 1510 x 2032mm high | No | 1 | R
Wrot Meranti
44mm Thick solid door suitable for varnish or painting and hung to steel, aluminium or timber frames
8.37 | Door, size 813 x 2032mm high | No | 1 | R
8.38 | Door, size 813 x 2032mm high with and including 513 x 600mm glazed viewing panel fitted with 15 x 15mm meranti glazing beads on both sides (glazing elsewhere measured) | No | 1 | R
8.39 | Double door in two leaves with rebated meeting stiles, size 1510 x2032mm high | No | 1 | R
Bitcon Industries Class A or similar fire doors with 1 hour fire rating, including pressed steel frame for 230mm brick wall and preparing frame for door closer and lock
8.4 | Rubidor class A fire door size 900 x 2032mm High | No | 1 | R
8.41 | Rubidor class A fire door size 1511 x 2032mm high | No | 1 | R
8.42 | Rubidor class A fire door size 1614 x 2032mm high | No | 1 | R
Bitcon Industries Class B or similar fire doors with 2 hour fire rating, including pressed steel frame for 230mm brick wall and preparing frame for door closer and lock
8.43 | Rubidor class A fire door size 900 x 2032mm High | No | 1 | R
8.44 | Rubidor class A fire door size 1511 x 2032mm high | No | 1 | R
8.45 | Rubidor class A fire door size 1614 x 2032mm high | No | 1 | R
FRAMED FRAMES,
Wrot meranti frames
8.46 | 44 x 100mm Rebated frames plugged | m | 1 | R
SKIRTINGS
Wrought Meranti
8.47 | 19 x 76mm Skirting nailed to walls with heads of nails punched and filled including 19mm quadrant bead planted on at junction with floor | m | 1 | R
8.48 | Ditto to treads and risers | m | 1 | R
JOINERY FITTINGS,
WORKTOPS
Melamine faced board
8.49 | 32mm Tops size 300mm wide x 1250mm long with bull nose along one long edge | m | 1 | R
8.5 | 32mm Tops size 600mm wide x 1250mm long with bull nose along one long edge | m | 1 | R
Formica or similar approved
8.51 | 300 x 16mm thick counter including support structure screwed to walls | m | 1 | R
8.52 | 600 x 16mm thick counter including support structure screwed to walls | m | 1 | R
8.53 | 20mm Tops size 600mm wide x 1250mm Rustenburg granite worktop or similar approved | m | 1 | R
CUPBOARDS
Melawood or simmilar approved melamine faced particle board
8.54 | 16mm cupboard doors | m² | 1 | R
8.55 | 16mm Tops, shelves, sides, divisions, | m² | 1 | R
8.56 | 16mm Adjustable shelving | m² | 1 | R
8.57 | Drawer 300 x 300 x 150 mm deep overall of 16mm edged sides and back, "Supawood" front cover panel and 3 mm tempered hardboard bottom | No | 1 | R
8.58 | Drawer 600 x 600 x 150 mm deep overall of 16mm edged sides and back, "Supawood" front cover panel and 3 mm tempered hardboard bottom | No | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 8 - CARPENTRY AND JOINERY) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 9
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
9 | CEILINGS, PARTITIONS AND ACCESS FLOORING
CEILING INSULATION
Aerolite insulation
9.1 | 50mm Insulation closely fitted and laid on top of brandering between roof timbers | m² | 1 | R
NAILED UP CEILINGS
6,4mm Gypsum plasterboard ceilings including 38 x 38mm sawn softwood brandering at 450mm centres in one direction in 900mm board widths with metal joints and fixed as recommended by the manufacturer
9.2 | Horizontal ceilings to timber trusses | m² | 1 | R
Gypsum coved cornice
9.3 | 75mm Fixed to ceilings | m | 1 | R
Trapdoors
9.4 | 600 x 600mm Trap door | No | 1 | R
9,5mm Gypsum plasterboard ceilings including 38 x 38mm sawn softwood brandering at 300mm centres in one direction in 900mm board widths with 63mm wide strips of mesh scrim nailed over joints and the whole finished with gypsum 6mm skim plaster trowelled to a smooth polished surface to the thickness recommended by the manufacturer
9.5 | Horizontal ceilings to timber trusses | m² | 1 | R
9.6 | Extra over gypsum plasterboard ceiling for hinged pressed metal trap door size 600 x 600mm including all necessary ironmongery | No | 1 | R
Shadow line wall angle cornices to suspended ceilings
9.7 | 25mm recessed wall angle plugged | m | 1 | R
6,4mm Nutec plasterboard ceilings including 38 x 38mm sawn softwood brandering at 450mm centres in one direction in 900mm board widths with metal joints and fixed as recommended by the manufacturer
9.8 | Horizontal ceilings to timber trusses | m² | 1 | R
Gypsum coved cornice
9.9 | 75mm Fixed to ceilings | m | 1 | R
SUSPENDED CEILINGS
1200 x 600 x 12,7mm "Fissured Vinyl Clad Gypsum Ceiling Board" acoustic panels fitted in and including "Rondo" standard faced exposed grid suspension system including main and cross tees, necessary hangers, grids,
9.1 | Ceilings suspended not exceeding 1m below concrete slabs, timber trusses, | m² | 1 | R
Sundries
9.11 | Vertical bulkhead not exceeding 500mm high | m | 1 | R
Shadow line wall angle cornices to suspended ceilings
9.12 | 60mm Girth pre-painted cornices plugged | m | 1 | R
Sundries
9.13 | Allow for light fitting openings, cutting, in suspended ceilings | No | 1 | R
PARTITIONS
Rhino-Drywall or equivalent partitioning shall comprise of steel studding formed of 63,5mm top and bottom tracks with vertical studs at maximum 600mm centres, friction fitted or pop riveted to the top and bottom tracks with similiar additional vertical studs as necessary at abutments, ends, . and covered as described with wallboard screwed to studding with "Drywall" screws at maximum 220mm centres. Boards are to butt jointed and finished with "Rhinotape" and "Readymix D" jointing compound all in accordance with the manufacturer's instructions. intersections and abutments are measured seperately and descriptions shall be deemed to include any additional studs, corner beads, jointing compound, tape, .
9.14 | Partitioning 3000mm high with bottom and top tracks plugged | m | 1 | R
9.15 | Extra over partition 3000mm high for vertical abutment | No | 1 | R
9.16 | Extra over partition for for door opening 813 x 2032mm high including natural anodised aluminium door frame with one pair of 100mm nylon washered aluminium hinges for timber door (elsewhere) | No | 1 | R
9.17 | Ditto for double door opening 1610 x 2032mm high, ditto | No | 1 | R
9.18 | Extra over partition for viewing panel size 1800 x 1200mm high including natural anodised aluminium window frame with 6mm laminated glass glazing | No | 1 | R
GYPWALL FIRESTOP 51/F60S42 PARTITIONING SYSTEMS
9.19 | Partitioning 3000mm high with bottom and top tracks plugged | m | 1 | R
9.2 | Extra over partition 3000mm high for vertical abutment, tee, corner, , | No | 1 | R
URINAL SCREENS
9.21 | 12mm Compact High Pressure Laminate (CHPL) , size 400 mm x 800 mm High or similar approved | m | 1 | R
SKIRTINGS,
9.22 | 4 x 100mm High aluminium skirtings | m | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 9 - CEILINGS, PARTITIONS AND ACCESS FLOORING) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 10
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
10 | FLOOR COVERINGS - SANS 10400 / SANS 2001-CT1
FLOOR COVERINGS SKIRTINGS, NOSINGS,
10.1 | 68 x 27mm Aluminium stair nosing | m | 1 | R
10.2 | 50 x 50mm Aluminium angle edging to treads and risers of stairs | m | 1 | R
CARPET TILES
500 x 500mm "Nexus Beberpoint 920 - Azure" or similar approved(P.C allowance of R 200.00/m2 excluding VAT but includes delivery to site) laid complete as per manufacturer's instructions including brass trimmings, edging, beads,
10.3 | On floors | m² | 1 | R
10.4 | On treads and risers of stairs | m² | 1 | R
VINYL TILES
300 x 300 x 2,5mm semi-flexible or similar approved vinyl tiles manafactured to SABS specification (alllow a P.C allowance of R 120.00/m2 excluding VAT but includes delivery to site)
10.5 | On floors | m² | 1 | R
10.6 | On treads and risers of stairs | m² | 1 | R
300 x 300 x 2mm Approved fully flexible vinyl tiles similar approved vinyl tiles manafactured to SABS specification (allow a P.C allowance of R 160.00/m2 excluding VAT but includes delivery to site)
10.7 | On floors | m² | 1 | R
10.8 | On treads and risers of stairs | m² | 1 | R
VINYL SHEETING
FloorworX surestep or similar aprroved fully flexible heavy duty floor sheeting 2m wide x 2,0mm thick, (alllow a P.C allowance of R 250.00/m2 excluding VAT but includes delivery to site) manufactured in accordance with SANS 786:2000, laid in acrylic adhesive spread with a Vicker A24F trowel at a rate of between 5.5m² and 6.5m² per litre on suitably prepared subfloor (as below) with a hygrometer reading showing a moisture content of less than 70%, with joints welded with a fully flexible coloured Welding Rod to provide a smooth, hygienic sealed finish and rolled with 68kg three section metal roller on completion. Colour of sheeting and welding rods to project manager's approval
10.9 | On floors | m² | 1 | R
10.1 | On treads and risers of stairs | m² | 1 | R
10.11 | Mflor or similar approved Luxury wood vinyl 2.5mm thick with 0.5mm wear layer size 1219mm x 223mm | m² | 1 | R
POLISH, SEALERS,
10.12 | Two coats wax polish on vinyl flooring | m² | 1 | R
10.13 | 500mm x 500mm x 6mm interlocking rubber flooring complete with edge strip | m² | 1 | R
CORNER PROTECTORS, DIVIDING STRIPS,
10.14 | 4 x 50mm Aluminium cover strip | m | 1 | R
LAMINATED FLOORING
Laminated Floors should be installed in accordance with manufacturer’s recommendations and specifications.
10.15 | Matt with natural wood grain or similar approved | m² | 1 | R
10.16 | Trend Oak Nature or similar approved | m² | 1 | R
10.17 | Tundra Oak White Laminate or similar approved | m² | 1 | R
FLOORING
10.18 | Woodblock flooring 76mm x 22833 x 22mm Kiaat or Rhodesioan Teak hardword or similar approved | m² | 1 | R
10.19 | Mosaic woodblock panels Rhodesian Teak 480mm or similar approved | m² | 1 | R
10.2 | SAP wood strip flooring tongued and grooved 125mm x 22mm or similar approved | m² | 1 | R
10.21 | 500mm x 500mm x 6mm interlocking rubber flooring complete with edging strip or similar approved | m² | 1 | R
ACCESS FLOORING
Screw-down Posilock "Tate Access Floor System" supplied by "Pelican MIS Systems" or similiar approved with a 2mm anti-static vinyl finish to the 600 x 600mm Type 2 steel clad cementitious core panels, supported by and including all necessary understructure components as per the manufactures specification for a finished floor height of 595mm above concrete sub-floor.
10.22 | 600 x 600mm steel panels with a finished floor height of 595mm above the concrete sub-floor. | m² | 1 | R
10.23 | Extra over access flooring for access grommet. | No. | 1 | R
10.24 | Extra over access flooring for air diffuser. | No. | 1 | R
10.25 | Extra over access flooring for perforated panel. | No. | 1 | R
10.26 | Extra over access flooring for electrical power box with 2 x 15amp switched socket outlets and protection covers. | No. | 1 | R
10.27 | Junctions against walls and columns. | m | 1 | R
10.28 | Hole for 50mm diameter pipe through floor panel including sealing. | No. | 1 | R
EPOXY FLOORING
10.29 | "RETEK" heavy duty floor epoxy coating or similar approved | m² | 1 | R
10.3 | "RETEK" high build floor epoxy or similar approved | m² | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 10 - FLOOR COVERINGS) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 11
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
11 | IRONMONGERY - SANS 10400
SUPPLEMENTARY PREAMBLES
Finishes to ironmongery
Where applicable finishes to ironmongery are indicated by suffixes in accordance with the following list:
BS Sati n bronze lacquered CH Chromium plated
SC Sati n chromium plated
SE Silver enamelled
GE Grey enamelled
AS Anodised silver
AB Anodised bronze
AG Anodised gold
ABL Anodised black
PB Polished brass
PL Polished and lacquered
PT Epoxy coated
SD Sanded
HINGES, BOLTS,
Union or similar
11.1 | 37651LH Indicator bolt | No | 1 | R
11.2 | Paraplegic type ditto | No | 1 | R
11.3 | ART 208C91 Flush bolt 150mm | No | 1 | R
CATCHES, CABIN HOOKS,
Union or similar
11.4 | AL8721AS Union aluminium hat & coat hook | No | 1 | R
LOCKS
Note: Locks to be suitable for and master and sub master key systems
Union or similar approved
11.5 | 50mm Padlock | No | 1 | R
11.6 | Door lock | No | 1 | R
11.7 | Cylinder profile lock | No | 1 | R
11.8 | Dead bolt lock 35mm | No | 1 | R
11.9 | Stainless steel striker plate for double rebated doors | No | 1 | R
11.1 | Escutcheon profile | No | 1 | R
11.11 | Escutcheon plate | No | 1 | R
11.12 | Dust proof strike | No | 1 | R
11.13 | Lock plate | No | 1 | R
11.14 | Bathroom lockset with striking plate fixed to metal | No | 1 | R
11.15 | Three lever deadlock | No | 1 | R
11.16 | Three lever rebated deadlock | No | 1 | R
11.17 | Four lever deadlock | No | 1 | R
11.18 | Four lever rebated deadlock | No | 1 | R
11.19 | Two lever lockset | No | 1 | R
11.2 | Two lever lockset with striking plate fixed to metal | No | 1 | R
11.21 | Two lever rebated lockset | No | 1 | R
11.22 | Three lever lockset | No | 1 | R
11.23 | Three lever lockset with striking plate fixed to metal | No | 1 | R
11.24 | Three lever rebated lockset | No | 1 | R
11.25 | Four lever lockset | No | 1 | R
11.26 | Four lever lockset with striking plate fixed to metal | No | 1 | R
11.27 | Four lever rebated lockset | No | 1 | R
Sundries
11.28 | Masterkey | No | 1 | R
11.29 | Sub-masterkey | No | 1 | R
HANDLES
Union or similiar
11.3 | Pull handle | No | 1 | R
11.31 | 200mm Pull handle | No | 1 | R
11.32 | Push plate blank | No | 1 | R
11.33 | Push plate | No | 1 | R
11.34 | Pull handle on back plate | No | 1 | R
11.35 | Circular pull handle on 150 x 150 x 3mm thick backplate | No | 1 | R
11.36 | Handle on back plate | No | 1 | R
PUSH PLATES AND KICKING PLATES
Natural Anodised aluminium
11.37 | 800 x 200mm high kick or push plate plate | No | 1 | R
LETTERS, NAMEPLATES, PUSHPLATES,
Assa Abloy' or other similar approved
11.38 | 150 x 150mm engraved aluminium "Electrical" indicator plate | No | 1 | R
11.39 | 150 x 150mm engraved aluminium "Fire hose" indicator plate | No | 1 | R
11.4 | AL5066-E09/2AS 150 x 150mm engraved aluminium "Telkom" indicator plate | No | 1 | R
11.41 | 150 x 150mm engraved aluminium "male" indicator plate | No | 1 | R
11.42 | 150 x 150mm engraved aluminium "female" indicator plate | No | 1 | R
11.43 | 150 x 150mm engraved aluminium "Disabled" indicator plate | No | 1 | R
11.44 | 152 x 152mm engraved aluminium "male & female" indicator plate | No | 1 | R
1.6mm thick Natural anodised plates with and including 65mm high black Swiss 721 engraved letters fixed to wall above doors with tamper proof screws
11.45 | Nameplate 80 x 300mm with five and not exceeding ten numerals or letters | No | 1 | R
11.46 | Nameplate 80 x 300mm with ten and not exceeding fifteen numerals or letters | No | 1 | R
11.47 | Nameplate 80 x 400mm with fifteen and not exceeding twenty numerals or letters | No | 1 | R
BATHROOM FITTINGS
Nampak or similar
11.48 | Recessed toilet paper roll holder manufactured from 0.8mm thick 18/10 stainless steel with a single piece pressed lid, welded container and cylinder lock with a franke standard key- SATIN finish. | No | 1 | R
11.49 | FSA Code: 359809 or similar approved | No | 1 | R
11.5 | 385 x 465 x 200mm stainless steel mounted waste bin installed to manufacturer's specifications | No | 1 | R
11.51 | Stainless steel paper towel dispenser plugged installed to manufacturer's specifications | No | 1 | R
11.52 | 120 x 210 x 112mm stainless steel liquid soap dispenser | No | 1 | R
11.53 | 266 x 257 x 230mm high Surface mounted splash proof electronic hand-drier, including connecting to electrical (electrical connection elsewhere measured) | No | 1 | R
11.54 | 600mm Long chromium plated towel rails | No | 1 | R
11.55 | 1200mm Long chromium plated towel rails | No | 1 | R
Stainless steel
11.56 | Vaal 2No 32mm stainless steel grab rails | No | 1 | R
11.57 | Vaal 2No 32mm stainless steel back horizontal grab rails | No | 1 | R
Stainless steel corner protectors
11.58 | 50mm x 50mm x 1,2mm thick corner protectors pugged and screwed to walls four times 1200mm high | No | 1 | R
11.59 | 90mm x 90mm x 1,2mm thick corner protectors screwed to walls four times 1200mm high | No | 1 | R
DOOR CLOSERS
Union or similar
11.6 | DC500 Cam action closer EN1-4SIL | No | 1 | R
11.61 | DC477H0 Cam action floor spring EN2-4HO | No | 1 | R
11.62 | 720 Gate closer EN2 | No | 1 | R
11.63 | Z770300-012 Z4 300kg Mag lock monitored with ZB300 bracket | No | 1 | R
11.64 | FD461-DC700 Cam motion mech co-ordinator DD | No | 1 | R
11.65 | J-881T-SIL Panic latch T bar 900mm wide | No | 1 | R
SUNDRIES
Union or similar
11.66 | 38mm Diameter rubber door stop | No | 1 | R
11.67 | S/S Hat and Coat Hook rubber buffer | No | 1 | R
11.68 | S/S Hat and Coat Hook | No | 1 | R
KEY CABINETS,
11.69 | 300 x 220 x 60mm Key cabinet | No | 1 | R
11.7 | Standard powder coated first aid metal box overall size 520 x 360 x 155mm high fixed to wall | No | 1 | R
R
11.71 | Standard fire escape key box plugged to wall | No | 1 | R
11.72 | Approved white built-in type medicine cabinet size 380 x 610 x 100mm deep with mirror front and glass shelves and building in tiled or plastered wall including forming recess in brickwork and making good | No | 1 | R
STEEL LOCKERS
Greenfield or similar approved epoxy powder coated mild steel lockers
11.73 | Locker, size 300 x 450 x 1800mm high four times bolted to brickwork or concrete | No | 1 | R
PINNING BOARDS, WRITING BOARDS, PROJECTION SCREENS,
Vitrex or similar approved
11.74 | 12mm Thick pinning board 1500 x 1200mm high with 19mm quarter round frame and durable cloth covering, plugged to brick wall | No | 1 | R
11.75 | White magnetic writing board 1800 x 1200mm high with and including aluminium rail plugged to wall | No | 1 | R
DRAPES, BLINDS, CURTAIN RAILS
11.76 | VERTICAL BLINDS with (90mm or 127mm) width vanes, inclusive of all components and operating systems | m² | 1 | R
11.77 | ALUMINIUM VENETIAN BLINDS with (25mm) aluminium slats of thickness 0,21mm, inclusive of all components and operating systems. | m² | 1 | R
11.78 | WOOD VENETIAN BLINDS in 50mm slats, inclusive of components and operating system. | m² | 1 | R
11.79 | ROLLER BLINDS, inclusive of all components and operating systems. | m² | 1 | R
GRAB RAILS
11.8 | Stainless steel paraplegic cistern grab rail, plugged | No | 1 | R
11.81 | Stainless steel paraplegic side dogleg, plugged | No | 1 | R
WINDOW FURNITURE
STEEL WINDOWS
11.82 | Window fasteners LH or RH brass or CP. | No | 1 | R
Sliding stays LH or RH brass or CP:
11.83 | 150 mm | No | 1 | R
11.84 | 180 mm | No | 1 | R
11.85 | 270 mm | No | 1 | R
Peg Stays brass or CP:
11.86 | 150 mm | No | 1 | R
11.87 | 200 mm | No | 1 | R
TIMBER FRAMES
Brass casement fasteners (Code CFW9) or similar approved
Brass peg stays:
11.88 | PCS 53/150 | No | 1 | R
11.89 | PCS 53/200 | No | 1 | R
11.9 | PCS 53/250 | No | 1 | R
11.91 | PCS 53/350 | No | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 11 - IRONMONGERY) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 12
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
12 | METALWORK - SANS 2001-CS1
STRUCTURAL STEELWORK SUPPLEMENTARY PREAMBLES
Descriptions
Descriptions of bolts shall be deemed to include nuts and washers
Descriptions of L-shaped and U-shaped anchor bolts shall be deemed to include bending, threading, nuts and washers and embedding in concrete
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete
Descriptions of L-shaped and U-shaped anchor bolts shall be deemed to include bending, threading, nuts and washers and embedding in concrete. Where anchor bolts are described as embedded in sides or soffits of concrete it shall be deemed to include holes through formwork.
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete.
WELDED STEEL FRAMEWORK, COLUMNS,
Canopy, Carports roofing
Mild steel
12.1 | 100 x 100 x 3mm Thick tubular section columns | m | 1 | R
12.2 | 100 x 100 x 3mm Thick tubular section beams | m | 1 | R
12.3 | Extra over 100 x 100 x 3mm Thick tubular section for welded angle tee, end, | No | 1 | R
12.4 | 50 x 50 x 3mm Tubular section purlins | m | 1 | R
12.5 | Extra over 50 x 50 x 3mm tubular section steel for welded angle, tee, end, | No | 1 | R
Plates, cleats,
12.6 | 300 x 300 x 16mm Thick base plate four times holed for M10 bolts (elsewhere) welded on | No | 1 | R
12.7 | 100 x 100 x 3mm Thick end plate twice holed for M10 bolts (elsewhere) welded on | No | 1 | R
Bolts,
12.8 | M10 x 450mm holding down bolt cast in concrete | No | 1 | R
12.9 | M10 x 100mm expantion bolt | No | 1 | R
METALWORK
WELDED SCREENS, GATES,
Gates
12.1 | Single gate 860 x 2180mm high | No | 1 | R
12.11 | Double gate 1650 x 2180mm high | No | 1 | R
WELDED SCREENS TO WINDOWS
Frame 25x25x 2mm thick spade 100mm from wall. Covered with expanded metal 25mm grid, Secrured whith 4 Rawbolts on each corner to wall
12.12 | Welded screen to window | m² | 1 | R
PREPAINTED PROPRIOTORY SECURITY SCREENS, GATES,
Screens and gates
12.13 | Trellidor or similar approved expandable security gate with and including all ironmongery, overall size 1000 x 2090mm high | No | 1 | R
12.14 | Trellidor or similar approved expandable security gate with and including all ironmongery, overall size 1500 x 2090mm high | No | 1 | R
12.15 | Trellidor or similar approved expandable security gate with and including all ironmongery, overall size 3800 x 2090mm high | No | 1 | R
PRESSED STEEL DOOR FRAMES
1,6mm Double rebated frames suitable for half brick walls
12.16 | Frame for door 813 x 2032mm high with two 100mm steel hinges | No | 1 | R
per leaf
12.17 | Frame for door 813 x 2032mm high with three 100mm steel hinges per leaf | No | 1 | R
12.18 | Frame for door 1626 x 2032mm high with three 100mm steel hinges per leaf | No | 1 | R
1,6mm Double rebated frames suitable for one brick walls
12.19 | Frame for door 813 x 2032mm high with two hinges | No | 1 | R
12.2 | Frame for door 813 x 2032mm high with three 100mm steel hinges per leaf | No | 1 | R
12.21 | Frame for door 1626 x 2032mm high with three 100mm steel hinges per leaf | No | 1 | R
STEEL ROLLER SHUTTERS
Serranda or other approved interlocking square slatted chromadek finished roller shutters fixed to in position as per manufacturer instructions
12.22 | Slatted roller shutter door for 2500 x 2095mm high opening | No | 1 | R
12.23 | Slatted roller shutter door for 2000 x 1800mm high opening | No | 1 | R
12.24 | Slatted roller shutter door for 950 x 2100mm high opening | No | 1 | R
STRONG ROOM DOORS, WALL SAFES AND VENTILATORS
Austen P125 Catergory 1 strongroom doors, suitable for one brick walls fixed to brickwork or concrete
12.25 | Standard safe door stop fixed to wall | No | 1 | R
12.26 | Austen P125 Catergory 1 strong room door and frame for opening size 1000 x 2032,5mm high overall, with a mass of 210kg with fixing anchors built into one brick wall, complete with seven lever lock, keys and chromium plated fittings and painted with one coat of rust resistant paint before delivery to site | No | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 12 - METALWORK) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 13
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
13 | PLASTERING - SANS 2001-EM1
SCREEDS
Screeds wood floated on concrete
13.1 | 30mm Screed to recieve tiles, carpeting, (elsewhere) | m² | 1 | R
13.2 | 50mm Screed to recieve tiles, carpeting, (elsewhere) | m² | 1 | R
13.3 | 30mm Screed on stairs, edges, risers, in narrow widths | m² | 1 | R
13.4 | 30mm Screed on stairs, edges, risers, in narrow widths inside existing | m² | 1 | R
13.5 | Average 30mm thick on concrete to falls and currents to receive flat proof waterproofing | m² | 1 | R
GRANOLITHIC
Untinted granolithic on concrete
13.6 | 30mm Thick on floors and landings | m² | 1 | R
13.7 | 50mm Thick on floors and landings | m² | 1 | R
INTERNAL PLASTER
Cement plaster on brickwork
13.8 | On walls in backing to receive wall tiling (elsewhere) | m² | 1 | R
13.9 | On walls in narrow widths in backing to receive wall tiling (elsewhere) | m² | 1 | R
13.1 | On walls | m² | 1 | R
13.11 | On walls in narrow widths | m² | 1 | R
Two coat plaster on brickwork
13.12 | On walls | m² | 1 | R
13.13 | On walls in narrow widths | m² | 1 | R
EXTERNAL PLASTER
Cement plaster on brickwork
13.14 | On walls | m² | 1 | R
13.15 | On walls in narrow widths | m² | 1 | R
13.16 | On walls in panel between columns | m² | 1 | R
Cement plaster on concrete
13.17 | On columns, beams, in narrow widths | m² | 1 | R
13.18 | On columns, beams, in narrow widths to existing | m² | 1 | R
13.19 | On soffits of concrete slabs | m² | 1 | R
13.2 | On soffits of concrete slabs to existing | m² | 1 | R
Two coat plaster on brickwork
13.21 | On walls | m² | 1 | R
13.22 | On walls in narrow widths | m² | 1 | R
Rough cast plaster on brickwork
13.23 | On walls | m² | 1 | R
13.24 | On walls in narrow widths | m² | 1 | R
Fine rough cast plaster on brickwork
13.25 | On walls | m² | 1 | R
13.26 | On walls in narrow widths | m² | 1 | R
SKIM PLASTER
13.27 | One coat "Rhinolite" skim plaster | m² | 1 | R
13.28 | On plastered walls and columns | m² | 1 | R
13.29 | On plastered ceilings and beams | m² | 1 | R
13.3 | On plasterboard bulkheads | m² | 1 | R
13.31 | On plasterboard partitions | m² | 1 | R
SPECIALISED PLASTER TYPE WALL COATINGS
Marmoran Caledonplast 2 in 1 decorative plaster coating with 24mm taped joints applied by a "Marmoran" licenced applicator in strict accordance with the manufacturer's full details and specifications including all preparation work, primers, undercoats,
13.32 | On plastered walls | m² | 1 | R
13.33 | On narrow widths | m² | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 13 - PLASTERING) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 14
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
14 | TILING - SANS 10400
SUPPLEMENTARY PREAMBLES
Tiling on brick or concrete walls, columns, and floors to be fixed in stict accordance with the manufacturer's instructions and to include for adhesives, bedding and grouting complete to plastered or screeded surfaces (measured elsewhere)
FLOOR TILING
300 x 300 x 8mm Ceramic floor tiles of an approved colour, allow the sum of R 170.00 (one hundred and seventy rand) per m2 ex factory/supplier laid on screed (elsewhere) with tile bedding and flush pointed with epoxy mortar
14.1 | On floors and landings | m² | 1 | R
14.2 | 150mm High tile skirting | m | 1 | R
600 x 600 x 11mm Non-slip porcelain tiles (P.C allowance of R200.00/m2 excludes V.A.T. but includes delivery to site),fixed with adhesive and flush pointed with tinted waterproof jointing compound
14.3 | On floors and landings | m² | 1 | R
14.4 | 150mm High tile skirting | m | 1 | R
300 x 300 x 15mm Natural slate tiles of an approved colour, allow the sum of R 220.00 (Two hudred and twenty rand) per m2 ex factory/supplier fixed with adhesive to plaster (elsewhere) on brickwork or concrete and pointed with matching cement grout
14.5 | On floors and landings | m² | 1 | R
14.6 | 150mm High tile skirting | m | 1 | R
300 x 300mm Non-slip porcelain tiles (PC R250/m² supply and delivery) fixed with adhesive to screed (screed elsewhere) and flushpointed with tinted jointing compound externally:
14.7 | On floors and landings. | m² | 1 | R
14.8 | Skirting 150mm high. | m | 1 | R
600 x 600mm Non-slip porcelain tiles (PC R300/m² supply and delivery) fixed with adhesive to screed (screed elsewhere) and flushpointed with tinted jointing compound internally:
14.9 | On floors and landings. | m² | 1 | R
14.1 | Skirting 150mm high. | m | 1 | R
Sundries
14.11 | 15 x 15 x 2mm Aluminium Edge strip | m | 1 | R
14.12 | U-Shaped aluminium expansion joint strip in tiling | m | 1 | R
WALL TILING
600 x 600mm White glazed ceramic tiles (PC R180/m² supply and delivery) fixed with adhesive to plaster (plaster elsewhere) and flushpointed with tinted jointing compound:
14.13 | On walls | m² | 1 | R
300 x 450 x 8mm Glazed ceramic tiles of an approved colour, allow the sum of R 180.00 per m2 ex factory/supplier fixed with adhesive to plaster (elsewhere) on brickwork or concrete and pointed with matching cement grout
14.14 | On walls | m² | 1 | R
200 x 200 x 6mm Glazed ceramic tiles of an approved colour, allow the sum of R 140.00 per m2 ex factory/supplier fixed with adhesive to plaster (elsewhere) on brickwork or concrete and pointed with matching cement grout
14.15 | On walls | m² | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 14 - TILING) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 15
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
15 | GLAZING - SANS 10400
GLAZING TO STEEL WITH PUTTY
3mm Clear float glass
15.1 | Panes exceeding 0,1m2 and not exceeding 0,5m2 in existing | m² | 1 | R
4mm Clear float glass
15.2 | Panes exceeding 0,1m2 and not exceeding 0,5m2 in existing | m² | 1 | R
5mm Clear float glass
15.3 | Panes exceeding 0,1m2 and not exceeding 0,5m2 in existing | m² | 1 | R
4mm Obscure glass
15.4 | Panes exceeding 0,1m2 and not exceeding 0,5m2 in existing | m² | 1 | R
5mm Obscure glass
15.5 | Panes exceeding 0,1m2 and not exceeding 0,5m2 in existing | m² | 1 | R
6mm Clear float glass
15.6 | Louvre blade 150 x 900mm | No | 1 | R
6mm Laminated safety glass to alumnium frames including beads,
15.7 | Panes exceeding 0,5m2 and not exceeding 1m2 in existing | m² | 1 | R
6mm Normal strength georgian wired safety glass including glazing beads,
15.8 | Panes exceeding 0,1m2 and not exceeding 0,5m2 | m² | 1 | R
MERANTI HARDWOOD GLAZING BEADS
3mm Clear float glass
15.9 | Panes exceeding 0,1m2 and not exceeding 0,5m2 in existing | m² | 1 | R
4mm Clear float glass
15.1 | Panes exceeding 0,1m2 and not exceeding 0,5m2 in existing | m² | 1 | R
5mm Clear float glass
15.11 | Panes exceeding 0,1m2 and not exceeding 0,5m2 in existing | m² | 1 | R
4mm Obscure glass
15.12 | Panes exceeding 0,1m2 and not exceeding 0,5m2 in existing | m² | 1 | R
5mm Obscure glass
15.13 | Panes exceeding 0,1m2 and not exceeding 0,5m2 in existing | m² | 1 | R
Sundries
15.14 | Clean existing glazing with an approved detergent to remove all stains, old paint, dirt, | m² | 1 | R
15.15 | Clean existing glazed fanlights with an approved detergent to remove all stains, old paint, dirt, | m² | 1 | R
15.16 | Clean vertical adjustable horizontal louvre blades 150mm wide with polished edges to fanlight over door size 813 x 530mm high with and including mechanical fanlight opener and cleat | No | 1 | R
15.17 | Clean and service vertical adjustable horizontal louvre blade window 900 x 545mm high including mechanical opener and cleat | No | 1 | R
15.18 | Clean existing glazing and framework to existing alumnium windows, doors, | No | 1 | R
TOPS, SHELVES, DOORS, MIRRORS,
6mm Silvered float glass copper backed mirrors with polished edges holed for and fixed with chromium plated dome capped mirror screws with rubber buffers to plugs in brickwork or concrete
15.19 | Mirror 600 x 600mm high with four screws | No | 1 | R
15.2 | Mirror 600 x 800mm high with four screws | No | 1 | R
15.21 | Mirror 1200 x 800mm high with four screws | No | 1 | R
15.22 | Mirror 1200 x 800mm high with four screws | No | 1 | R
15.23 | Mirror 1600 x 800mm high with four screws | No | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 15 - GLAZING) |  |  |  | R
Item | Description | Uom | Quantity | Amount Excl. Vat ( R )
BILL NO. 16
All rates tendered are to be fully inclusive of consumables. These rates to include labour, transportation and the installation there-off complete.
16 | EXTERNAL WORKS - SANS 1200M
ROADS
Excavation
16.1 | Excavate in earth not exceeding 1000mm deep | mᶟ | 1 | R
Filling
16.2 | Base layer of natural gravel material (G5)supplied by the contractor and brought onto site compacted in layers not exceeding 150mm thick to 95% modified AASHTO density | mᶟ | 1 | R
16.3 | Base layer of natural gravel material (G6)supplied by the contractor and brought onto site compacted in layers not exceeding 150mm thick to 95% modified AASHTO density | mᶟ | 1 | R
16.4 | Base layer of natural gravel material (G7)supplied by the contractor and brought onto site compacted in layers not exceeding 150mm thick to 95% modified AASHTO density | mᶟ | 1 | R
16.5 | 25mm thick clean, dry river sand layer treated with an approved weed killer at a rate of 50 grams per square metre, spread and levelled to receive paving blocks (elsewhere) | mᶟ | 1 | R
Compaction of surfaces
16.6 | Compaction of ground surface under pavings including scarifying for a depth of ?mm, breaking down oversize material, adding suitable material where necessary and compacting to ?% Mod AASHTO density | mᶟ | 1 | R
Prescribed density tests on filling
16.7 | In-situ dry density (sand replacement) test in accordance with method A10 (a) of TMH 1 | No | 1 | R
16.8 | Maximum dry density and optimum moisture content test in accordance with method A7 of TMH 1 | No | 1 | R
16.9 | Atterberg limits test in accordance with methods A2 to A4 of TMH1 | No | 1 | R
16.1 | UCS test in accordance with method A14 of TMH 1 | No | 1 | R
Bituminous premix road surfacing or similar approved
16.11 | Parking areas, roadways, | m² | 1 | R
ROADLINES AND SIGNS
Non-reflectorised paint, including undercoat, applied at the manufacturer's recommended covering rate, including proper preparations of surface to receive paint, to:
16.12 | 100 mm Wide white continuous line in parking bay | m | 1 | R
16.13 | Numbering to kerbs | No | 1 | R
16.14 | Paraplegic sign, in yellow paint | No | 1 | R
FENCING
Concrete palisade fencing
16.15 | Precast concrete panel fencing 2m high above ground level with exposed faces of all components finished smooth and with one side of infill panels with "big brick" design comprising 150 x 150mm posts2,5m long having tapered recesses on two sides and reinforced with12mm diameter mild steel continuous bars, founded in and including 450 x 450 x 450mm unreinforced concrete bases as 1,59m centres and with precast concrete caps cemented on top of each post and with 38 x 1525 x 305mm infill panels reinforced with type 395 high tensile steel fabric reinforcement including grouting panels in cement mortar. | m | 1 | R
Galvanised steel security fencing
16.16 | Security fencing 2.4m high formed of six straining wires passed through posts and tied to straining posts or eye bolts covered with welded wire mesh fixed at ?mm centres to each straining wire | m | 1 | R
16.17 | Continuous razor wire security roll to top of fence flat wrapped in 450mm diameter rings fixed together and to straining wire | m | 1 | R
ClearVu fencing
"BetaView" or similar approved ZincAlu and PVC coated security fence, gates, and setting out of fence system to be maintenance free and carry a minimum 10 year anti corrosion guarantee and 15 year functional guarantee in urban areas.
Panels:
Welded mesh panels, with rectangular apertures, made from ZincAlu super wire and PVC coated - Anthracite RAL 7021.
Mesh apertures: 76.2 x 12.7mm; Horizontal wire diameter: 3.00mm; Vertical wire diameter: 3.00mm,
Weld strength: 60% of the minimum tensile strength of the wire;
Tensile Strength Range of wire: 540-690N/m2; Height of panels: 2400mm;
Width of panels: 3050mm
Posts:
Bakafix Secure Post - H-Shape; hot-dip zinc coated steel sheet (sendimir)
Length of post: 3m;
Post of post: 70mm x 44mm x 2mm
Colour: Anthracite RAL 7021 or similar
Holes in side flanges for lateral fixation for the panels with mini securifor brackets and plastic caps
Posts to be planted in: 400mm x 400mm x 600mm concrete base - 15Mpa/19mm.
16.18 | New fence complete | m | 1 | R
Steel Palisade
Galvanized Steel palisade fence fitted between 100 x 55 IPE galvanized steel post 2850mm long in panel approximately 2500 wide x 1800 high with 17 no. 40 x 40 x 3mm rolled steel pales fixed to and including 2no. 50 x 50 x 5mm horizontal cross-bars at 1,65m centers and 450 x 450 x 900 deep mass concrete base
16.19 | New fence complete | m | 1 | R
Sliding driveway gate made of 100 x 50 x 3,0mm bottom rail, 75 x 50 x 3,0mm side, diagonal and top rail.
- filled with 40 x 40 x 3mm galv. mild steel angle iron welded to mild steel surround sharpened to
match palisade fence and spaced equally not exceeding 150mm
Centre’s.
- 100 x 100 x 3,0mm end post in concrete base. (25mPa)
- 75 x 50 x 2,5 end U-shaped portal guide post in concrete base
- 2no. 100mm heavy duty GMS wheels with dust proof sealed roller bearings.
- 50 x 50 x 5mm GMS angle track with 16mm solid round bar welded on top of angle iron, 30 x 75mm
fish tails at 300 Centre’s cast in concrete base (25mPa)
- GMS guide with nylon guide wheels bolted to column
- 200 x 100 x 75 closing channel welded to gate
- 100 x 100 x 6 locking plates welded to gate and closing channel.
16.2 | Sliding driveway gate approx. 8,0m wide x 1,8m high | No | 1 | R
16.21 | Sliding driveway gate approx. 12,0m wide x 2,2m high | No | 1 | R
16.22 | Pedestrian gate | No | 1 | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 16 : EXTERNAL WORKS) |  |  |  | R
Note on C1434: Ronald Mangope: recheck

## FINAL SUMMARY GB
MOGALE CITY LOCAL MUNICIPALITY
REPAIRS AND MAINTENANCE OF WATERPROOF , DAMP PROOFING, ROOFING ELEMENTS AND GENERAL PAINTING ON AN AS AND WHEN REQUIRED BASIS FOR A PERIOD OF THREE (3) YEARS
BILL NO: |  | RANDS
1A | SECTION 1A: PRELIMINARY & GENERAL | 2700000
1B | SECTION 1B: LABOUR RATE | R
2 | DEMOLITIONS, REMOVALS AND ALTERATIONS - SANS 1200C | R
3 | EARTHWORKS (PROVISIONAL) - SANS 1200DA | R
4 | CONCRETE, FORMWORK AND REINFORCEMENT - SANS 2001-CC2 | R
5 | PRECAST CONCRETE - SANS 2001-CC2 | R
6 | MASONRY - SANS 2001-CM1/CM2 | R
7 | PAINTWORK - SANS 10400 | R
8 | CARPENTRY AND JOINERY - SANS 10400 | R
9 | CEILINGS, PARTITIONS AND ACCESS FLOORING | R
10 | FLOOR COVERINGS - SANS 10400 / SANS 2001-CT1 | R
11 | IRONMONGERY - SANS 10400 | R
12 | METALWORK - SANS 2001-CS1 | R
13 | PLASTERING - SANS 2001-EM1 | R
14 | TILING - SANS 10400 | R
15 | GLAZING - SANS 10400 | R
16 | EXTERNAL WORKS - SANS 1200M | R
| SUB-TOTAL | R
| VAT: 15% | R
| TOTAL | R