## KAGISO-RF1
.
COUNTER | ITEM NO | DOC REF | PAY REF | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 |  | 21 |  | SECTION NO.1 | H1
2 |  | 6 |  | BILL NO. 1 | H1
3 |  | 6 |  | SECTION 1: PRELIMINARY AND GENERAL | H1
4 |  | 8 | SANS 1200A | GENERAL | H3
5 |  |  |  | as specified in SANS 1200 A and in the Scope of Work | H2
6 |  | 8.2 | 8.3 | SCHEDULED FIXED-CHARGE AND VALUE RELATED ITEMS | H2
7 | 1 |  | 8.3.1 | Contractual requirements | SUM | 1
8 |  |  | 8.3.2 | Establishment of Facilities on the Site | H2
9 |  |  | 8.3.2.1 | Facilities for Engineer | H3
10 | 2 | 8.2 | B 8.2.2 | (a) Two Contract nameboards (EPWP) | SUM | 2
11 | 3 | 8.3 | B 8.2.3 | (b) One furnished office | SUM | 1
12 | 4 | 8.3 | 8.3.2.2 | Facilities for Contractor | SUM | 1
13 | 5 | 8.4 | 8.3.3 | Other fixed-charge obligations | SUM | 1
14 | 6 | 8.5 | 8.3.4 | Removal of site establishment | SUM | 1
15 |  | 8.5 | 8.4 | SCHEDULED TIME RELATED ITEMS | H2
16 | 7 | 8.6 | 8.4.1 | Contractual requirements | SUM | 1
17 |  | 8.7 | 8.4.2 | Operation and maintenance of facilities on site for duration of construction | H3
18 |  | 8.8 | 8.4.2.1 | Facilities for Engineer | H3
19 | 8 | 8.2 | B 8.2.2 | (a) Two Contract nameboards (EPWP) | SUM | 2
20 | 9 | 8.3 | B 8.2.3 | (b) One furnished office | SUM | 1
21 | 10 | 8.6 | B 5.6 | (c) Survey Labourers | LabM | 3
22 | 11 | 8.7 | 8.4.2.2 | Facilities for Contractor | SUM | 1
23 | 12 | 8.8 | 8.4.3 | Supervision for duration of construction | SUM | 1
24 | 13 | 8.9 | 8.4.4 | Company and head office overhead costs for the duration of the contract | SUM | 1
25 | 14 | 8.10 | 8.4.5 | Other time related obligations | SUM | 1
26 | 15 | 9.11 |  | Remuneration of Community Liaison Officer - (R5,500.00 per month - for 4months). | Item | 1 | 22000 | 22000
27 | 16 | 9.12 |  | Markup percentage for item above | % |  | 22000 | 0
28 | 17 | 9.13 |  | CETA accredited training | Item | 1 |  | 0
29 | 18 | 9.12 |  | Allow for stipend during training | Item | 1 | 49500 | 49500
30 | 19 | 9.12 |  | Markup percentage for items above | % |  | 54000 | 0
31 |  | 9.12 | 8.4.6 | Compensation in terms of Clauses 5.12.2.4 and 9.1.4 of the Conditions of Contract for delays incurred: | H4
32 | 20 | 9.12 |  | (a) Plant | S/Day | 15 |  | 0
33 | 21 | 9.14 |  | (b) Labour | S/Day | 15 |  | 0
34 | 22 | 9.15 |  | (c) Supervision | S/Day | 15 |  | 0
35 | 23 | 9.16 |  | (d) Other services, facilities etc not covered by items above | S/Day | 15
36 |  | 9.17 | 8.5 | PROVISIONAL SUM | H2
37 | 24 | 9.18 | 8.5.1 (a) | 2 Students technicians for the duration of the Contract at R 7500 per month | Item | 1 | 60000 | 60000
38 | 25 | 11 | 8.5.1 (b) | Security for riots and interruptions by external parties | Item | 1 | 35000 | 35000
39 |  | 9.19 | 8.6 | PRIME COST ITEMS | H2
40 |  | 11 | 8.6.1 | Prime Cost Sums (Goods, Services and Materials Required): | H3
41 | 26 | 9.20 | 8.6.1 (a) | Allowance for acceptance control testing by Engineer (Not for process control testing to be carried out by the Contractor) | Item | 1 | 15000 | 15000
42 | 27 | 9.21 | 8.6.1 (b) | Charges Required by the Contractor on item above and for the fulfilment of all obligations | % |  | 15000 | 0
43 |  | 11 | 8.8 | TEMPORARY WORKS | H2
44 |  | 11 |  | Clause 17.0 - Contract instructions Site instructions Instructions issued on site are to be recorded in a site instruction book which is to be supplied and maintained on site by the contractor Errata by JBCC Clause 17.1.3 Reference should read "[13.2.4]"
45 |  | 10 |  | Existing services | H3
46 | 28 |  | 8.8.4 (c) | (a) Excavate by hand in soft material to expose existing services | m3 | 10
47 | 29 |  |  | (b) Lowering / relocating / repairing existing services | Item | 1 |  | 0
48 |  |  | 8.12 | Compliance with OHS Act and Regulations | H2
49 |  |  | 8.8.7 | Compliance with the Occupational Health and Safety Act (Act 85 of 1993) and all relevant and applicable regulations, especially the Construction Regulations (2014) as promulgated under Section 43 of the Occupational Health and Safety Act (Act 85 of 1993), as amended from time to time, for the duration of the Contract | H3
50 | 30 |  |  | (a) Contractor's initial obligations in respect of the Occupational Health and Safety Act and Construction Regulations | SUM | 1
51 | 31 |  |  | (b) Contractor's time related obligations in respect of the Occupational Health and Safety Act and Construction Regulations | SUM | 1
52 | 32 |  |  | (c ) Extra over sub-item for branding of EPWP PPE | SUM | 1
53
54 |  | 59 |  | SECTION NO. 2 | H1
55 |  | 18 |  | BILL NO. 1 | H1
56 |  | 18 |  | FOUNDATIONS (PROVISIONAL) | H1
57 |  | 18 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (00G-001E) before pricing this bill
58 |  | 18 |  | NOTE : Unless otherwise stated herein all items in this bill shall be deemed to fall into Work Group No. 104 for Haylett Formula purposes
59 |  | 18 |  | NOTE : All excavations are measured as being in "earth" and/or filling compacted to 98% modified AASHTO densityDescriptions of excavations shall be deemed to include for setting aside surplus excavated material in spoil heaps for use as filling or for depositing within 150m of the perimeter of the excavations and spreading and roughly levelling as directed, as well as for increase in bulk and multiple handling of excavated material caused by the contractor's method of operation.Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site and for bulking.
60 |  | 19 |  | NOTE : Working space for formwork to sides of all concrete, except columns, shall be measured only where the concrete face is less than 750mm from the face of the measured excavations.Working space for formwork to sides of columns shall be measured for the width of the column face only where both: the top of the column base is more than 1,5m below the commencing level of the excavations and the column face is less than 500mm from the face of the measured excavations.No claim shall be considered for any working space for formwork to concrete other than as above described or for working space beyond the sides of trench excavations for the building of brick or block walls.Descriptions of excavations for working space shall be deemed to include for any additional risk of collapse so incurred and for the returning and compacting of the excavated material as described.
61 |  | 19 |  | EARTHWORKS | H1
62 |  |  |  | SITE CLEARENCE | H2
63 |  |  |  | Site clearance | H3
64 | 1 |  |  | Digging up and removing rubbish ,debris, vegetation, hedges, shrubs, trees etc, not exceeding 200mm girth | m2 | 269 |  | 0
65 |  | 19 |  | EXCAVATIONS | H2
66 |  |  |  | Excavations in earth exceeding 500mm not exceeding 1500mm deep for | H3
67 | 2 | 19.1 |  | Surface trenches | m3 | 72 |  | 0
68 | 3 |  |  | Reduce levels under floor | m3 | 16 |  | 0
69 |  | 20 |  | Extra over trench and hole excavations in earth for excavation in | H3 | 0.0
70 | 4 | 20.3 |  | Soft rock | m3 | 4 |  | 0
71 | 5 | 20.4 |  | Hard rock | m3 | 7 |  | 0
72 |  | 20 |  | Extra over all excavations for carting away: | H3
73 | 6 |  |  | Surplus material from excavations and/or on site to a dumping site to be located by the contractor | m3 | 72 |  | 0
74 |  | 20 |  | Risk of collapse of excavations | H3
75 | 7 | 20.5 |  | Sides of excavations from natural, elevated or reduced ground level to not exceeding 1.5m deep | m2 | 170 |  | 0
76 |  | 20 |  | Keeping excavations free of water | H3
77 | 8 | 20.6 |  | Allow for keeping all excavations entirely free from water and mud | Item | 2 |  | 0
78 |  | 20 |  | FILLING | H2
79 |  |  |  | Earth filling obtained from the excavations | H3
80 | 9 | 20.8 |  | Backfilling from the excavations to trenches and holes compacted to 93% modified AASHTO density | m3 | 17 |  | 0
81 | 10 | 20.8 |  | Earth filling from the excavations under floors, steps, pavings, etc, compacted to 93% modified AASHTO density | m3 | 13 |  | 0
82 | 11 | 20.8 |  | Imported earth filling supplied by the contractor and brought on to site, under solid floors, steps, pavings, etc, compacted to 93% modified AASHTO density | m3 | 13 |  | 0
83 |  |  |  | COMPACTION TESTS: | H2
84 | 12 |  |  | Tests to determine the degree of compaction, etc of ground of filling | No | 8 |  | 0
85 |  | 20 |  | SOIL POISONING | H2
86 |  | 20 |  | Soil insecticide | H3
87 | 13 | 20.11 |  | Poison surface to sides and botom trenches bases, etc | m2 | 246 |  | 0
88 | 14 | 20.10 |  | Poisoning surface of ground or filling under floors, steps, etc. including raking out 75mm deep V-shaped channels against the walls, etc., treated with poison solution, backfilling and ramming | m2 | 83 |  | 0
89 |  |  |  | CONCRETE | H2
90 |  |  |  | (HAYLET FORMULA WORK GROUP NO. 110) | H2
91 |  | 23 |  | Reinforced concrete with a coarse aggregate of 19mm and a minimum compressive strength of 25MPa at 28 days | H3
92 | 15 |  |  | In strip footings | m3 | 35 |  | 0
93 |  |  |  | REINFORCEMENT | H2
94 |  |  |  | (HAYLET FORMULA WORK GROUP NO. 114) | H2
95 |  |  |  | Mild steel reinforcement to structural concrete work | H3
96 | 16 |  |  | R8 mild steel reinforcement in concrete strip footings | t | 1.9 |  | 0
97 |  |  |  | High tensile steel to structural concrete work | H3
98 | 17 |  |  | Y12 high tensile steel reinforcement in concrete sripfootings | t | 1.9 |  | 0
99 |  | 8 |  | BRICKWORK: | H2
100 |  |  |  | (HAYLET FORMULA WORK GROUP NO. 116) | H2
101 |  | 9 |  | Brickwork of NFX clay bricks (14 Mpa nominal compressive strength) in class I mortar | H3
102 | 18 | 9.38 |  | One brick wall. | m2 | 83 |  | 0
103 |  | 25 |  | Brick reinforcement | H3
104 | 19 | 25.6 |  | Brick reinforcement 150mm wide built into brick walls with sufficient laps at end joints, angles and intersections (measured nett). | m | 228 |  | 0
105 |  |  |  | FACED BRICKWORK | H2
106 |  | 9 |  | External facings (PC 5 500.00/1000 delivered on site) pointed with square horizontal and vertical joints. | H3
107 | 20 | 9.41 |  | Extra over ordinary brickwork for facings in stretcher bond and pointing as described. | m2 | 39 |  | 0
108
109 |  | 59 |  | SECTION NO. 2 | H1
110 |  | 23 |  | BILL NO. 2 | H1
111 |  | 23 |  | CONCRETE, FORMWORK AND REINFORCEMENT | H1
112 |  | 23 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill
113 |  | 23 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 110 for Haylett Formula purposes ---------------
114 |  | 23 |  | MASS CONCRETE | H2
115 |  | 23 |  | Mass concrete with a coarse aggregate of 19mm and a minimum compressive strength of 15MPa at 28 days | H3
116 | 1 | 23.1 |  | In surface beds cast over waterproofing membrane (elsewhere) | m3 | 16.5 |  | 0
117 |  | 23 |  | REINFORCED CONCRETE | H2
118 |  | 23 |  | Reinforced concrete with a coarse aggregate of 19mm and a minimum compressive strength of 25MPa at 28 days | H3
119 | 2 | 23.2 |  | In slabs | m3 | 12.5 |  | 0
120 |  |  |  | Sundries | H3
121 | 3 |  |  | Finish raking to surface of granolithic to a smooth and even non-slip wood float surface including additional dry sand/cement mixture added as necessry whilst the concrete is still wet. | m2 | 83 |  | 0
122 |  |  |  | CONCRETE TEST CUBES (PROVISIONAL): | H2
123 | 4 |  |  | Prepare set of three 150 x 150 x 150mm concrete strength test cubes, label and to an approved laboratory for testing, pay all charges and submit report to the Consult Engineer. Only successful tests will be paid for. | No | 12 |  | 0
124 |  |  |  | MOVEMENT JOINTS | H2
125 |  |  |  | (HAYLET FORMULA WORK GROUP NO. 110) | H2
126 | 5 |  |  | Movement joint 100mm high formed of 10mm bitumen impregnated softboard placed in vertically in position between concrete surface bed and brick walls, etc | m | 52 |  | 0
127 |  |  |  | REINFORCEMENT | H2
128 |  |  |  | (HAYLET FORMULA WORK GROUP NO. 114) | H2
129 |  |  |  | Mesh reinforcement | H3
130 | 6 |  |  | Mesh reinforcement with mesh reference number 193 laid in slab with 300mm wide side and end laps(measured net) | m2 | 83.29 |  | 0
131
132 |  | 59 |  | SECTION NO. 2 | H1
133 |  | 25 |  | BILL NO. 3 | H1
134 |  | 25 |  | MASONRY | H1
135 |  | 25 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill
136 |  | 25 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 116 for Haylett Formula purposes ---------------
137 |  | 25 |  | BRICKWORK | H2
138 |  | 25 |  | Brickwork of nfp clay bricks in class II motar | H3
139 | 1 | 25.3 |  | Half brick wall | m2 | 140 |  | 0
140 | 2 | 25.3 |  | Half brick wall in beamfilling | m2 | 32 |  | 0
141 | 3 | 25.3 |  | One brick wall | m2 | 134 |  | 0
142 | 4 |  |  | Piers | m3 | 1 |  | 0
143 |  | 25 |  | Brick reinforcement | H3
144 | 5 | 25.6 |  | Brick reinforcement 75mm wide built into brick walls with sufficient laps at end joints, angles and intersections (measured nett). | m | 561 |  | 0
145 | 6 | 25.6 |  | Brick reinforcement 150mm wide built into brick walls with sufficient laps at end joints, angles and intersections (measured nett). | m | 526 |  | 0
146 |  | 26 |  | Prestressed precast concrete lintels | H3
147 | 7 | 26.7 |  | 110 x 75mm Lintels not exceeding 3m | m | 8 |  | 0
148 |  | 26 |  | Sundries | H3
149 | 8 | 26.8 |  | 38 x 1,6mm galvanised hoop iron roof tie with one end built six courses deep into top of brickwork and other end wrapped around and nailed to trusses | No | 44 |  | 0
150 |  |  |  | AIR BRICKS | H2
151 | 9 |  |  | 222 x 155mm terra-cotta vermin proof air brick with gauze backing and building into opening in brickwork in cement mortar | No | 16 |  | 0
152 |  | 26 |  | MOVEMENT JOINTS | H2
153 | 10 | 26.10 |  | Movement joint formed of 10mm thick x 100mm wide impregnated softboard built in vertically between brickwork | m2 | 11 |  | 0
154 |  | 26 |  | FACED BRICKWORK | H2
155 |  | 26 |  | Internal facings (PC 5 500.00/1000 delivered on site) pointed with square horizontal and vertical joints | H3
156 | 11 | 26.11 |  | Extra over facing and pointing only to back or ends of half brick wall in stretcher bond | m2 | 23 |  | 0
157 | 12 | 26.11 |  | Extra over ordinary brickwork for facing and pointing in stretcher bond | m2 | 266 |  | 0
158 | 13 | 26.12 |  | Face brick-on-end sill 110mm wide x 110mm high of cut face bricks set flat in cement mortar and pointing on all exposed surfaces | m | 9 |  | 0
159 |  | 26 |  | External facings (PC 5 500.00/1000 delivered on site) pointed with square horizontal and vertical joints | H3
160 | 14 | 26.13 |  | Extra over ordinary brickwork for facing and pointing in stretcher bond | m2 | 126 |  | 0
161 | 15 | 27.15 |  | Fair raking cutting | m | 10 |  | 0
162 | 16 | 27.18 |  | Face brick-on-edge sills 200mm wide of cut face bricks set sloping and slightly projecting on all exposed surfaces | m | 10 |  | 0
163 | 17 | 27.19 |  | Face-brick-on edge header course lintel | m | 56 |  | 0
164
165 |  | 59 |  | SECTION NO. 2 | H1
166 |  | 28 |  | BILL NO. 4 | H1
167 |  | 28 |  | WATERPROOFING | H1
168 |  | 28 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill
169 |  | 28 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 120 for Haylett Formula purposes ---------------
170 |  | 28 |  | WATERPROOFING TO WALLS | H2
171 | 1 | 28.1 |  | 375 micron embossed black polyethylene damp-proof course to walls, cills, etc (measured net) | m2 | 43 |  | 0
172 |  | 28 |  | WATERPROOFING UNDER FLOORS ETC | H2
173 |  |  |  | Colour coded polyethylene sheeting complying with SABS 952, Type C, in widest practicable widths with all joints lapped and sealed in accordance with the manufacturer's instructions: | H3
174 | 2 |  |  | 250 Micron green medium density sheeting laid loose on top of sand bed(elsewhere) under solid floors with pressure sensitive tape jointing | m2 | 83 |  | 0
175
176 |  | 59 |  | SECTION NO. 2 | H1
177 |  | 29 |  | BILL NO. 5 | H1
178 |  | 29 |  | ROOF COVERINGS, ETC | H1
179 |  | 29 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill
180 |  | 29 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 124 for Haylett Formula purposes ---------------
181 |  | 29 |  | IBR ROOF SHEETING AND ACCESSORIES | H2
182 |  | 29 |  | Chromadek IBR iron roofing sheets | H3
183 |  | 29 |  | NOTE : The Contractor is to submit a certificate signed by the merchant, stating that the galvanized roof covering supplied complies with the required thickness specified ---------------
184 | 1 | 29.1 |  | 0,6mm full hard roof sheeting with pitch not exceeding 50 degrees fixed to timber purlins (elsewhere) | m2 | 109 |  | 0
185 | 2 | 29.3 |  | Nutec fascia board size 12x225mm to detail and fixed to timber purlins(elsewhere) | m | 42 |  | 0
186
187 |  | 59 |  | SECTION NO. 2 | H1
188 |  | 30 |  | BILL NO. 6 | H1
189 |  | 30 |  | CARPENTRY AND JOINERY | H1
190 |  | 30 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill
191 |  | 30 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 126 for Haylett Formula purposes
192 |  | 30 |  | TIMBER | H1
193 |  | 30 |  | All softwood to be South African Pine
194 |  | 30 |  | DESCRIPTIONS | H1
195 |  | 30 |  | The term "planted on" shall mean the nailing of one timber member to another.The term "screwed on" shall mean the countersunk screwing of one timber member to another.The term "screwed on and pelleted" shall mean the screwing of one timber member to another with the heads of screws sunk and pelleted.The term "plugged" shall mean the countersunk screwing of a timber member to and including plastic plugs in brickwork or concrete.The term "plugged and pelleted" shall mean the screwing of a timber member to and including plastic plugs in brickwork or concrete with heads of screws sunk and pelleted.Desriptions of floors, ceilings, joinery, etc. shall be deemed to include for all square cutting.Descriptions of items given in lineal metre shall be deemed to include for mitres, stopped ends, fitted intersections, etc.Descriptions of rounded angles, rebates, grooves, chamfers, moulded edges, etc. shall be deemed to include for angles, ends, etc. |  | 0.0
196 |  | 31 |  | PREFABRICATED ROOF TRUSSES | H1
197 |  | 31 |  | NOTE: a. All the roof trusses to be at average 1177mm centres and constructed for a 15o pitch unless otherwise stated b. All the roof trusses to be designed and constructed with softwood structural timber to include for live loads, wind loads and to take corrugated roof covering, purlins and fibre cement or gypsum plasterboard ceilings with brandering. Each roof truss shall have all its members accurately cut and close butted together and rigidly fixed by CSIR approved patented galvanized metal spiked connectors, fixed on both sides of each intersection by an approved method, all in accordance with the manufacturer's instructions. c. Unless otherwise described all rafter feet are to extend 770mm beyond the length of the tie beam, with ends twice splay cut d. The design, manufacture and transportation of the roof trusses, bracing, etc. shall be under the control of a registered Engineer in accordance with SABS 0243 and it shall be required from the manufacturer of the trusses to lodge a written guarantee that his construction has been designed by a qualified Structural Engineer and that he is in possession of a capability certificate issued by the Institute for Timber Construction and approved by the Representative/Agent e. The tenderer's attention is drawn to the fact that the detail drawings included at the back of these Bills of Quantities only represents the overall size and bearing points of the trusses and not the required design. |  | 0.0
198 |  | 32 |  | e. Erection must be carried out as described in "The Erection and Bracing of Timber Roof Trusses" published by the Truss Plate Association of South Africa Ltd. and the National Timber Research Institute, CSIR. f. Descriptions of roof trusses shall be deemed to include for design, manufacture, supply, hoisting and fixing in position, trimming ends, notching, etc. and for any temporary bracing.
199 | 1 | 32.1 |  | Mono pitched roof trusses as per engineers design | No | 22 |  | 0
200 |  | 32 |  | SUNDRY ROOF TIMBERS | H2
201 |  | 32 |  | Sawn Softwood (Grade 4) | H3
202 | 2 | 32.4 |  | 50 x 76mm runners | m | 94 |  | 0
203 | 3 | 32.5 |  | 38 x 114mm wall plate | m | 56 |  | 0
204 |  | 33 |  | Wrot Softwood (Grade 4) | H3
205 | 4 | 33.8 |  | 76 x 76mm Splayed eaves purlin | m | 23 |  | 0
206 |  | 33 |  | ROOF SUNDRIES | H2
207 | 5 | 33.9 |  | 3,2mm galvanised wire purlin tie | No | 44 |  | 0
208 | 6 | 33.9 |  | "Hurricane clip" purlin tie | No | 220 |  | 0
209 |  | 33 |  | WOOD PRESERVATIVE | H2
210 | 7 | 33.11 |  | "Carbolinium" two coats wood preservative applied on sawn and wrot timbers berore fixing | m2 | 28 |  | 0
211 |  | 33 |  | DOORS | H2
212 |  | 33 |  | Wrot meranti | H3
213 | 8 | 33.13 |  | 40mm x 0,813 x 2,032m framed, ledged and braced batten door formed of 40 x 100mm styles and top rail, 40 x 150mm bottom ledge, 20 x 110mm middle ledge and filled in flush on both side with 20mm x 75mm tongued, grooved and V-jointed both sides vertical boarding fixed in and including grooves in styles, top and bottom rail | No | 8 |  | 0
214 | 9 | 33.13 |  | 40mm x 0,900 x 2,032m framed, ledged and braced batten door formed of 40 x 100mm styles and top rail, 40 x 150mm bottom ledge, 20 x 110mm middle ledge and filled in flush on both side with 20mm x 75mm tongued, grooved and V-jointed both sides vertical boarding fixed in and including grooves in styles, top and bottom rail | No | 4 |  | 0
215
216 |  | 59 |  | SECTION NO. 2 | H1
217 |  | 36 |  | BILL NO. 7 | H1
218 |  | 36 |  | CEILINGS, PARTITIONS AND ACCESS FLOORING | H1
219 |  | 36 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill
220 |  | 36 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 126 for Haylett Formula purposes ---------------
221 |  | 36 |  | CEILINGS | H2
222 |  | 36 |  | SCREWED UP CEILINGS: | H2
223 |  | 36 |  | 6,4mm "Rhino" gypsum plastedboard with and including pre-primed H-type pressed steel jointing strips: | H3
224 | 1 | 36.1 |  | Ceilings including 38 x 38mm sawn softwood brandering at 400mm centres in one direction and stiffening battens | m2 | 83 |  | 0
225 |  | 36 |  | Wrot softwood | H3
226 | 2 | 36.3 |  | 44 X 17mm Meranti cornices finished with two coats clear X.44 "POLYURETHANE VARNISH" | m | 243 |  | 0
227
228 |  | 59 |  | SECTION NO. 2 | H1
229 |  | 37 |  | BILL NO. 8 | H1
230 |  | 37 |  | IRONMONGERY | H1
231 |  | 37 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill
232 |  | 37 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 132 for Haylett Formula purposes
233 |  | 37 |  | NOTE : Where ironmongery is referred to by a trade name or catalogue number, it may be replaced by another product of equal quality with the prior approval of the Representative/Agent
234 |  | 37 |  | NOTE : Where ironmongery is described as plugged, prices are to include for screwing to and including approved patent plugs in concrete or brickwork with plaster or tiled finish ---------------
235 |  | 37 |  | THE FOLLOWING IRONMONGERY FIXED TO DOORS, ETC | H1
236 |  | 38 |  | Bolts and latches | H3
237 | 1 |  |  | Three lever mortice lockset and satin chrome plated handles | No | 2 |  | 0
238 | 2 |  |  | WC mortice indicator bolt in satin chrome finish surface mounted | No | 10 |  | 0
239 |  |  |  | SUNDRIES | H2
240 | 3 | 39.11 |  | 38mm diameter black rubber door stop plugged and screwed to wall or floor | No | 10 |  | 0
241 | 4 | 35.5 |  | Sanitech Sanicare Toilet roll holder - hold three rolls (Stainless steel) plugged and screwed to wall | No | 10 |  | 0
242 |  |  |  | LETTERS, NAMEPLATES, ETC | H2
243 |  |  |  | "Union" | H3
244 | 5 |  |  | 290 x 290mm anodised aluminium plate with female symbol by "International signs" | No | 4 |  | 0
245 | 6 |  |  | 290 x 290mm anodised aluminium plate with male symbol by "International signs" | No | 4 |  | 0
246
247 |  | 59 |  | SECTION NO. 2 | H1
248 |  | 41 |  | BILL NO. 9 | H1
249 |  | 41 |  | METALWORK | H1
250 |  | 41 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill.
251 |  | 41 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 136 for Haylett Formula purposes.EXPANSION BOLTSExpansion bolts shall be fixed in accordance with the Manufacturer's instructions and prices areto include for drilling mortice for sockets in brickwork or concrete for same ---------------
252 |  | 42 |  | PRESSED STEEL DOOR FRAMES | H2
253 |  | 42 |  | 1,2mm double rebated pressed steel door frames suitable for half brick walls with face brick finish on both sides | H3
254 | 1 | 42.5 |  | Door frame for door size 0,900 x 2,032m with two 100mm steel butts and slotted for lock strike | No | 4 |  | 0
255 |  | 43 |  | 1,2mm double rebated pressed steel door frames suitable for half brick walls with plaster finish on both sides | H3
256 | 2 | 43.8 |  | Door frame for door size 0,813 x 2,032m with two 100mm steel butts and slotted for lock strike | No | 8 |  | 0
257 |  | 43 |  | STEEL WINDOWS | H2
258 |  | 43 |  | NOTE : Windows shall be provided with chromium plated brass fittings
259 |  | 43 |  | NOTE : The given sizes are overall, approximate and in the order of width and height. The detailed drawings and building must be carefully checked for exact sizes before placing orders. Any errors in this respect will be at the Contractor's expenseand no claims for extras on this account will be entertained
260 |  | 43 |  | NOTE : Where so described windows shall be provided with burglar bars to opening and fixed sections, consisting of 20 x 5mm mild steel flat sections to standard NBP2 pattern welded at intersections and to window frameBars in front of fixed sections to be bent 75mm away from the glass surface ---------------
261 | 3 | 44.11 |  | Window type ZNE1; size 0,654 x 0,654m | No | 18 |  | 0
262 |  |  |  | WELDED SCREENS, GATES, ETC | H2
263 |  |  |  | Screens and gates to 220mm wall | H3
264 | 4 |  |  | Mild Steel single gate 850 x 2040mm high of 40 x 40 x 5mm angle section frame and 40 x 40 x 5mm hollow section horizontal middle rail filled in with 40 x 40 x 5mm hollow section vertical rails at 100mm centres and fitted with a pair of suitable hinges welded to post and with ears for padlock | No | 2 |  | 0
265 | 5 |  |  | Mild Steel single gate 1000 x 1800mm high of 40 x 40 x 5mm angle section frame and 40 x 40 x 5mm hollow section horizontal middle rail filled in with 40 x 40 x 5mm hollow section vertical rails at 100mm centres and fitted with a pair of suitable hinges welded to post and with ears for padlock | No | 4 |  | 0
266
267 |  | 59 |  | SECTION NO. 2 | H1
268 |  | 45 |  | BILL NO. 10 | H1
269 |  | 45 |  | PLASTERING | H1
270 |  | 45 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill
271 |  | 45 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 142 for Haylett Formula purposes ---------------
272 |  | 45 |  | SCREEDS | H2
273 |  | 45 |  | 25mm thick cement screed on concrete | H3
274 | 1 | 45.1 |  | On floors (Powerfloat finish) | m2 | 83 |  | 0
275 | 2 |  |  | Threshold topping 110mm wide and average 100mm thick finished to fall with reedings formed in top | m | 40 |  | 0
276 | 3 |  |  | Threshold topping 220mm wide and average 100mm thick finished to fall with reedings formed in top | m | 40 |  | 0
277 |  |  |  | INTERNAL PLASTER | H2
278 |  |  |  | One coat (4:1) cement plaster | H3
279 | 4 |  |  | Plasterkey/cement mix filling between window frame and wall | m | 11 |  | 0
280 |  | 63 |  | EXTERNAL PLASTER | H2
281 |  |  |  | Cement plaster on brickwalls | H3
282 | 5 |  |  | Plaster to external walls - Plaster belt | m2 | 27 |  | 0
283
284 |  | 59 |  | SECTION NO. 2 | H1
285 |  | 49 |  | BILL NO. 11 | H1
286 |  | 49 |  | PLUMBING AND DRAINAGE | H1
287 |  | 54 |  | SANITARY FITTINGS (PROVISIONAL) | H2
288 | 1 | 48.2 |  | 560 x 405mm white vitreous china wash hand basin complete with and including one chromium plated pillar tap, one tap hole plug, waste union, plug and chain and universal pedestal | No | 8 |  | 0
289 | 2 | 49.5 |  | WC suite comprising white vitreous china pan with P or S trap, 9 litre white vitreous china duct type cistern complete with lid, fitments, matching extended flush pipe, push button flushing mechanism suitable for 110mm wall including any necessary sleeves and with heavy duty white plastic double flap seat with chromium plated accessories | No | 6 |  | 0
290 | 3 | 71.10 |  | Vaal Protea WC suite (code: 750246) for paraplegic toilet comprising white vitreous china pan with S-trap, 9 litre matching cistern (code: 710631) complete with lid, fitments, purpose made C.P. side flush lever and heavy duty white plastic double flap seat with chromium plated accessories. | No | 4 |  | 0
291 | 4 | 70.8 |  | 510 x 375mm White vitreous china paraplegic wash hand basin complete with and including two chromium plated elbow action taps, waste union, plug and chain and concealed brackets. | No | 4 |  | 0
292 | 5 | 71.9 |  | 610 x 385mm White vitreous china curvedback wall urinal (code: 705326) with top flush entry complete with and including concealed wall hangers, back inlet and PC push button, chromium plated waste outlet and grating, and with a 15mm chromium plated push button stopcock flushing system with matching extended chromium plated flush pipe with spreaders. | No | 4 |  | 0
293 | 6 | 71.12 |  | 20mm 'Castle Watertech' No. FJ6.000 exposed model chromium plated 'Flushmaster Junior' urinal valve, with integral ballostop and wall plate including FJT5.4 chromium plated connecting pipe and spray rose | No | 4 |  | 0
294 | 7 | 71.10 |  | Complete set of aluminium paraplegic grab rails to be fitted on the wall | No | 4 |  | 0
295 |  | 49 |  | Traps, etc including joints to steel pipe and/or fittings unless otherwise described | H3
296 | 8 | 49.8 |  | 32-40mm chromium plated bottle trap | No | 16 |  | 0
297 |  | 49 |  | Valves, etc, including joints to steel pipes and/or fittings unless otherwise described | H3
298 | 9 | 49.10 |  | 15mm Copper service pipe 350mm girth | No | 26 |  | 0
299 | 10 | 49.13 |  | 15mm chromium plated "Ballostop" or other approved stopcock | No | 26 |  | 0
300 | 11 | 49.14 |  | 15mm chromium plated wall flange and extension piece | No | 26 |  | 0
301 | 12 | 49.14 |  | 15mm flexi pipes | No | 22 |  | 0
302 |  | 49 |  | SANITARY PLUMBING | H2
303 |  | 49 |  | (PROVISIONAL)
304 |  | 50 |  | uPVC pipes and fittings | H3
305 | 13 | 50.15 |  | 50mm pipe fixed in walls, ceilings, roofs, floors, etc | m | 36 |  | 0
306 | 14 | 50.16 |  | 110mm pipe fixed in walls, ceilings, roofs, floors, etc | m | 53 |  | 0
307 |  | 50 |  | Extra over uPVC pipes for fittings | H3
308 | 15 | 50.17 |  | 110 x 50mm reducer | No | 8 |  | 0
309 | 16 | 50.19 |  | 50mm bend | No | 20 |  | 0
310 | 17 | 50.20 |  | 110mm bend | No | 20 |  | 0
311 | 18 | 50.21 |  | 50mm junction | No | 8 |  | 0
312 | 19 | 50.22 |  | 110mm junction | No | 10 |  | 0
313 | 20 | 50.23 |  | 110mm pan connector | No | 10 |  | 0
314 | 21 | 50.24 |  | 50mm access bend | No | 8 |  | 0
315 | 22 | 50.25 |  | 110mm access bend | No | 8 |  | 0
316 | 23 | 50.26 |  | 110mm access bend with anti-syphon horn | No | 10 |  | 0
317 | 24 | 50.27 |  | 50mm access junction | No | 12 |  | 0
318 | 25 | 50.28 |  | 110mm access junction | No | 8 |  | 0
319 | 26 | 50.29 |  | 110mm access reducing junction | No | 8 |  | 0
320 | 27 | 50.30 |  | Two way PVC vent valve suitable for 50mm pipe | No | 10 |  | 0
321 |  | 56 |  | WATER SUPPLIES: | H1
322 |  | 57 |  | Class O thin wall hard drawn copper pipes and fittings with cappilary soldered type connections | H3
323 | 28 | 57.31 |  | 15mm Pipes | m | 40 |  | 0
324 | 29 | 72.35 |  | 22mm Pipes | m | 40 |  | 0
325 |  | 57 |  | Extra over class O copper pipes for soldered cappillary fittings | H3
326 | 30 | 57.33 |  | 15mm fittings | No | 90 |  | 0
327 | 31 | 72.37 |  | 22mm fittings | No | 40 |  | 0
328 |  |  |  | High density polyethelene Class 12 Type IV pressure piping including Plasson couplings in the running length | H3
329 | 32 |  |  | 25mm Diameter pipes laid in earth or earth filling under surface beds, including excavations not exceeding 1 m deep | m | 130 |  | 0
330 |  |  |  | Extra over Class 12 high density polyethelene piping for Plasson compression fittings | H3
331 | 33 |  |  | 25mm fittings | No | 30 |  | 0
332 |  | 51 |  | TESTING | H2
333 | 34 | 51.36 |  | Provide all necessary apparatus water, etc for and test the whole of the Sanitary Plumbing and Water Supply installation to the satisfaction of the Representative/Agent and Municipality, replace any defective work free of charge and leave perfect | Item | 2 |  | 0
334 |  | 51 |  | BUILDER'S WORK, INCLUDING ALL MAKING GOOD | H2
335 |  | 51 |  | (PROVISIONAL)
336 |  | 51 |  | MASONRY | H2
337 |  | 51 |  | (Haylett Formula Work Group No. 116) | H2
338 | 35 | 51.37 |  | Fair cutting and fitting of facing around pipe not exceeding 100mm diameter | No | 10 |  | 0
339 |  | 52 |  | Prepare and apply one coat metal etch primer and two coats acrylic emulsion paint | H3
340 | 36 | 52.39 |  | On copper pipe not exceeding 300mm girth | m | 72 |  | 0
341
342 |  | 59 |  | SECTION NO. 2 | H1
343 |  | 59 |  | BILL NO. 12 | H1
344 |  | 59 |  | GLAZING | H1
345 |  | 59 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill
346 |  | 59 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 150 for Haylett Formula purposes ---------------
347 |  | 59 |  | Glass in steel fixed with putty | H3
348 | 1 |  |  | 4mm Clear float Safety glass in squares exceeding 0,1 and not exceeding 0,5m2 in area | m2 | 1 |  | 0
349 | 2 | 59.4 |  | 4mm obscure glass in squares not exceeding 0,1 and not exceeding 0,5 square metre in area | m2 | 6 |  | 0
350 |  | 53 |  | MIRRORS | H2
351 |  | 53 |  | Notes:
352 |  | 53 |  | Unless otherwise described, mirrors shall be with four holes for and screwed to and including approved patent plugs in wall with countersunk steel screws tap-threaded for and including screw type chromium plated domeheaded caps and felt washers
353 |  | 54 |  | 6mm thick silvered GG quality polished float glass mirrors with rounded and polished edges and splayed corners | H3
354 | 3 | 54.5 |  | Mirror size 450 x 600mm | No | 8 |  | 0
355
356 |  | 59 |  | SECTION NO. 2 | H1
357 |  | 61 |  | BILL NO. 13 | H1
358 |  | 61 |  | PAINTING | H1
359 |  | 61 |  | NOTE : Tenderers are advised to study the "Specification of Materials and Methods to be used" (OOG-001E) before pricing this bill
360 |  | 61 |  | NOTE : Unless otherwise stated all items in this bill shall be deemed to fall into Work Group No. 152 for Haylett Formula purposes ---------------
361 |  | 61 |  | PAINT ON PLASTER ETC | H2
362 |  | 61 |  | Prepare, stop and paint one coat alkali resistant primer and two full coats 100% acrylic emulsion paint for exterior use | H3
363 | 1 | 61.1 |  | On precast concrete lintels | m2 | 26.7 |  | 0
364 |  | 61 |  | Prepare, stop and paint one coat alkali resistant primer and one full coat eggshell emulsion paint for interior use | H3
365 |  | 62 |  | PAINT ON METAL | H2
366 |  | 62 |  | Prepare, touch up factory primer, paint one undercoat and one full coat high gloss enamel paint | H3
367 | 2 | 62.7 |  | On pressed steel door frame | m2 | 20 |  | 0
368 |  | 62 |  | Prepare, apply one coat zinc chromate primer, one universal undercoat and one coat eggshell enamel paint | H3
369 | 3 | 62.11 |  | On gates, grilles, burglar screens, balustrades, etc. (both sides measured over the full flat area). | m2 | 10 |  | 0
370 |  | 62 |  | PAINT ON WOOD: | H2
371 |  | 63 |  | Prepare, stop and apply two coat polyurethane clear eggshell varnish, lightly sanded down | H3
372 | 4 | 62.12 |  | General door surfaces | m2 | 43 |  | 0
373
374 | 1 |  |  | Earthworks | Page | 8
375 | 2 |  |  | Concrete Formwork & Reinforcement | Page | 10
376 | 3 |  |  | Masonry | Page | 12
377 | 4 |  |  | Waterproofing | Page | 13
378 | 5 |  |  | Roof Coverings, etc | Page | 14
379 | 6 |  |  | Carpentry & Joinery | Page | 17
380 | 7 |  |  | Ceilings, Partitions & Access Flooring | Page | 18
381 | 8 |  |  | Ironmongery | Page | 20
382 | 9 |  |  | Metalwork | Page | 22
383 | 10 |  |  | Plastering | Page | 23
384 | 11 |  |  | Plumbing | Page | 27
385 | 12 |  |  | Glazing | Page | 28
386 | 13 |  |  | Paintwork | Page | 30
387 |  | 59 |  | SECTION NO. 3 | H1
388 |  | 73 |  | BILL NO. 1 | H1
389 |  | 72 |  | WATER SUPPLY: | H1
390 |  | 72 |  | SITE CLEARANCE : | H1
391 |  |  |  | as specified in SABS 1200 C and in the project specification | H4
392 | 1 | 72.34 |  | Clear and grub 2m wide strip | m | 40 |  | 0
393 |  | 72 |  | EARTHWORKS (PIPE TRENCHES) : | H1
394 |  |  |  | as specified in SABS 1200 DB and in the project specification | H4
395 |  | 72 |  | Excavation : | H1
396 |  |  |  | (a) Excavate in all materials for trenches, backfill, compact and dispose of surplus material : | H4
397 | 2 | 72.36 |  | Trenches 750mm to 1150mm wide to accommodate pipes 110mm diameter up to 550mm diameter: - Depth exceeding 1m up to 1,5m | m | 25 |  | 0
398 | 3 | 72.36 |  | Trenches 750mm to 1150mm wide to accommodate pipes 110mm diameter up to 550mm diameter: - Depth exceeding 1,5m up to 2m | m | 15 |  | 0
399 |  |  |  | (b) Extra over | H4
400 | 4 | 72.37 |  | For hard rock excavation (provisional) | m3 | 17 |  | 0
401 |  |  |  | Excavate and dispose of unsuitable material from sides and bottom of trenches where ordered and replaced with: | H4
402 | 5 |  |  | Selected material complying with subclause 3.2.2 of SABS 1200 ME compacted to 90% of modified AASHTO maximum density | m3 | 9 |  | 0
403 |  |  |  | Excavation ancillaries: Make up deficiency in backfill material : (provisional) | H4
404 | 6 |  |  | From other necessary excavations on site | m3 | 1 |  | 0
405 | 7 |  |  | By importation from commercial or off-site sources selected by the Contractor: Subbase quality material complying with subclause. Trenchfill | m3 | 1 |  | 0
406 | 8 |  |  | Compaction in road reserves (95% of modified AASHTO maximum density) | m3 | 3 |  | 0
407 |  |  |  | Finishings | H4
408 | 9 |  |  | Reinstate road surfaces and paving complete with all courses. Gravel on shoulders and driveways. | m3 | 30 |  | 0
409 |  | 73 |  | BEDDING (PIPES) | H1
410 |  |  |  | as specified in SABS 1200 LB and in the project specification | H4
411 | 10 | 73.38 |  | From commercial sources: Selected granular material | m3 | 9 |  | 0
412 | 11 | 73.38 |  | From trench or other excavations or from stockpile: Selected fill material | m3 | 3 |  | 0
413 |  | 73 |  | MEDIUM PRESSURE PIPES | H1
414 |  |  |  | as specified in SABS 1200 L and in the project specification | H4
415 | 12 | 73.38 |  | HDPE pipes in bedding for flexible pipes: 50 mm dia (OD) Class 16 | m3 | 40 |  | 0
416 |  | 73 |  | Extra over items for the supplying, laying and bedding of specials (complete with ancillaries and couplings): Saddles and class stated : | H3
417 | 13 | 73.2 |  | Saddle :- 160mm x 50mm class 16 | No | 1 |  | 0
418 | 14 | 73.3 |  | Saddle :- 110mm x 50mm class 16 | No | 1 |  | 0
419 |  | 73 |  | Extra over Class 16 pipes for | H3
420 | 15 | 73.4 |  | Reducer - 50mm x 22mm class 16 | No | 2 |  | 0
421 |  | 74 |  | Sundries | H3
422 |  | 74 |  | Blocks, etc. | H3
423 | 16 | 74.14 |  | Anchor / thrust blocks and pedestals: Concrete (15MPa/19) | m3 | 1 |  | 0
424 | 17 | 74.15 |  | Formwork (rough) | m2 | 4 |  | 0
425 |  | 73 |  | Connection to existing water line | H3
426 | 18 | 73.4 |  | Cut into existing pipeline, saddle, effect connection and make good complete (fittings measured elsewhere) | No | 2 |  | 0
427 |  | 73 |  | TESTING OF WATER PIPELINES: | H1
428 | 19 | 73.38 |  | 400mm | m | 40 |  | 0
429 |  | 73 |  | Overhaul | H3
430 | 20 | 73.4 |  | Overhaul (free haul is 10km) | TrkLd | 1 |  | 0
431 |  | 72 |  | SEWER RETICULATION | H1
432 |  | 72 |  | SITE CLEARANCE : | H1
433 |  |  |  | as specified in SABS 1200 C and in the project specification | H4
434 | 21 | 72.34 |  | Clear and grub 3m wide strip | m | 60 |  | 0
435 |  | 72 |  | EARTHWORKS (PIPE TRENCHES) : | H1
436 |  |  |  | as specified in SABS 1200 DB and in the project specification | H4
437 |  | 72 |  | Excavation : | H1
438 |  |  |  | (a) Excavate in all materials for trenches, backfill, compact and dispose of surplus material : | H4
439 | 22 | 72.36 |  | Trenches of width exceeding 700mm up to 900mm for 110mm to 250mm dia sewer mains: Depth exceeding 2,5m up to 3,0m | m | 8 |  | 0
440 | 23 | 72.36 |  | Trenches of width exceeding 700mm up to 900mm for 110mm to 250mm dia sewer mains: Depth exceeding 3,0m up to 3,5m | m | 33 |  | 0
441 | 24 | 72.36 |  | Trenches of width exceeding 700mm up to 900mm for 110mm to 250mm dia sewer mains: Depth exceeding 3,5m up to 4,0m | m | 26 |  | 0
442 | 25 | 72.36 |  | Trenches of width exceeding 700mm up to 900mm for 110mm to 250mm dia sewer mains: Depth exceeding 4,0m up to 4,5m | m | 17 |  | 0
443 | 26 | 72.36 |  | Trenches of width exceeding 700mm up to 900mm for 110mm to 250mm dia sewer mains: Depth exceeding 4,5m up to 5,0m | m |  |  | 0
444 | 27 | 72.36 |  | Trenches of width exceeding 700mm up to 900mm for 110mm to 250mm dia sewer mains: Depth exceeding 5,0m up to 5,5m | m |  |  | 0
445 |  |  |  | (b) Extra over | H4
446 | 28 | 72.37 |  | For hard rock excavation (provisional) | m3 | 8 |  | 0
447 |  |  |  | Excavate and dispose of unsuitable material from sides and bottom of trenches where ordered and replaced with: | H4
448 | 29 | 72.37 |  | Excavate and dispose of unsuitable material from trench bottom (provisional) | m3 | 1 |  | 0
449 |  |  |  | Excavation ancillaries: Make up deficiency in backfill material : (provisional) | H4
450 | 30 |  |  | Make up deficiency in backfill material: (provisional): From other necessary excavations on site | m3 |  |  | 0
451 | 31 |  |  | By importation from commercial or off-site sources selected by the Contractor: Selected material complying with subclause 3.2.2 of SABS 1200 ME compacted to 90% of modified AASHTO maximum density | m3 | 1 |  | 0
452 | 32 |  |  | By importation from commercial or off-site sources selected by the Contractor: Subbase quality material complying with subclause. Trenchfill | m3 | 5 |  | 0
453 | 33 |  |  | Compaction in road reserves (95% of modified AASHTO maximum density) | m3 |  |  | 0
454 |  | 73 |  | BEDDING (PIPES) | H1
455 |  |  |  | as specified in SABS 1200 LB and in the project specification | H4
456 | 34 | 73.38 |  | Provision of bedding from trench excavation: Selected granular material | m3 | 38 |  | 0
457 | 35 | 73.38 |  | Provision of bedding from trench excavation: Selected fill material | m3 | 10 |  | 0
458 |  |  |  | Supply only of bedding by importation : | H4
459 | 36 | 73.38 |  | From commercial sources: Selected granular material | m3 | 15 |  | 0
460 |  | 73 |  | SEWERS | H1
461 |  |  |  | as specified in SABS 1200 LD and in the project specification | H4
462 | 37 |  |  | Supply, lay, joint, bed and test pipeline (Main line): Structured wall PVCu sewers of outside diameters stated (400kPa, Type 1, SABS 1601, maincor, ultracor or similar approved), bedded as detailed on the drawings: 110mm dia | m | 83 |  | 0
463 |  |  |  | Manholes: | H2
464 | 38 |  |  | Precast concrete manholes complete including medium duty concrete roof slab and type 4 cover and frame for pipes up to and including 300mm dia: Depth exceeding 3,0m up to 3,5m | No | 1 |  | 0
465 | 39 |  |  | Precast concrete manholes complete including medium duty concrete roof slab and type 4 cover and frame for pipes up to and including 300mm dia: Depth exceeding 3,5m up to 4,0m | No | 1 |  | 0
466 | 40 |  |  | Precast concrete manholes complete including medium duty concrete roof slab and type 4 cover and frame for pipes up to and including 300mm dia: Depth exceeding 5,0m up to 5,5m | No |  |  | 0
467 |  |  |  | Extra over: | H4
468 | 41 |  |  | Extra overfor type 2A cover and frame for manholes in road areas | No | 1 |  | 0
469 |  |  |  | Extra over for construction of additional channelling and the building in of short pipe specials at branch manholes, manholes at bends and erf connection manholes: | H3
470 | 42 |  |  | For FC channels at bends: Terminal erf connections (110mm dia) into manhole | No | 2 |  | 0
471 |  |  |  | Erf connections off 110mm dia sewer line (complete with fittings as per drawing) | H4
472 | 43 |  |  | 110mm diam pipe Length of 25m: Type 1 | No | 1 |  | 0
473 | 44 |  |  | 110mm diam pipe Length of 25m: Type 2 | No | 1 |  | 0
474 | 45 |  |  | 110mm diam pipe Length of 25m: Type 3 | No | 1 |  | 0
475 |  |  |  | Extra over items for long connections across roads | H4
476 | 46 | 72.37 |  | 110mm dia sewer pipe | m | 83 |  | 0
477 |  | 73 |  | Connection to existing sewer line | H3
478 | 47 | 73.4 |  | Tie into existing sewer main line, as indicated on the longsection, and make good the connection, complete | No | 2 |  | 0
479 |  | 74 |  | Sundries | H3
480 | 48 | 74.14 |  | Encasing of pipes in concrete | m3 | 6 |  | 0
481 | 49 | 74.14 |  | Testing of water tightness of manholes | No | 7 |  | 0
482 |  | 73 |  | Overhaul | H3
483 | 50 | 73.4 |  | Overhaul (free haul is 10km) | TrkLd | 1 |  | 0
484
485 |  | 59 |  | SECTION NO. 4 | H1
486 |  | 18 |  | BILL NO. 1 | H1
487 |  | 71 |  | LANDSCAPING | H1
488 |  | 21 |  | MISCELLANEOUS | H2
489 |  | 21 |  | SITE CLEARANCE | H3
490 |  |  |  | (i) Loading and removal to the Contractors own dumping site all unusable material, debris and stone, unused plant materials, placed in measurable storage heaps, resulting from the initial soil preparation to the final finishing process (other than specified). | H4
491 |  |  |  | (ii) Collect unwanted materials and place in measurable heaps. | H4
492 |  |  |  | (iii) The contractor should at all times ensure to keep the site in a neat and tidy condition. | H4
493 |  | 21 |  | GABIONS | H2
494 |  | 21 |  | Foundation trench excavation and backfilling: | H3
495 | 1 |  |  | Surface preparation for bedding the gabions | m2 | 4955 |  | 0
496 |  | 21 |  | Gabions: Galvanised gabion boxes complete with stones as per SANS 1200DK | H3
497 | 2 |  |  | 1,0m wide x 1,0m deep x 2,0m long (172No.) | m3 | 344 |  | 0
498 | 3 |  |  | 2,0m wide x 1,0m deep x 2,0m long (267No.) | m3 | 1068 |  | 0
499 |  | 21 |  | Gabions: Galvanised gabion mattresses | H3
500 | 4 |  |  | 1,0m diaphragm spacing x 6,0m long x 2,0m wide x 0,3m deep mesh (58No.) | m3 | 209 |  | 0
501 |  | 21 |  | Filter Fabric | H3
502 | 5 |  |  | Geotextile Bidim A2(U14) | m2 | 4955 |  | 0
503 |  |  |  | PARK FURNITURE: | H3
504 |  |  |  | PLAY EQUIPMENT | H3
505 | 6 |  |  | a. Supply & install play equipments or similar approved in positions as indicated on the drawings on 15MPa concrete footings | No | 15 |  | 0
506 | 7 |  |  | b. Supply & install childrens play equipment (Modular as per supplier specification and in accordance to SANS and Health and Safety regulation) or similar approved in positions as indicated on the drawings on 15mPa concrete footings ( Refer to World outdoor fitness catalogue or similar approved by the client) | No | 4 |  | 0
507 |  |  |  | OUTDOOR GYM EQUIPMENT | H3
508 | 8 |  |  | a. Supply & install Outdoor gym equipments (as per supplier specification and in accordance to SANS and Health and Safety regulation) or similar approved in positions as indicated on the drawings on 15mPa concrete footings ( Refer to World outdoor fitness catalogue or similar approved by the client) | No | 15 |  | 0
0
509
510 | 1 |  |  | Preliminaries | Page | 4
511 | 2 |  |  | New Toilets & Guard House Buildings | Page | 31
512 | 3 |  |  | Water and Sewer | Page | 38
513 | 4 |  |  | Landscaping | Page | 40
514 |  |  |  | SUB-TOTAL (Excluding Value Added Tax) |  |  |  | 0
515 |  |  |  | CONTINGENCIES | H2
516 |  | 75 |  | Allow contingency amount of 10% to be used as directed by the Engineer. | % | 0.1 |  | 0
517 |  |  |  | SUB-TOTAL including Contingencies but excluding Value Added Tax (VAT) |  |  |  | 0
518 |  |  |  | ADD: Value Added Tax (VAT) calculated at the rate of 15% |  | 0.15 |  | 0
|  |  |  | TOTAL CARRIED TO TENDER OFFER |  |  |  | 0