## PnG
Bill No:1 |  | PRELIMINARY AND GENERAL ITEMS
No |  | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
A | FIXED CHARGE ITEMS
A.1 | Site Establishment: | The Contractor shall establish the site camp and maintain throughout the construction period and allow for removal of such upon completion of Works.
A.1.1. |  | Office and Meeting Room complete as per P&G's Guideline | Sum | 1
A.1.2. |  | Stores (Container) | Sum | 1
A.1.3. |  | Sanitation | Sum | 1
A.1.4. |  | Electricity | Sum | 1
A.1.5. |  | Supply and Install Diamond mesh fencing at 1.8 meters high for a yard 15m long x 15m wide | 60m | 120
A.1.6. |  | Supply and Install 1 Diamond mesh Lockable Gate 1.8m high x 3.6m wide | each | 2
A.2. | Sign Board Labour
A.2.1 |  | Contractor shall erect on site, maintain throughout the construction duration | each | 1
A.3. | Health and Safety measures (In terms of 34-333) | Safety & Health, Environmental
A.3.1 |  | Compliance with OH&S Act & Construction Regulations. | Sum | 1
A.4. | Materials Management
A.4.1 |  | The Contractor shall make allowance to receive at Mogale City stores, transport to site, offload and stack the free-issue materials supplied to the contractor. | Sum | 1
A.4.2 |  | Once authorised by the Client, the unused materials shall be loaded, off-loaded, stacked and returned to the Mogale City Stores from where it originated. | Sum | 1
A.5. | Contractual requirements | Comply ,maintain all insurance and statutory contributions, etc.
A.5.1. |  | Allowance to Comply ,maintain all insurance and statutory contributions, etc. | Sum | 1
Sub-Total A
B. | TIME RELATED ITEMS
B.1 | Site Establishment
B.1.1. |  | Maintain Site Office and Meeting Room, Site Storage complete as per P&G's guideline | Weeks | 48
B.1.2. |  | Water | Weeks | 48
B.1.3. |  | Sanitation (service) | Weeks | 48
B.1.4. |  | Electricity (Eskom/Munic supply) | Weeks | 48
B.2 | Security
B.2.1. |  | Security on site - 24 Hour Unarmed Security (Must be registered with the appropriate body) | Weeks | 48
Sub-Total B
Total 1

## Foundations
Bill No:2 |  | FOUNDATIONS AND SUPPORT
No | D-DT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
EXCAVATIONS AND TRENCHING |  | Excavate, Backfill and Compact and Import Backfill Class 2 pickable soil (including the hand removable of rock and boulders) where required for Holes and Trenches required for planting Poles, Stays, Struts, Flying Stays and Earth Electrodes as follows:
2.1.1 |  | a hole of 1.3 meter deep for a 7 meter pole | e.a. | 1
2.1.2 |  | a hole of 1.5 meter deep for a 9 meter pole | e.a. | 1
2.1.3 |  | a hole of 1.7 meter deep for a 10 meter pole | e.a. | 1
2.1.4 |  | a hole of 1.8 meter deep for a 11 meter pole | e.a. | 1
2.1.5 |  | a hole of 2 meter deep for a 12 meter pole | e.a. | 1
2.1.6 |  | a hole of 2.2 meter deep for a 13 meter pole | e.a. | 1
2.1.7 |  | a hole of 2.2 meter deep for a 14 meter pole | e.a. | 1
2.1.8 |  | a hole of 2.2 meter deep for a 16 meter pole | e.a. | 1
2.1.9 |  | a hole of 2.4 meter deep for a 18 meter pole | e.a. | 1
2.1.10 |  | a hole of 1.3 meter deep for a LV stay with 12mm diameter rod | e.a. | 1
2.1.11 |  | a hole of 1.8 meter deep for a MV stay with 20mm diameter rod | e.a. | 1
2.1.12 |  | a hole of 0.5 meter deep for a LV strut pole | e.a. | 1
2.1.13 |  | a hole of 0.5 meter deep for a MV strut pole | e.a. | 1
2.1.14 | 854 | Excavate, Backfill and Compact and Import Backfill Class 2 pickable soil (including the hand removable of rock and boulders) where required for Trenches used for laying Medium Voltage Cable (1000 mm deep x 500 mm wide) | m | 1
2.1.15 | 854 | Excavate, Backfill and Compact and Import Backfill using Mechanical boring/Rock Drill or Jack Hammer for Trenches used for laying Medium Voltage Cable (1000 mm deep x 500 mm wide) | m | 1
2.2 |  | Excavate, Backfill and Compact and Import Backfill using Mechanical boring/Rock Drill or Jack Hammer (Irrespective of depth) of hole where required for Holes and Trenches required for planting Poles, Stays, Struts, Flying Stays and Earth Electrodes as follows:
2.2.1 |  | Rock drilling and labour required | e.a. | 1
2.2.2 |  | mechanical boring (Auger) device and labour required | e.a. | 1
2.2.3 |  | Excavate using a jack hammer and compressor | e.a. | 1
2.2.4 |  | Blasting and labour required | e.a. | 1
2.2.5 |  | Supply of imported soil (Class 1) | m³ | 1
2.3 |  | Pole Planting By hand/Crane as follows:
2.3.1 | 50 | POLE,WOOD 7.0X100-120 TOP DIA | e.a. | 1
2.3.2 | 55 | POLE:140-159MM TOP DIA X LG 9 M;WOOD | e.a. | 1
2.3.3 | 52 | POLE,WOOD 10.0m x 160-179 | e.a. | 1
2.3.4 | 51 | POLE:180-199MM TOP DIA X LG 11M ;WOOD | e.a. | 1
2.3.5 | 53 | POLE:180-199MM TOP DIA X LG 12 M;WOOD | e.a. | 1
2.3.6 | 56 | POLE,WOOD 13.0 x 200-219 | e.a. | 1
2.3.7 | 56 | POLE,WOOD 14.0 x 200-219 | e.a. | 1
2.3.8 | 56 | POLE,WOOD 15.0 x 200-219 | e.a. | 1
STAYS AND STRUTS |  | Supply and install stays, flying stays, struts. Accessories include staywire, stayrods, stay plates, soil anchors, stay insulators, guy grips stay mounting brackets, mounting hardware, anti-climbing devices, stayguards and danger labels. Poles and excavations are measured elsewhere. The installation and erection of strut poles are measured here
2.4 |  | Installing Stay and strut assembles
2.4.1 | 341 | LV STAY ASSEMBLY (LV - 35kN) WOOD | e.a. | 1
(Sh 1 of 5)
2.4.2 | 341 | MV STAY ASSEMBLY (MV - 97kN) WOOD POLES | e.a. | 1
(Sh 2 of 5)
2.4.3 | 342 | MV STRUT ASSEMBLY SWIVEL BRACKET 11m, 12m AND 13m ,14,15 WOOD POLESL/MV Strut | e.a. | 1
(Sh 2 of 3)
2.4.4 | 342 | LV STRUT ASSEMBLY WOOD H - POLE FOR -11m , 12m and 13m,14,15 poles/LV Strut | e.a. | 1
(Sh 3 of 3)
Total 2

## MVOverhead
Bill No:3 |  | MV OVERHEAD SYSTEM
No | D-DT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
MV CONDUCTOR |  | Supply and Install ACSR conductor. Material quantity to allow for 5% sag in addition to actual conductor length quantity. Installation includes handling, stringing and final sagging.
3.1.1 | 3136 | MV Bare ACSR Fox | m | 1
3.129 | 3136 | MV Bare ACSR Mink | m | 1
3.1.3 | 3136 | MV Bare ACSR Hare | m | 1
MV STRUCTURES |  | Supply and erect MV structures and support structures including stays, flying stays, struts as per Eskom DDT 0400, 1300, 1700, 1800 drawings and Mogale City specific Engineering instructions. Auxiliary equipment and Accessories such as staywire, stayrods, stay plates, soil anchors, stay insulators, guy grips stay mounting brackets, mounting hardware, anti-climbing devices, stayguards, danger labels, bonding, BIL downwire, jumpers, jumper terminations, pole and xarm mounting and mounting hardware, conductor attachment hardware and insulators must be included. MV intermediate structures shall have a spark gap device installed on its BIL downwire.
3.2.1 | 1821 | Sectionalizer Structure - In-line arrangement | e.a. | 1
3.2.10 | 1825 | Recloser Structure -In-line arrangement | e.a. | 1
3.2.11 | 1828 | Sectionalizer Structure - Out-of-line arrangement | e.a. | 1
3.2.12 | 1829 | Recloser Structure -Out-of-line arrangement (By-pass structure not included) | e.a. | 1
3.2.13 | 1829B | Recloser structure – General arrangement (INCLUDING PMRTV) (sheet 1 of 2) (Bypass structure not included) | e.a. | 1
3.2.14 | 2-WT-1275 | Recloser structure – General arrangement (INCLUDING PMRTV) (sheet 1 of 4) this is excluding the main line structures measured elsewhere | e.a. | 1
3.2.1 | 1830 | Regulator - 100 / 200A Open Delta – In-line arrangement General Arrangement (sheet 1 of 6) | e.a. | 1
3.2.2 | 1830 | Regulator - 100 / 200A Closed Delta – In-line arrangement General Arrangement (sheet 1 of 6) | e.a. | 1
3.2.3 | 1832 | Single Pole-mounted Capacitor Bank | e.a. | 1
3.2.4 | 1833B | Regulator - 100 / 200A Open Delta – General Arrangement (sheet 1 of 3) | e.a. | 1
3.2.5 | 1834B | Regulator - 100 / 200A Closed Delta - General Arrangement (Sheet 1 of 2) | e.a. | 1
3.2.6 | 1841 | CT/VT Metering - Statistical – In-line arrangement | e.a. | 1
3.2.7 | 1842 | Line Arrestors 1.3m Long Steel X-arm Staggered Vertical Configuration | e.a. | 1
3.2.8 | 1843 | Line Arrestors 2.5m Long Wooden X-arm Vertical Configuration | e.a. | 1
3.2.9 | 1844 | Line Arrestors H-pole Configuration | e.a. | 1
3.2.10 | 1845 | Line Arrestors Delta Configuration | e.a. | 1
3.2.11 | 1846 | CT/VT Metering - Statistical – Out-of-line arrangement | e.a. | 1
3.2.12 | 1860 | Transformer - 5-100kVA Single Pole Mounted | e.a. | 1
3.2.13 | 1861 | TRANSFORMER - 100-200kVA / 2-POLE PLATFORM MOUNTED (H-POLE) GENERAL ARRANGEMENT | e.a. | 1
3.2.14 | 1862 | TRANSFORMER 300-500kVA - 5-POLE DOUBLE PLATFORM MOUNTED GENERAL ARRANGEMENT | e.a. | 1
3.2.15 | 1865 | Transformer - 100-200 kVA 2-Pole Platform Mounted (Out-of-Line) | e.a. | 1
3.2.16 | 1866 | Transformer - Out- of- Line 16kVA to 100kVA/64kVA | e.a. | 1
3.2.17 | 1867 | Transformer - Single pole mount 'back-to-back- 2 x 64kVA - General arrangement | e.a. | 1
3.2.18 | 1868 | Transformer - Extended double platform mount - >500kVA - General arrangement | e.a. | 1
3.2.19 | 58 | POLE,WOOD 7.0X100-120 TOP DIA | e.a. | 1
3.2.20 | 50 | POLE:140-159MM TOP DIA X LG 9 M;WOOD | e.a. | 1
3.2.21 | 50 | POLE,WOOD 10.0m x 160-179 | e.a. | 1
3.2.22 | 50 | POLE:180-199MM TOP DIA X LG 11M ;WOOD | e.a. | 1
3.2.23 | 51 | POLE:180-199MM TOP DIA X LG 12 M;WOOD | e.a. | 1
3.2.24 | 52 | POLE,WOOD 13.0 x 200-219 | e.a. | 1
3.2.25 | 52 | POLE,WOOD 14.0 x 200-219 | e.a. | 1
3.2.26 | 52 | POLE,WOOD 15.0 x 200-219 | e.a. | 1
3.2.27 | 341 | LV STAY ASSEMBLY (LV - 35kN) WOOD | e.a. | 1
(Sh 1 of 5)
3.2.28 | 341 | MV STAY ASSEMBLY (MV - 97kN) WOOD POLES | e.a. | 1
(Sh 2 of 5)
3.2.29 | 342 | MV STRUT ASSEMBLY SWIVEL BRACKET 11m, 12m AND 13m ,14,15 WOOD POLESL/MV Strut | e.a. | 1
(Sh 2 of 3)
3.2.30 | 342 | LV STRUT ASSEMBLY WOOD H - POLE FOR -11m , 12m and 13m,14,15 poles/LV Strut | e.a. | 1
(Sh 3 of 3)
3.2.31 | 1743 | 3 Phase - Delta / 2,5m Wood X-arm - Strain – 0° Deviation | e.a. | 1
3.2.32 | 1744 | 3 Phase - Delta /2,5m wood X-arms - strain - Medium(1° - 60°) deviation | e.a. | 1
3.2.33 | 1745 | 3 Phase - Delta /2 x 2,5m wood x-arms/ 3x2.5 wood x-arms - strain - (60° - 90°) deviation | e.a. | 1
3.2.34 | 1746 | 3 Phase - Delta / 2,5m Wood X-arm - Strain – Terminal | e.a. | 1
3.2.35 | 1785 | 3 Phase - Staggered Vertical (800mm spacing) 0° Deviation Concrete Poles | e.a. | 1
3.2.36 | 1786 | 3 Phase - Vertical (800mm spacing) Strain 0° Deviation 10kN Concrete Poles | e.a. | 1
3.2.37 | 1787 | 3 Phase - Vertical (800mm spacing) Strain 0-30° Deviation 10kN Concrete Poles | e.a. | 1
3.2.38 | 1788 | 3 Phase - Vertical (800mm spacing) Strain Large (30-60°) Deviation 10kN Concrete Poles | e.a. | 1
3.2.39 | 1789 | 3 Phase - Vertical (800mm spacing) Strain -Terminal (10kN Concrete Poles) | e.a. | 1
3.2.40 | 1790 | Heavy Conductor - 3 Phase Delta-3500mm Wooden X-arm Intermediate 0° Deviation | e.a. | 1
3.2.41 | 1793 | Heavy Conductor H-Pole Suspension Structure | e.a. | 1
3.2.42 | 1793 | Heavy Conductor H-Pole Suspension Structure- With Spark Gap Device | e.a. | 1
3.2.43 | 1794 | Heavy Conductor H-Pole Braced In-Line strain | e.a. | 1
3.2.44 | 1795 | Heavy Conductor H-Pole Braced Angle strain (1-60˚) | e.a. | 1
3.2.45 | 1796 | Heavy Conductor H-Pole Braced Terminal structure | e.a. | 1
3.2.46 | 1747 | 3 Phase - Delta / 2X2,5m Wood X-arm - Strain – 0° Deviation | e.a. | 1
3.2.47 | 1748 | 3 Phase - Delta /2x2,5m wood X-arms - strain - Medium(1° - 60°) deviation | e.a. | 1
3.2.48 | 1749 | 3 Phase - Delta / 2x2,5m Wood X-arm - Strain – Terminal | e.a. | 1
3.2.49 | 1870 | 3 Phase - T/frame / 2m steel x-arm - intermediate - 0˚ Deviation | e.a. | 1
3.2.50 | 1804 | 3 Phase Take-off - 2,5m Wooden X-arm | e.a. | 1
3.2.51 | 1805 | 3 Phase Take-off - 2 x 2,5m Wooden X-arm | e.a. | 1
3.2.52 | 1783 | 3 Phase - Trips- Strain – 0° Deviation | e.a. | 1
3.2.53 | 1873 | 3 Phase Take-off - 2 x 2,5m Wooden X-arm | e.a. | 1
MISCELLANEOUS |  | Allow for the following end items to be applied as per relevant instructions/bulletins/procedures and standards where not already allowed for in structure package. Note the cross arms below are applicable for existing structures only.
3.3.1 | 3175 | Damper, vibrat spiral 8.29-11.71 D3175 | e.a. | 1
3.3.2 | 3175 | Damper, vibrat spiral 11.72-14.30 D3175/Anti Climbing Device | e.a. | 1
3.3.3 | 3073 | Joint, M/Span Mink/Pine I/C D3073 | e.a. | 1
3.3.4 | 3073 | Joint, M/Span Hare/Oak I/C D3073 | e.a. | 1
3.3.5 | 3073 | Joint, M/Span Fox /35 I/C D3073 | e.a. | 1
3.3.6 | 3228 | Joint, Full Ten Auto Hare/Oak D3228 | e.a. | 1
3.3.7 | 3228 | Joint, Full Ten Auto Mink/Pine D3228 | e.a. | 1
3.3.8 | 61 | X/ARM,WOOD:160-179 22MM HOLES;LG 2.5 M PREDRILLED | e.a. | 1
3.3.9 | 64 | XARM,WOOD 3.5x160-179 TOP DIA | e.a. | 1
3.3.10 | 64 | XARM,WOOD 4.5x160-179 TOP DIA | e.a. | 1
3.3.11 | 3071 | XARM,STEEL STRAIN FOX 100x65x1700 LG | e.a. | 1
3.3.12 | 3072 | XARM,STEEL STRN MINK+HAR125x75x1700LG | e.a. | 1
3.3.13 | 3049 | Aluminium pole tag 25x150mm with pole number | e.a. | 1
3.3.14 |  | Pegging of MV Poles/Equipment Labels | e.a. | 1
Total 3

## MV_Underground
Bill No:4 |  | MV UNDERGROUND SYSTEM
No | D-DT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
MV CABLE |  | Supply and Install underground medium voltage cables. Material quantity to allow for 5% slack in addition to actual conductor length quantity. Installation includes handling, preparation including cable bedding and blanket, cable sleeves and concrete work.
4.1.1 | 3136 | 50 mm² x 3 Core 11 kV PILCDSTA cable for non-earthed system (SANS 97) | m | 1
4.1.2 | 3136 | 70 mm² x 3 Core 11 kV PILCDSTA cable for non-earthed system (SANS 97) | m | 1
4.1.3 | 3136 | 95 mm² x 3 Core 11 kV PILCDSTA cable for non-earthed system (SANS 97) | m | 1
4.1.4 | 3136 | 150 mm² x 3 Core 11 kV PILCDSTA cable for non-earthed system (SANS 97) | m | 1
4.1.5 | 3136 | 185 mm² x 3 Core 11 kV PILCDSTA cable for non-earthed system (SANS 97) | m | 1
4.1.6 |  | 50 mm² x 3 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | 1
4.1.7 |  | 70 mm² x 3 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | 1
4.1.8 |  | 95 mm² x 3 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | 1
4.1.9 |  | 150 mm² x 3 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | 1
4.1.10 |  | 185 mm² x 3 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | 1
4.1.11 |  | 95 mm² x 1 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) |  | 1
4.1.12 |  | 150 mm² x 1 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) |  | 1
4.1.13 |  | 185 mm² x 1 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) |  | 1
4.1.14 |  | 300 mm² x 1 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) |  | 1
MV STRUCTURES |  | Supply and install MV Cable installation accessories including shear-off lugs and ferrules. Allow for Cable testing including Pressure test and phasing.
4.2.1 | 8006 | 11kV 3 Core XLPE Indoor Cable Termination Kit 16 - 35 mm | e.a. | 1
4.2.2 | 8006 | 11kV 3 Core XLPE Indoor Cable Termination Kit 50 - 120 mm | e.a. | 1
4.2.3 | 8006 | 11kV 3 Core XLPE Indoor Cable Termination Kit 95 - 185 mm | e.a. | 1
4.2.4 | 8006 | 11kV 3 Core XLPE Outdoor Cable Termination Kit 16 - 35 mm | e.a. | 1
4.2.5 | 8006 | 11kV 3 Core XLPE Outdoor Cable Termination Kit 50 - 120 mm | e.a. | 1
4.2.6 | 8006 | 11kV 3 Core XLPE Outdoor Cable Termination Kit 95 - 185 mm | e.a. | 1
4.2.7 | 8005 | 11kV 3 Core PILC Indoor Cable Termination Kit 16 - 35 mm | e.a. | 1
4.2.8 | 8005 | 11kV 3 Core PILC Indoor Cable Termination Kit 50 - 120 mm | e.a. | 1
4.2.9 | 8005 | 11kV 3 Core PILC Indoor Cable Termination Kit 95 - 185 mm | e.a. | 1
4.2.10 | 8005 | 11kV 3 Core PILC Outdoor Cable Termination Kit 16 - 35 mm | e.a. | 1
4.2.11 | 8005 | 11kV 3 Core PILC Outdoor Cable Termination Kit 50 - 120 mm | e.a. | 1
4.2.12 | 8005 | 11kV 3 Core PILC Outdoor Cable Termination Kit 95 - 185 mm | e.a. | 1
4.2.13 | 8008 | 11kV 3 Core XLPE Cable Joint Kit 16 - 35 mm | e.a. | 2
4.2.14 | 8008 | 11kV 3 Core XLPE Cable Joint Kit 50 - 120 mm | e.a. | 2
4.2.15 | 8008 | 11kV 3 Core XLPE Cable Joint Kit 95 - 185 mm | e.a. | 2
4.2.16 | 8008 | 11kV 3 Core XLPE Cable Joint Kit 185 - 300 mm | e.a. | 2
4.2.17 | 8007 | 11kV 3 Core PILC Cable Joint Kit 16 - 35 mm | e.a. | 2
4.2.18 | 8007 | 11kV 3 Core PILC Cable Joint Kit 50 - 120 mm | e.a. | 2
4.2.19 | 8007 | 11kV 3 Core PILC Cable Joint Kit 95 - 185 mm | e.a. | 2
4.2.20 | 8007 | 11kV 3 Core PILC Cable Joint Kit 185 - 300 mm | e.a. | 2
4.2.21 | 8016 | unscreened 11kV Separable Connectors - Set of 3 with Bolts & Nuts | e.a. | 1
4.2.22 | 8017 | screened 11kV Seperable Connectors - Set of 3 withBolts & Nuts | e.a. | 1
4.2.23 | 8017 | 11kV 3 Core XLPE Cable Joint Trifurcating Kit 50 - 120 mm | e.a. | 2
4.2.24 | 8017 | 11kV 3 Core XLPE Cable Joint Trifurcating Kit 95 - 185 mm | e.a. | 2
4.2.25 | 8017 | 11kV 3 Core XLPE Cable Joint Trifurcating Kit 185 - 300 mm | e.a. | 2
4.2.26 | 8017 | 11kV 3 Core PILC Cable Joint Trifurcating Kit 50 - 120 mm | e.a. | 2
4.2.27 | 8017 | 11kV 3 Core PILC Cable Joint Trifurcating Kit 95 - 185 mm | e.a. | 2
4.2.28 | 8017 | 11kV 3 Core PILC Cable Joint Trifurcating Kit 185 - 300 mm | e.a. | 2
4.2.29 | 8021 | 11kV 3 Core PILC to XLPE transition cable joints 50 - 95 mm | e.a. | 2
4.2.30 | 8021 | 11kV 3 Core PILC to XLPE transition cable joints 120 -185 mm | e.a. | 2
Total 4

## MV_Equipment
Bill No:5 |  | MV EQUIPMENT AND SWITCHGEAR
No | D-DT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
MV EQUIPMENT |  | Supply and Install MV Cable network equipment including excavations, compacting, pre-cast plinths, Vermon proofing, Stencilling and Equipment labelling using Chromadek and Aluminium material.
5.1.1 | 8050 | Miniature substation 11kV/420V 200kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Vertical Fuse Holders and LV Metering arrangement | e.a. | 1
5.1.2 | 8050 | Miniature substation 11kV/420V 200kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Large Frame MCCB's and LV Metering arrangement | e.a. | 1
5.1.3 | 8050 | Miniature substation 11kV/420V 315kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Vertical Fuse Holders and LV Metering arrangement | e.a. | 1
5.1.4 | 8050 | Miniature substation 11kV/420V 315kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Large Frame MCCB's and LV Metering arrangement | e.a. | 1
5.1.5 | 8050 | Miniature substation 11kV/420V 500kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Vertical Fuse Holders and LV Metering arrangement | e.a. | 1
5.1.6 | 8050 | Miniature substation 11kV/420V 500kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Large Frame MCCB's and LV Metering arrangement | e.a. | 1
5.1.7 | 8050 | Miniature substation 11kV/420V 1000kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Vertical Fuse Holders and LV Metering arrangement | e.a. | 1
5.1.8 | 8050 | Miniature substation 11kV/420V 1000kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Large Frame MCCB's and LV Metering arrangement | e.a. | 1
5.1.9 | SANS 1874 | 11kV Free Standing Metal enclosed, Non-extensible, Outdoor and Inland 630A Vacuum insulated Ring Main Unit Configured 2SD-2CB with Metering unit |  | 1
5.1.10 | SANS 1874 | 11kV Free Standing Metal enclosed, Non-extensible, Outdoor and Inland 630A Vacuum insulated Ring Main Unit Configured 2SD-CB with Metering unit |  | 1
5.1.11 | SANS 60044 | 11kV Ground Mounted Outdoor and Inland Oil filled CT VT Class 0.2 Metering unit |  | 1
5.1.12 | 1832 | Single Pole-mounted Capacitor Bank | e.a. | 1
5.1.13 | 1833B | Regulator - 100 / 200A Open Delta – General Arrangement (sheet 1 of 3) | e.a. | 1
5.1.14 | 1834B | Regulator - 100 / 200A Closed Delta - General Arrangement (Sheet 1 of 2) | e.a. | 1
5.1.15 | 1841 | CT/VT Metering - Statistical – In-line arrangement | e.a. | 1
5.1.16 | 1842 | Line Arrestors 1.3m Long Steel X-arm Staggered Vertical Configuration | e.a. | 1
5.1.17 | 1843 | Line Arrestors 2.5m Long Wooden X-arm Vertical Configuration | e.a. | 1
5.1.18 | 1844 | Line Arrestors H-pole Configuration | e.a. | 1
5.1.19 | 1845 | Line Arrestors Delta Configuration | e.a. | 1
5.1.20 | 1846 | Pole top CT/VT Metering - Statistical – Out-of-line arrangement | e.a. | 1
5.1.21 | 1860 | Transformer - 5-100kVA Single Pole Mounted | e.a. | 1
5.1.22 | 1861 | TRANSFORMER - 100-200kVA / 2-POLE PLATFORM MOUNTED (H-POLE) GENERAL ARRANGEMENT | e.a. | 1
5.1.23 | 1862 | TRANSFORMER 300-500kVA - 5-POLE DOUBLE PLATFORM MOUNTED GENERAL ARRANGEMENT | e.a. | 1
5.1.24 | 1865 | Transformer - 100-200 kVA 2-Pole Platform Mounted (Out-of-Line) | e.a. | 1
5.1.25 | 1866 | Transformer - Out- of- Line 16kVA to 100kVA/64kVA | e.a. | 1
5.1.26 | 1867 | Transformer - Single pole mount 'back-to-back- 2 x 64kVA - General arrangement | e.a. | 1
5.1.27 | 1868 | Transformer - Extended double platform mount - >500kVA - General arrangement | e.a. | 1
MV ISOLATORS |  | Supply and install MV isolators according to Eskom DDT 1800 series where applicable. Accessories to include: solid inserts, expulsion type fuses, jumper terminations, mounting hardware. Disconnectors to be supplied with suitable labels. Phase-phase isolators to only have one covered jumper. The jumper support insulator is excluded and if required it may be selected as miscellaneous item. Cross-arms are included.
5.2.1 | 1848 | Section Links - Cut-outs - 2,5m Wood X-arm / Single Pole (three phase) / Link Assemble | set | 1
5.2.2 | 1852 | By-pass Links - Cut-outs - 3,5m / 4,5m Wood X-arm / H-pole | set | 1
5.2.3 | 1853 | Equipment Isolating (in-out) Links - Cut-outs - 2 x 2,5m Wood X-arm / H-pole | set | 1
5.2.4 | 1857 | Section / By-pass switch - Tri-switch – Single pole | set | 1
5.2.5 | 1858 | Section / By-pass switch - Tri-switch - H-pole 1800 spacing | set | 1
MV / LV EARTHING |  | Supply and Install equipment earthing as per relevant Eskom DDT 1800 series, DDT0600 and DDT0200 series assembly drawing and OU specific SI Engineering instructions. All auxiliary equipment such as earth electrodes, earth connectors and conductor to be included. All excavations are measured elsewhere.
5.3.1 | 627 | Conventional Transformer MV Earth | e.a. | 1
5.3.2 | 627 | Conventional Transformer LV Earth | e.a. | 1
5.3.3 | 1825 | Recloser MV Earth (2-WT-1275) | e.a. | 1
1829
5.3.4 | 1830 | Open Delta Voltage Regulator MV Earth | e.a. | 1
1833
5.3.5 | 1831 | Closed Delta Voltage Regulator MV Earth | e.a. | 1
1834
5.3.6 | 1841 | MV CT VT Statistical Metering | e.a. | 1
1846
5.3.7 | 1821 | Sectionalizer MV Earth | e.a. | 1
1828
MV TESTING |  | Allowance shall be made for the complete testing and commissioning of Medium Voltage equipment. Tests to include earth electrode resistance measurement. Transformer to include a LV earth electrode resistance measurement.
|  | Soil Resistivity Tests for Equipment to be performed as appropriate and must be according to Eskom Standard, as per Supplier's Invoice+10% Handling Fee. | e.a. | 1
5.4.1 |  | MV Earth Electrode Test | e.a. | 1
5.4.2 |  | LV Earth Electrode Test | e.a. | 1
Total 5

## LV_Overhead
Bill No:6 |  | LV Overhead SYSTEM
No | D-DT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
LV CONDUCTOR |  | Supply and Install LV Conductor and Material quantity to allow for 5% Sag in addition to actual conductor length quantity. Installation includes handling, stringing and final sagging.
6.1 |  | A. Stringing
6.1.1 | 3141 | COND,Aerial Bundle 2C XLPE 35SQ NEUT | m | 1
6.1.2 | 3141 | COND,Aerial Bundle 3C XLPE 35SQ NEUT | m | 1
6.1.3 | 3141 | COND,Aerial Bundle 4C XLPE 35SQ NEUT | m | 1
6.1.4 | 3141 | COND,Aerial Bundle 2C XLPE 70SQ NEUT | m | 1
6.1.5 | 3141 | COND,Aerial Bundle 3C XLPE 70SQ NEUT | m | 1
6.1.6 | 3141 | COND,Aerial Bundle 4C XLPE 70SQ NEUT | m | 1
LV STRUCTURES |  | Supply and erect LV support structures as per Eskom DDT 1100 (only use insulated neutral ABC). Auxiliary equipment such as strain clamps, suspension clamps, cable ties, IPC's , end caps, LV shackle insulators, binding wires, D brackets, dead end preforms, threaded rods, pigtail bolts, eyenuts, terminations to be included. Pole, stay and strut material and excavations are measured elsewhere.
6.2. |  | C. List of Three-phase ABC wood pole
6.2.1 | 1100 | LV 3 phase insulated/bare neutral ABC Suspension Assembly (0° - 30°) | e.a. | 1
6.2.2 | 1120 | LV 3 phase insulated/bare neutral LABC Terminal Assembly | e.a. | 1
6.2.3 | 1121 | LV 3 phase insulated/bare neutral ABC Strain Assembly (0° - 60°) | e.a. | 1
6.2.4 | 1122 | LV 3 phase insulated/bare neutral ABC Strain Assembly (60° - 90°) | e.a. | 1
6.2.5 | 1140 | LV 3 phase insulated/bare neutral ABC T from Intermediate | e.a. | 1
6.2.6 | 1141 | LV 3 phase insulated/bare neutral ABC Intermediate Suspension Assembly | e.a. | 1
6.2.7 | 1142 | LV 3 phase insulated/bare neutral ABC T from Strain | e.a. | 1
6.2.8 | 1143 | LV 3 phase insulated/bare neutral ABC X Intermediate-Strain Assembly | e.a. | 1
LOW VOLTAGE FUSE UNITS |  | Supply and install LV fuse units as per Eskom 0300 series assembly drawings. Accessories inclusive of fuse bracket and mounting hardware, fuse holders and appropriate labels. The LV NH00 fuse rating shall be as per the design.
6.3.
6.3.1 | 309 | Three phase trf and LV fuse holder connection - ABC conductor- 63A NH00 | Set | 1
6.3.2 | 309 | Three phase trf and LV fuse holder connection - ABC conductor- 80A NH00 | Set | 1
6.3.3 | 309 | Three phase trf and LV fuse holder connection - ABC conductor- 125A NH00 | Set | 1
6.3.4 | 309 | Three phase trf and LV fuse holder connection - ABC conductor- 160A NH00 | Set | 1
6.3.5 | 309 | Dual phase trf and LV fuse holder connection - ABC conductor- 63A NH00 | Set | 1
6.3.6 | 309 | Dual phase trf and LV fuse holder connection - ABC conductor- 80A NH00 | Set | 1
6.3.7 | 309 | Dual phase trf and LV fuse holder connection - ABC conductor- 125A NH00 | Set | 1
6.3.8 | 309 | Dual phase trf and LV fuse holder connection - ABC conductor- 160A NH00 | Set | 1
6.3.9 | 309 | Single phase trf and LV fuse holder connection - ABC conductor- 63A NH00 | Set | 1
6.3.10 | 309 | Single phase trf and LV fuse holder connection - ABC conductor- 80A NH00 | Set | 1
6.3.11 | 309 | Single phase trf and LV fuse holder connection - ABC conductor- 125A NH00 | Set | 1
6.3.12 | 309 | Single phase trf and LV fuse holder connection - ABC conductor- 160A NH00 | Set
Conventional and Split Meter LV POLE MOUNTED SERVICE BOXES |  | Install on a wooden and/or concrete pole a pole mounted distribution box as specified complete with pole mounting brackets (including sealing), cable ties, PG clamps, miniature circuit breaker(s), neutral, phase and earth bars, insulated copper tails for connecting to LV ABC, insulation piercing connectors and factory installed cable openings. Included shall be the stainless steel strapping, buckles and terminations of the tails onto the LV ABC. Eskom D-DT standards as amended will apply.
6.4.
6.4.1 | 3055 | BOX,POLE TOP SPLIT METER 2-WAY 50A D3055 | e.a. | 1
6.4.2 | 3055 | BOX,POLE TOP SPLIT METER 4-WAY 50A D3055 | e.a. | 1
6.4.3 | 3055 | BOX,POLE TOP SPLIT METER 2-WAY 120A D3055 | e.a. | 1
6.4.4 | 3055 | BOX,POLE TOP SPLIT METER 8-WAY 50A D3055 | e.a. | 1
LV TESTING |  | Allowance shall be made for the testing of e.a.ch LV distributor on accordance with the project specification. Included shall be the provision of test certificates and all documentation as required.
6.5.
6.5.1 |  | LV Test. | e.a. | 1
MISCELLANEOUS |  | Allow for the following end items to be applied as per relevant Eskom
Instructions/Bulletins/Procedures and Standards where not already allowed for in Structure Package
6.6.
6.6.1 |  | POLE TOP BOX PHASING LABELS | e.a. | 1
6.6.2 | 3049 | ALUMINIUM POLE TAG 25x150MM WITH POLE NUMBER | e.a. | 1
6.6.3 |  | PEGGING OF LV POLES | e.a. | 1
Total 6

## HH_Connections
Bill No:7 |  | HOUSE SERVICE CONNECTIONS
No | D-DT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
DIRECT & INDIRECT CONNECTIONS |  | Supply and install House Connections (Type A & Type B). Accessories include house labels, pigtail bolts, strain clamps, cable saddles, passive base/ready board mounting hardware, threaded rods. Meters, Customer interface units, ready boards, service cable, poles and excavations are measured elsewhere.
7.1.1 | 360 | LV service connection direct to dwelling (from the pole top box to the pre-paid meter) (Type A) to brick dwelling | e.a. | 1
7.1.2 | 361 | LV service connection with service pole (from the pole top box to the pre-paid meter) (Type B) to tin/mud dwelling | e.a. | 1
7.1.3 | 366 | Service suspension assembly | e.a. | 1
7.1.4 | 384 | Service strain assembly | e.a. | 1
SERVICE CABLE, METERS & BASES |  | Supply and Install Customer Interface units, ECU's, ready boards, passive base units. Accessories include mounting hardware. Allow for suitable sealing and testing of meters for COC and OHS Act. Conductor Material quantity to allow for 5% sag in addition to actual conductor length quantity. Installation includes handling, stringing and final sagging
7.2.1 | 3145 | METER, SPLIT DIN RAIL 60A PLC (Landis & Gyr E460P or similar) | e.a. | 1
7.2.2 | 3145 | CUSTOMER INTERFACE UNIT(CIU) L&G PLC | e.a. | 1
7.2.3 | 3145 | METER, SPLIT DIN RAIL 20A PLC | e.a. | 1
7.2.4 | 3176 | READYBOARD,SPLIT METER 2x16A SKTS D3176 | e.a. | 1
7.2.1 | 3141 | CABLE 1kV 2C 6SQ TINNED CU STEEL CONC COMM D3141 | m | 1
CUSTOMER DATA COLLECTION |  | Capturing and handing over of customer data and updated PCS file
7.3.1 |  | Customer data capturing of coordinates, customer application form and safety form and to be presented to the Project Manager in the required PCS file format. | e.a. | 1
Total 7