## Bill 1
Bill No: 1 | EXCAVATIONS, TRENCHING, CABLE LAYING, POLE PLANTING AND STRUCTURES |  | Labour Only Material is quoted elsewhere
No | DESCRIPTION | UNIT | QTY | RATE (excl VAT) | RATE (incl VAT)
1.1 | Excavation, backfilling & compacting of Holes Poles, Stays, Struts and Flying Stays and Earth Electrodes per depth in meter
1.1.1 | by Hand | m | Rates Only
1.1.2 | by Rock drilling | m | Rates Only
1.1.3 | by Mechanical Hammer | m | Rates Only
1.1.4 | by Auger | m | Rates Only
1.1.5 | by Tractor Loader Backhoe (TLB) | m | Rates Only
1.1.6 | Supply of imported soil (Class 1) | m³ | Rates Only
1.2 | Excavation, backfilling & compacting of Trenches for Cables, and Plinths
1.2.1 | by Hand | m³ | Rates Only
1.2.2 | by Tractor Loader Backhoe (TLB) | m³ | Rates Only
1.2.3 | by Horizontal directional drilling, including access pits | m³ | Rates Only
1.3 | Cable Laying and Equipment Foundations
1.3.1 | Installation of the sleeve pipe | m | Rates Only
1.3.2 | Lay Cable Bedding | m | Rates Only
1.3.3 | Lay Cable in ground | m | Rates Only
1.3.4 | Erecting plinths | m³ | Rates Only
1.3.5 | Laying Precast Plinth | ea | Rates Only
1.3.6 | Perform Cable Termination on 11kV 3 Core XLPE Indoor (16 - 35 mm) | ea | Rates Only
1.3.7 | Perform Cable Termination on 11kV 3 Core XLPE Indoor (50 - 120 mm) | ea | Rates Only
1.3.8 | Perform Cable Termination on 11kV 3 Core XLPE Indoor (95 - 185 mm) | ea | Rates Only
1.3.9 | Perform Cable Termination on 11kV 3 Core XLPE Outdoor (16 - 35 mm) | ea | Rates Only
1.3.10 | Perform Cable Termination on 11kV 3 Core XLPE Outdoor (50 - 120 mm) | ea | Rates Only
1.3.11 | Perform Cable Termination on 11kV 3 Core XLPE Outdoor (95 - 185 mm) | ea | Rates Only
1.3.12 | Perform Cable Termination on 11kV 3 Core PILC Indoor (16 - 35 mm) | ea | Rates Only
1.3.13 | Perform Cable Termination on 11kV 3 Core PILC Indoor (50 - 120 mm) | ea | Rates Only
1.3.14 | Perform Cable Termination on 11kV 3 Core PILC Indoor (95 - 185 mm) | ea | Rates Only
1.3.15 | Perform Cable Termination on 11kV 3 Core PILC Outdoor (16 - 35 mm) | ea | Rates Only
1.3.16 | Perform Cable Termination on 11kV 3 Core PILC Outdoor (50 - 120 mm) | ea | Rates Only
1.3.17 | Perform Cable Termination on 11kV 3 Core PILC Outdoor (95 - 185 mm) | ea | Rates Only
1.3.18 | Perfom Cable Joint on 11kV 3 Core XLPE (16 - 35 mm) | ea | Rates Only
1.3.19 | Perfom Cable Joint on 11kV 3 Core XLPE (50 - 120 mm) | ea | Rates Only
1.3.20 | Perfom Cable Joint on 11kV 3 Core XLPE (95 - 185 mm) | ea | Rates Only
1.3.21 | Perfom Cable Joint on 11kV 3 Core XLPE (185 - 300 mm) | ea | Rates Only
1.3.22 | Perfom Cable Joint on 11kV 3 Core PILC (16 - 35 mm) | ea | Rates Only
1.3.23 | Perfom Cable Joint on 11kV 3 Core PILC (50 - 120 mm) | ea | Rates Only
1.3.24 | Perfom Cable Joint on 11kV 3 Core PILC (95 - 185 mm) | ea | Rates Only
1.3.25 | Perform Trifurcating Cable Joint on 11kV 3 Core PILC (50 - 120 mm) | ea | Rates Only
1.3.26 | Perform Trifurcating Cable Joint on 11kV 3 Core PILC (95 - 185 mm) | ea | Rates Only
1.3.27 | Perform Trifurcating Cable Joint on 11kV 3 Core PILC (185 - 300 mm) | ea | Rates Only
1.3.28 | Perform Transition Cable Joint on 11kV 3 Core PILC to XLPE 50 - 95 mm | ea | Rates Only
1.3.29 | Perform Transition Cable Joint on 11kV 3 Core PILC to XLPE 120 -185 mm | ea | Rates Only
1.4 | Cable Tracing, Fault Location, identification, and testing
1.4.1 | Cable Fault finding | m | Rates Only
1.4.2 | Cable Tracing | m | Rates Only
1.4.3 | Cable Identification | ea | Rates Only
1.4.4 | Cable Insulation and pressure testing | ea | Rates Only
1.4.5 | Cable phasing | ea | Rates Only
1.5 | Wood Pole planting By hand/Crane including Stays, Flying Stays and Struts assemblies
1.5.1 | POLE,WOOD 5.0 X 80-100 TOP DIA | ea | Rates Only
1.5.2 | POLE,WOOD 7.0X100-120 TOP DIA | ea | Rates Only
1.5.3 | POLE,WOOD 7.0X120-139 TOP DIA | ea | Rates Only
1.5.4 | POLE:140-159MM TOP DIA X LG 11M ;WOOD | ea | Rates Only
1.5.5 | POLE:180-199MM TOP DIA X LG 11M ;WOOD | ea | Rates Only
1.5.6 | POLE:160-179MM TOP DIA LG 12 M;WOOD | ea | Rates Only
1.5.7 | POLE:200-219MM TOP DIA X LG 12 M;WOOD | ea | Rates Only
1.5.8 | POLE,WOOD 14.0 x 180-199 | ea | Rates Only
1.5.9 | POLE,WOOD 14.0 x 200-219 | ea | Rates Only
1.5.10 | LV STAY ASSEMBLY (LV - 35kN) WOOD | ea | Rates Only
1.5.11 | MV STAY ASSEMBLY (MV - 97kN) WOOD POLES | ea | Rates Only
1.5.12 | MV STRUT ASSEMBLY SWIVEL BRACKET 11m, 12m AND 13m ,14,15 WOOD POLESL/MV Strut | ea | Rates Only
1.5.13 | LV STRUT ASSEMBLY WOOD H - POLE FOR -11m , 12m and 13m,14,15 poles/LV Strut | ea | Rates Only
1.6 | Erect MV support structures including Auxiliary equipment such as bonding, BIL downwire, jumpers, jumper terminations, pole and X-Arm mounting and mounting hardware, conductor attachment hardware and insulators excluding escavations, backfillimg, compacting for poles or struts
1.6.1 | 3 Phase - Delta / 2,5m Wood X-arm - Strain – 0° Deviation | ea | Rates Only
1.6.2 | 3 Phase - Delta / 2,5m wood X-arms - strain - Medium(1° - 60°) deviation | ea | Rates Only
1.6.3 | 3 Phase - Delta / 2 x 2,5m wood X-arms (60° - 90°) deviation | ea | Rates Only
1.6.4 | 3 Phase - Delta / 3x2.5 wood X-arms - strain - (60° - 90°) deviation | ea | Rates Only
1.6.5 | 3 Phase - Delta / 2,5m Wood X-arm - Strain – Terminal | ea | Rates Only
1.6.6 | 3 Phase - Staggered Vertical (800mm spacing) 0° Deviation Wooden Poles | ea | Rates Only
1.6.7 | 3 Phase - Staggered Vertical (800mm spacing) 0° Deviation Rx Wooden Poles Rx | ea | Rates Only
1.6.8 | 3 Phase - Vertical (800mm spacing) Strain 0° Deviation 10kN Wooden Poles | ea | Rates Only
1.6.9 | 3 Phase - Vertical (800mm spacing) Strain 0° Deviation 10kN Wooden Poles Rx | ea | Rates Only
1.6.10 | 3 Phase - Vertical (800mm spacing) Strain 0-30° Deviation 10kN WoodenPoles | ea | Rates Only
1.6.11 | 3 Phase - Vertical (800mm spacing) Strain 0-30° Deviation 10kN Wooden Poles Rx | ea | Rates Only
1.6.12 | 3 Phase - Vertical (800mm spacing) Strain Large (30-60°) Deviation 10kN Wooden Poles | ea | Rates Only
1.6.13 | 3 Phase - Vertical (800mm spacing) Strain Large (30-60°) Deviation 10kN Wooden Poles Rx | ea | Rates Only
1.6.14 | 3 Phase - Vertical (800mm spacing) Strain -Terminal (10kN Wooden Poles) | ea | Rates Only
1.6.15 | 3 Phase - Vertical (800mm spacing) Strain -Terminal (10kN Wooden Poles) Rx | ea | Rates Only
1.6.16 | He.a.vy Conductor - 3 Phase Delta-3500mm Wooden X-arm Intermediate 0° Deviation | ea | Rates Only
1.6.17 | 3 Phase Take-off - 2,5m Wooden X-arm | ea | Rates Only
1.6.18 | 3 Phase Take-off - 2 x 2,5m Wooden X-arm | ea | Rates Only
1.6.19 | 3 Phase - Trips- Strain – 0° Deviation | ea | Rates Only
1.6.20 | 3 Phase Take-off - 2 x 2,5m Wooden X-arm | ea | Rates Only
1.6.21 | Sectionalizer Structure - In-line arrangement | ea | Rates Only
1.6.22 | Sectionalizer Structure - Out-of-line arrangement | ea | Rates Only
1.6.23 | Section Links - Cut-outs - 2,5m Wood X-arm / Single Pole (three phase)/Link Assemble | set | Rates Only
1.6.24 | By-pass Links - Cut-outs - 3,5m / 4,5m Wood X-arm / H-pole | set | Rates Only
1.6.25 | Equipment Isolating (in-out) Links - Cut-outs - 2 x 2,5m Wood X-arm / H-pole | set | Rates Only
1.6.26 | Section / By-pass switch - Tri-switch – Single pole | set | Rates Only
1.6.27 | Section / By-pass switch - Tri-switch - H-pole 1800 spacing | set | Rates Only
1.7 | Install MV Conductor including handling, stringing and final sagging of the following:
1.7.1 | MV Bare ACSR Fox | m | Rates Only
1.7.2 | MV Bare ACSR Mink | m | Rates Only
1.7.3 | MV Bare ACSR Hare | m | Rates Only
Note: | Bidders are not allowed to change anything on the BOQ. Only input your rates on columns E & F.

## Bill 2
Bill No: 2 | MV EQUIPMENT AND SWITCHGEAR |  | Labour Only Material is quoted elsewhere
No | DESCRIPTION | UNIT | QTY | RATE (excl VAT) | RATE (incl VAT)
2.1 | Equipment Installation including MV/LV Surge Arrestors, Control Boxes, Metering Kiosks, Jumper Terminations, Anti Climbing Devices , LDPE Pipe Covered Jumpers and Danger Labels, Channel Irons, Cradles, Standoff Insulators, Conductor Busbars and suitable Equipment Labels
2.1.1 | Miniature substation 11kV/420V 200 - 500kVA suitable for inland application and fitted with Ring Main Unit and an LV Panel suitable for Vertical Fuse Holders and LV Metering arrangement | ea | Rates Only
2.1.2 | Miniature substation 11kV/420V 200 - 500kVA suitable for inland application and fitted with Ring Main Unit and LV Panel suitable for Large Frame MCCB's and LV Metering arrangement | ea | Rates Only
2.1.3 | Miniature substation 11kV/420V 200 - 500kVA testing and commissioning | m | Rates Only
2.1.4 | Recloser Structure -In-line arrangement | ea | Rates Only
2.1.5 | Recloser Structure -Out-of-line arrangement (By-pass structure not included) | ea | Rates Only
2.1.6 | Recloser structure – General arrangement (INCLUDING PMRTV) (sheet 1 of 2) (Bypass structure not included) | ea | Rates Only
2.1.7 | Recloser structure – General arrangement (INCLUDING PMRTV) (sheet 1 of 4) this is excluding the main line structures me.a.sured elsewhere | ea | Rates Only
2.1.8 | Transformer - 5-100kVA Single Pole Mounted | ea | Rates Only
2.1.9 | Transformer - 100-200 kVA 2-Pole Platform Mounted (In-Line)/LV Protection | ea | Rates Only
2.1.10 | 11kV Free Standing Metal enclosed, Non-extensible, Outdoor and Inland 630A Vacuum insulated Ring Main Unit Configured 2SD-2CB with Metering unit | ea | Rates Only
2.1.11 | 11kV Free Standing Metal enclosed, Non-extensible, Outdoor and Inland 630A Vacuum insulated Ring Main Unit Configured 2SD-CB with Metering unit | ea | Rates Only
2.1.12 | 11kV Ground Mounted Outdoor and Inland Oil filled CT VT Class 0.2 Metering unit | ea | Rates Only
2.1.13 | 11kV Indoor Swtchgear Circuit Breaker Panel Installation | ea | Rates Only
2.1.14 | Protection panel complete with module, relay and wiring | ea | Rates Only
2.1.15 | Metering panel complete with module, meter and wiring | ea | Rates Only
2.1.16 | Protection Configuration settings | ea | Rates Only
2.1.17 | AC/DC Module Panel Installation | ea | Rates Only
2.1.18 | Battery Charger Installation | ea | Rates Only
2.1.19 | Battery Bank Installation | ea | Rates Only
2.1.20 | 11kV Indoor Swtchgear Circuit Breaker Panel decommisiioning and Dismantling | ea | Rates Only
2.1.21 | 6.6 - 33kV Hand Operated Substation Isolator | ea | Rates Only
2.1.22 | 6.6 - 33kV Hand Operated Substation Isolator Surge Arrestor | ea | Rates Only
2.1.23 | 6.6 - 33kV Hand Operated Combo Circuit Breaker | ea | Rates Only
2.1.24 | 6.6 - 33kV Hand Operated Substation Voltage Transformer | ea | Rates Only
2.1.25 | 6.6 - 33kV Hand Operated Substation Transformer Surge Arrestor | ea | Rates Only
2.1.26 | Power Transformer 5 - 20MVA Installation | ea | Rates Only
2.1.27 | Power Transformer 5 - 20MVA Tap-Changer retrofit | ea | Rates Only
2.1.28 | Neutral Earthing Equipment Installation | ea | Rates Only
2.1.29 | Special Works required not covered in the bill | lot | N/A | Quotation to be approved by Manager prior to any work done on a case by case
2.2 | Equipment servicing, repair and maintenance
2.2.1 | Miniature substation 11kV/420V 200 - 500kVA inspections and fault finding | ea | Rates Only
2.2.2 | Pole-top transformer 5 - 200kVA inspections and fault finding | ea | Rates Only
2.2.3 | 11kV/420V Miniature substation transformer replacement | ea | Rates Only
2.2.4 | 11kV/420V Miniature substation 11kV switchgear replacement | ea | Rates Only
2.2.5 | 11kV/420V Miniature substation 11kV LV Circuit Breaker replacement | ea | Rates Only
2.2.6 | 11kV/420V Miniature substation 11kV Busbar replacement | ea | Rates Only
2.2.7 | 11kV/420V Miniature substation 11kV Door Panel replacement | ea | Rates Only
2.2.8 | 11kV/420V Miniature substation 11kV Door replacement | ea | Rates Only
2.2.9 | 11kV Pole-mount Recloser Service | ea | Rates Only
2.2.10 | 11kV Pole-mount Transformer - 50 - 200kVA service including regasketing and refilling of oil | ea | Rates Only
2.2.11 | 11kV Indoor Swtchgear Circuit Breaker Panel Service | ea | Rates Only
2.2.12 | Battery Charger Test | ea | Rates Only
2.2.13 | Battery Checks, cleaning and refilling | ea | Rates Only
2.2.14 | 6.6 - 33kV Hand Operated Substation Isolator Maintenance | ea | Rates Only
2.2.15 | 6.6 - 33kV Hand Operated Combo Circuit Breaker Maintenance | ea | Rates Only
2.2.16 | 6.6 - 33kV Hand Operated Substation Voltage Transformer Checks, cleaning and refilling | ea | Rates Only
2.2.17 | Power Transformer 5 - 20MVA Maintenance | ea | Rates Only
2.2.18 | Power Transformer 5 - 20MVA Tap-Changer Maintenance | ea | Rates Only
2.2.19 | Neutral Earthing Equipment Maintenance | ea | Rates Only
Note: | Bidders are not allowed to change anything on the BOQ. Only input your rates on columns E & F.

## Bill 3
Bill No: 3 | Substation Facilities |  | Labour and Material supply must be included
No | DESCRIPTION | UNIT | QTY | RATE (excl VAT) | RATE (incl VAT)
3.1 | Control Room Maintenance
3.1.1 | Install double fluorescent fitting 1500mm incl. bulbs | ea | Rates Only
3.1.2 | Install double LED fluorescent fitting 1500mm incl. bulbs | ea | Rates Only
3.1.3 | Install (round) outdoor bulkhead fitting | m | Rates Only
3.1.4 | Install photo-electric daylight switch | ea | Rates Only
3.1.5 | Install bypass switch for photo cell | ea | Rates Only
3.1.6 | Install one lever switch | ea | Rates Only
3.1.7 | Install two lever switch | ea | Rates Only
3.1.8 | Install three lever switch | ea | Rates Only
3.1.9 | Install four lever switch | ea | Rates Only
3.1.10 | Install 16A industrial double switch socket outlet | ea | Rates Only
3.1.11 | Industrial single switched socket outlet incl. Covers | ea | Rates Only
3.1.12 | 4x2 gal. Single socket outlet box | ea | Rates Only
3.1.13 | 4x4 gal. Single socket outlet box | ea | Rates Only
3.1.14 | Supply and connect 2 core x1.5mm flat surfix cable | ea | Rates Only
3.1.15 | Install 2 core x2.5mm flat surfix cable | ea | Rates Only
3.1.16 | Install mechanical glands, glands plate and shround | ea | Rates Only
3.1.17 | Install 20mm pvc conduit | ea | Rates Only
3.1.18 | 38x38mm pine brandering and install | m | Rates Only
3.1.19 | Conduit pvc 25mm diameter | m | Rates Only
3.1.20 | Conduit pvc 35mm diameter | m | Rates Only
3.1.21 | 25mm galvanised kick-pipes | m | Rates Only
3.1.22 | Install 10mm sq service cable | m | Rates Only
3.1.23 | Install 16mm sq armoured cable | m | Rates Only
3.1.24 | 35mm sq x2c ABC | m | Rates Only
3.1.25 | Service Cable strain clamp | ea | Rates Only
3.1.26 | Install compression gland and shroud for service cable | ea | Rates Only
3.1.27 | Terminations for service cable | ea | Rates Only
3.1.28 | Strain clamp with 8mm self tap. Pigtail bolt | ea | Rates Only
3.1.29 | Install 2.5 mm 2core pvc copper cables | m | Rates Only
3.1.30 | Install 16 mm 3 core PVC coppercables | m | Rates Only
3.1.31 | Install 16 mm 4 core PVC coppercables | m | Rates Only
3.1.32 | 4m dropper x 4mm2 bare cu conductor | m | Rates Only
3.1.33 | Surface mount-12 way distribution board | ea | Rates Only
3.1.34 | Circuit breaker 63 sp mcb -60a | ea | Rates Only
3.1.35 | Circuit breaker 63 sp mcb -40a | ea | Rates Only
3.1.36 | Circuit breaker 63 sp mcb -20a | ea | Rates Only
3.1.37 | Circuit breaker 63 sp mcb -10a | ea | Rates Only
3.1.38 | Install 10mm2 copper cable | m | Rates Only
3.1.39 | Earth Spike, Clamp and Conductor ( 92mm x 10mm² bare cu). Termination of 10mm² PVC Copper Down Conductor onto Earth Electrode, complete with Brass Clamps, Nuts, etc as specified, 10mm PVC cable. | ea | Rates Only
3.1.40 | 10KA TO 25KA (Circuit Breaker) single pole/double pole | ea | Rates Only
3.1.41 | 10KA to 25 KA (Circuit Breaker) tripple pole | ea | Rates Only
3.1.42 | Surge Arrestor to be fitted on the DB | ea | Rates Only
3.1.43 | To conduct the test and issue the Certificate of Compliance (COC) | ea | Rates Only
3.1.44 | Roof Sealing | sqm | Rates Only
3.1.45 | Roof painting | sqm | Rates Only
3.1.46 | Wall painting | sqm | Rates Only
3.1.47 | Ceiling Installation | sqm | Rates Only
3.1.48 | Steel Window Vents replacement | ea | Rates Only
3.1.49 | Steel Door Panel replacement and painting | ea | Rates Only
3.1.50 | Spray steel-painting with compressed air machinery of door and side panel | sqm | Rates Only
3.2 | Perimeter and security infrastructure Maintenance
3.2.1 | Concrete Palisade installation | m | Rates Only
3.2.2 | Steel Palisade installation | m | Rates Only
3.2.3 | Anti-cut fence installation | m | Rates Only
3.2.4 | Gate motor installation | ea | Rates Only
Note: | Bidders are not allowed to change anything on the BOQ. Only input your rates on columns E & F.

## Bill 4
Bill No: 4 | High Voltage Equipment |  | Material including any accessories
No | DESCRIPTION | UNIT | QTY | RATE (excl VAT) | RATE (incl VAT)
4.1 | Supply and delivery of high and medium voltage overhead equipment and structures
4.1.1 | MV Bare ACSR Fox (Material quantity to allow for 5% sag in addition to actual conductor length quantity) | m | Rates Only
4.1.2 | MV Bare ACSR Mink (Material quantity to allow for 5% sag in addition to actual conductor length quantity) | m | Rates Only
4.1.3 | MV Bare ACSR Hare (Material quantity to allow for 5% sag in addition to actual conductor length quantity) | m | Rates Only
4.1.4 | Joint, M/Span Mink/Pine I/C D3073 | ea | Rates Only
4.1.5 | Joint, M/Span Hare/Oak I/C D3073 | ea | Rates Only
4.1.6 | Joint, M/Span Fox /35 I/C D3073 | ea | Rates Only
4.1.7 | POLE,WOOD 5.0 X 80-100 TOP DIA | ea | Rates Only
4.1.8 | POLE,WOOD 7.0X100-120 TOP DIA | ea | Rates Only
4.1.9 | POLE,WOOD 7.0X120-139 TOP DIA | ea | Rates Only
4.1.10 | POLE:140-159MM TOP DIA X LG 11M ;WOOD | ea | Rates Only
4.1.11 | POLE:180-199MM TOP DIA X LG 11M ;WOOD | ea | Rates Only
4.1.12 | POLE:160-179MM TOP DIA LG 12 M;WOOD | ea | Rates Only
4.1.13 | POLE:200-219MM TOP DIA X LG 12 M;WOOD | ea | Rates Only
4.1.14 | POLE,WOOD 14.0 x 180-199 | ea | Rates Only
4.1.15 | POLE,WOOD 14.0 x 200-219 | ea | Rates Only
4.1.16 | 7m/4kN prestressed concrete pole | ea | Rates Only
(as per DRAWING No: 1)
4.1.17 | 11m/8kN prestressed concrete pole without PVC conduit | ea | Rates Only
(as per DRAWING No: 2)
4.1.18 | 11m/8kN prestressed concrete pole with PVC conduit | ea | Rates Only
(as per DRAWING No: 2)
4.1.19 | 12m/13.3kN prestressed concrete pole without PVC conduit (as per DRAWING No: 3) | ea | Rates Only
4.1.20 | 12m/13.3kN prestressed concrete pole with PVC conduit | ea | Rates Only
(as per DRAWING No: 3)
4.1.21 | 14m/14.7kN prestressed concrete pole without PVC conduit | ea | Rates Only
( as per DRAWING No: 4)
4.1.22 | 14m/14.7kN prestressed concrete pole with PVC conduit | ea | Rates Only
( as per DRAWING No: 4)
4.1.23 | LV STAY ASSEMBLY (LV - 35kN) WOOD | ea | Rates Only
4.1.24 | MV STAY ASSEMBLY (MV - 97kN) WOOD POLES | ea | Rates Only
4.1.25 | MV STRUT ASSEMBLY SWIVEL BRACKET 11m, 12m AND 13m ,14,15 WOOD POLESL/MV Strut | ea | Rates Only
4.1.26 | LV STRUT ASSEMBLY WOOD H - POLE FOR -11m , 12m and 13m,14,15 poles/LV Strut | ea | Rates Only
4.1.27 | Pole-mount TRANSFORMER 11kV/420V 50kVA DYN11 | ea | Rates Only
4.1.28 | Pole-mount TRANSFORMER 11kV/420V 100kVA DYN11 | ea | Rates Only
4.1.29 | Pole-mount TRANSFORMER 11kV/420V 200kVA DYN11 | ea | Rates Only
4.1.30 | Pole-mount TRANSFORMER 6.6kV/420V 50kVA DYN11 | ea | Rates Only
4.1.31 | Pole-mount TRANSFORMER 6.6kV/420V 100kVA DYN11 | ea | Rates Only
4.1.32 | Pole-mount TRANSFORMER 6.6kV/420V 200kVA DYN11 | ea | Rates Only
4.2 | Supply and delivery of high and medium voltage underground equipment and accessories |  | Rates Only
4.2.1 | Miniature substation 6.6/11kV/420V 200kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Vertical Fuse Holders and LV Metering arrangement | ea | Rates Only
4.2.2 | Miniature substation 6.6/11kV/420V 200kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Large Frame MCCB's and LV Metering arrangement | ea | Rates Only
4.2.3 | Miniature substation 6.6/11kV/420V 315kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Vertical Fuse Holders and LV Metering arrangement | ea | Rates Only
4.2.4 | Miniature substation 6.6/11kV/420V 315kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Large Frame MCCB's and LV Metering arrangement | ea | Rates Only
4.2.5 | Miniature substation 6.6/11kV/420V 500kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Vertical Fuse Holders and LV Metering arrangement | ea | Rates Only
4.2.6 | Miniature substation 6.6/11kV/420V 500kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Large Frame MCCB's and LV Metering arrangement | ea | Rates Only
4.2.7 | Miniature substation 6.6/11kV/420V 800kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Vertical Fuse Holders and LV Metering arrangement | ea | Rates Only
4.2.8 | Miniature substation 6.6/11kV/420V 800kVA suitable for inland application and fitted with Ring Main Unit. LV Panel suitable for Large Frame MCCB's and LV Metering arrangement | ea | Rates Only
4.2.9 | 11kV Free Standing Metal enclosed, Non-extensible, Outdoor and Inland 630A Vacuum insulated Ring Main Unit Configured 2SD-2CB with Metering unit | ea | Rates Only
4.2.10 | 11kV Free Standing Metal enclosed, Non-extensible, Outdoor and Inland 630A Vacuum insulated Ring Main Unit Configured 2SD-CB with Metering unit | ea | Rates Only
4.2.11 | 11kV Ground Mounted Outdoor and Inland Oil filled CT VT Class 0.2 Metering unit | ea | Rates Only
4.2.12 | 50 mm² x 3 Core 11 kV PILCDSTA cable for non-earthed system (SANS 97) | m | Rates Only
4.2.13 | 70 mm² x 3 Core 11 kV PILCDSTA cable for non-earthed system (SANS 97) | m | Rates Only
4.2.14 | 95 mm² x 3 Core 11 kV PILCDSTA cable for non-earthed system (SANS 97) | m | Rates Only
4.2.15 | 150 mm² x 3 Core 11 kV PILCDSTA cable for non-earthed system (SANS 97) | m | Rates Only
4.2.16 | 185 mm² x 3 Core 11 kV PILCDSTA cable for non-earthed system (SANS 97) | m | Rates Only
4.2.17 | 50 mm² x 3 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | Rates Only
4.2.18 | 70 mm² x 3 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | Rates Only
4.2.19 | 95 mm² x 3 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | Rates Only
4.2.20 | 150 mm² x 3 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | Rates Only
4.2.21 | 185 mm² x 3 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | Rates Only
4.2.22 | 95 mm² x 1 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | Rates Only
4.2.23 | 150 mm² x 1 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | Rates Only
4.2.24 | 185 mm² x 1 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | Rates Only
4.2.25 | 300 mm² x 1 Core 11 kV X.L.P.E. - P.V.C. cable for non-earthed system (SANS 97) | m | Rates Only
4.2.26 | 11kV 3 Core XLPE Indoor Cable Termination Kit 16 - 35 mm | ea | Rates Only
4.2.27 | 11kV 3 Core XLPE Indoor Cable Termination Kit 50 - 120 mm | ea | Rates Only
4.2.28 | 11kV 3 Core XLPE Indoor Cable Termination Kit 95 - 185 mm | ea | Rates Only
4.2.29 | 11kV 3 Core XLPE Outdoor Cable Termination Kit 16 - 35 mm | ea | Rates Only
4.2.30 | 11kV 3 Core XLPE Outdoor Cable Termination Kit 50 - 120 mm | ea | Rates Only
4.2.31 | 11kV 3 Core XLPE Outdoor Cable Termination Kit 95 - 185 mm | ea | Rates Only
4.2.32 | 11kV 3 Core PILC Indoor Cable Termination Kit 16 - 35 mm | ea | Rates Only
4.2.33 | 11kV 3 Core PILC Indoor Cable Termination Kit 50 - 120 mm | ea | Rates Only
4.2.34 | 11kV 3 Core PILC Indoor Cable Termination Kit 95 - 185 mm | ea | Rates Only
4.2.35 | 11kV 3 Core PILC Outdoor Cable Termination Kit 16 - 35 mm | ea | Rates Only
4.2.36 | 11kV 3 Core PILC Outdoor Cable Termination Kit 50 - 120 mm | ea | Rates Only
4.2.37 | 11kV 3 Core PILC Outdoor Cable Termination Kit 95 - 185 mm | ea | Rates Only
4.2.38 | 11kV 3 Core XLPE Cable Joint Kit 16 - 35 mm | ea | Rates Only
4.2.39 | 11kV 3 Core XLPE Cable Joint Kit 50 - 120 mm | ea | Rates Only
4.2.40 | 11kV 3 Core XLPE Cable Joint Kit 95 - 185 mm | ea | Rates Only
4.2.41 | 11kV 3 Core XLPE Cable Joint Kit 185 - 300 mm | ea | Rates Only
4.2.42 | 11kV 3 Core PILC Cable Joint Kit 16 - 35 mm | ea | Rates Only
4.2.43 | 11kV 3 Core PILC Cable Joint Kit 50 - 120 mm | ea | Rates Only
4.2.44 | 11kV 3 Core PILC Cable Joint Kit 95 - 185 mm | ea | Rates Only
4.2.45 | 11kV 3 Core PILC Cable Joint Kit 185 - 300 mm | ea | Rates Only
4.2.46 | unscreened 11kV Separable Connectors - Set of 3 with Bolts & Nuts | ea | Rates Only
4.2.47 | screened 11kV Seperable Connectors - Set of 3 withBolts & Nuts | ea | Rates Only
4.2.48 | 11kV 3 Core XLPE Cable Joint Trifurcating Kit 50 - 120 mm | ea | Rates Only
4.2.49 | 11kV 3 Core XLPE Cable Joint Trifurcating Kit 95 - 185 mm | ea | Rates Only
4.2.50 | 11kV 3 Core XLPE Cable Joint Trifurcating Kit 185 - 300 mm | ea | Rates Only
4.2.51 | 11kV 3 Core PILC Cable Joint Trifurcating Kit 50 - 120 mm | ea | Rates Only
4.2.52 | 11kV 3 Core PILC Cable Joint Trifurcating Kit 95 - 185 mm | ea | Rates Only
4.2.53 | 11kV 3 Core PILC Cable Joint Trifurcating Kit 185 - 300 mm | ea | Rates Only
4.2.54 | 11kV 3 Core PILC to XLPE transition cable joints 50 - 95 mm | ea | Rates Only
4.2.55 | 11kV 3 Core PILC to XLPE transition cable joints 120 -185 mm | ea | Rates Only
4.3 | Supply and delivery of high and medium voltage Substation equipment and accessories |  | Rates Only
4.3.1 | 33kV 800A 25kA Combo Breaker (Similar to Actom breaker) | ea | Rates Only
4.3.2 | 33kV 1600A 25kA Combo Breaker (Similar to Actom breaker) | ea | Rates Only
4.3.3 | 11kV 1250A 25kA Outgoing Feeder Circuit Breaker panel (similar to SBV4E ACTOM) | ea | Rates Only
4.3.4 | 11kV 800A 25kA Outgoing Feeder Circuit Breaker panel (similar to SBV4E ACTOM) | ea | Rates Only
4.3.5 | 11kV 2500A 25kA Bus-Section Circuit Breaker panel (similar to SBV4E ACTOM) | ea | Rates Only
4.3.6 | 11kV 800A 25kA Incomer Feeder Circuit Breaker (similar to SBV4E ACTOM) | ea | Rates Only
4.3.7 | Ground Mounted 25kVA 11kV/415V Transformer | ea | Rates Only
4.3.8 | Ground Mounted 50kVA 11kV/415V Transformer | ea | Rates Only
4.3.9 | Ground Mounted 100kVA 11kV/415V Transformer | ea | Rates Only
4.3.10 | Ground Mounted 200kVA 11kV/415V Transformer | ea | Rates Only
4.3.11 | Ground Mounted 315kVA 11kV/415V Transformer | ea | Rates Only
4.3.12 | Transformer Protection Relay (SEL or Arctec) | ea | Rates Only
4.3.13 | Line Protection Relay (SEL or Arctec) | ea | Rates Only
4.3.14 | Feeder Protection Relay with Arc protection (SEL or Arctec or similar) | ea | Rates Only
4.3.15 | Special Parts required not covered in the bill at Cost plus margin | % | Rates Only
Note: | Bidders are not allowed to change anything on the BOQ. Only input your rates on columns E & F.