## Plumbing & Drainage
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL No 1 :
1 | SECTION 1A: PROVISIONAL SUMS
Psum will only be accessed and used through change/variation management process inclusive of 3 quotations request and motivation for approval by a delegated MCLM Official.
Contractual requirement (As described in section C3)
General items
1.1 | Budgetary Allowance: For unscheduled or non-schedule items which are not specified in the Bills of Quantities (Determined by the Mogale City Local Municipality). | Psum | 1 | 1200000 | N/A | 1200000
1.2 | Industrial scaffolding, Specialised Machinery, Plant and Equipment | Psum | 1 | 120000 | N/A | 200000
Borehole; Water Back-Up System
1.3 | Drilling, testing, installation, repairs, servicing and maintenance of boreholes | Psum | 1 | 200000 | N/A | 200000
1.4 | Water Back-Up System (JoJo Tank, Pump, Piping, Foundations, Support Structure Servicing, include labour and the installation there-off complete) | Item | 1 | R | N/A | 800000
Septic Tank
1.5 | New Septic Tank Installation | Psum | 1 | 100000 | N/A | 100000
1.6 | Maintenance of Septic Tank | Psum | 1 | 100000 | N/A | 100000
1.7 | Sucking of Septic Tank and Disposal | Psum | 1 | 100000 | N/A | 100000
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (SECTION 1A PROVISIONAL SUM ONLY) | [5 empty] | 2700000
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL No 1B:
SECTION 1B: LABOUR RATE; CoC
Work done between Monday and Friday from 7:30am to 4pm shall be paid as per qouted rate for that particular item.
Overtime during Saturdays; Sundays; and Public Holidays
1.9 | Artisan Plumber | Hour | 1 | R | N/A | R
1.1 | Assistant Artisan Plumber | Hour | 1 | R | N/A | R
1.11 | CoC Certificate: | Item | 1 | R | N/A | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (SECTION 1B: LABOUR RATE; CoC) | [5 empty] | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL No 2 :
2 | RAINWATER DISPOSAL
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps .). These rates to include labour,transportation and the installation there-off complete.
0.6mm Galvanised sheet iron with "Chromadek" or approved equivalent finish one side
2.1 | 100 x 125mm Eaves gutters with beaded front edge | m | 1 | R | R | R
2.2 | Extra over eaves gutter for corner | No | 1 | R | R | R
2.3 | Extra over eaves gutter for angle | No | 1 | R | R | R
2.4 | No Extra over eaves gutter for outlet for 100 x 75mm diameter pipe | No | 1 | R | R | R
2.5 | 100 x 75mm Rainwater down pipes | m | 1 | R | R | R
2.6 | Extra over rainwater pipe for 500mm eaves offset | No | 1 | R | R | R
2.7 | Extra over rainwater pipe for shoe | No | 1 | R | R | R
Fullbore cast iron outlets
2.8 | 110mm 90 Degree side outlet | No | 1 | R | R | R
uPVC pipes
2.9 | 110mm Diameter rainwater pipes fixed to concrete columns | m | 1 | R | R | R
2.1 | 50mm Diameter x 300mm long spout pipe | No | 1 | R | R | R
Extra over for uPVC for fittings
2.11 | 110mm Bend | No | 1 | R | R | R
STORMWATER DRAINAGE
Work in connection with existing
2.12 | Search, locate and break into existing manhole or stormwater drain for connection of new 450mm pipe, including breaking up existing benching, cast new benching to suit new configuration, making good to manhole | No | 1 | R | R | R
Class 50D concrete pipes
2.13 | 450mm Pipes laid in and including trenches not exceeding 1000mm deep | No | 1 | R | R | R
Filling, .
2.14 | Selected fill material compacted to 90% modified AASHTO density in uniform layers and sides of pipe | m³ | 1 | R | R | R
2.15 | G7 material supplied by the contractor compacted in uniform layers to 90% modified AASHTO density | m³ | 1 | R | R | R
Extra over all excavations for carting away
2.16 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m³ | 1 | R | R | R
Excavate for and build stormwater catchpit size 600 x 600mm deep internally with one brick sides in engineering bricks on and including class 20/19 concrete floor slab 150mm thick with wire ref.193 reinforcing, benching up bottom in class 20/19 concrete with concrete finished smooth with steel float with 600 x 600mm wide cast iron stormwater grating and frame bedded elsewhere measured) into concrete surround complete, including all framework, reinforcing, backfill, compacting .
2.17 | Stormwater catchpit not exceeding 1000mm deep. | No | 1 | R | R | R
Gratings, covers, .
2.18 | 600 x 600mm Medium duty cast iron stormwater grating and frame | No | 1 | R | R | R
2.19 | 275 x 275 mm x 9 kg single seal manhole cover and frame | No | 1 | R | R | R
2.2 | 275 x 275 mm x 9 kg single seal manhole cover only | No | 1 | R | R | R
2.21 | 450 x 600 mm x 45 kg single seal manhole cover and frame | No | 1 | R | R | R
2.22 | 450 x 600 mm x 45 kg single seal manhole cover only | No | 1 | R | R | R
2.23 | 600 x 600 mm x 63 kg single seal manhole cover and frame | No | 1 | R | R | R
2.24 | 600 x 600 mm x 63 kg single seal manhole cover only | No | 1 | R | R | R
2.25 | 450 x 600 mm x 72 kg double seal manhole cover and frame | No | 1 | R | R | R
2.26 | 450 x 600 mm x 72 kg double seal manhole cover only | No | 1 | R | R | R
2.27 | 600 x 600 mm x 124 kg double seal manhole cover and frame | No | 1 | R | R | R
2.28 | 600 x 600 mm x 124 kg double seal manhole cover only | No | 1 | R | R | R
2.29 | 550 mm Diameter x 176 kg roadway type manhole cover and frame | No | 1 | R | R | R
2.3 | 550 mm Diameter x 176 kg roadway type manhole cover only | No | 1 | R | R | R
Supply concrete manholes covers and frames (SANS 1882 of 2003)
2.31 | 610 mm Circular concrete manhole cover. | No | 1 | R | R | R
2.32 | 700 mm frame for above cover. | No | 1 | R | R | R
2.33 | 450x600 (8ton) Rectangular concrete manhole cover. | No | 1 | R | R | R
2.34 | 575x720 Rectangular concrete frame for above cover | No | 1 | R | R | R
2.35 | 670x530 Rectangular concrete manhole cover | No | 1 | R | R | R
2.36 | 760x620 Rectangular concrete frames for above cover. | No | 1 | R | R | R
Storm water
2.37 | Supply precast stromwater kerb inlets as supplied by 'BLITZ CONCRETE INTERNATIONAL or SABS approved equivalent | No | 1 | R | R | R
Stormwater headwall
2.38 | Bellmouth shaped headwall to suit 450mm diameter pipe, overall size 3000 x 1200mm, formed of 150mm thick conc rete base and 150 x 600mm deep front edge beam with Ref. 193 mesh reinforcement, splitter block at outlet 1380 x 150 x 150mm high, one brick headwall 1380 x 900mm high built around pipe and two wing walls, each 1380mm long x average 550mm high, walls finished with facings both sides and brick on edge header course on top including necessary formwork, excavation and filling, | No | 1 | R | R | R
Precast concrete channels
2.39 | 460 x 170mm Channels with 310 x 110mm deep segmental channel | m | 1 | R | R | R
Soil Drainage
2.4 | Excavation not exceeding 2m deep for drain trenches | m³ | 1 | R | R | R
2.41 | Backfilling to drain trenches compacted to ?% Mod AASHTO density | m³ | 1 | R | R | R
2.42 | 19mm Crushed stone encasing to pipes | m | 1 | R | R | R
2.43 | Geofabric filter blanket wrapped around agricultural pipes m with 50mm side and 300mm end laps including stitching | m | 1 | R | R | R
2.44 | Geofabric filter blanket wrapped around stone encasing with 150mm side and 300mm end laps including stitching | m | 1 | R | R | R
2.45 | Slotted uPVC agricultural pipes laid in stone encasing | m | 1 | R | R | R
2.46 | "Santar" perforated pitch fibre pipes laid in stone encasing | m | 1 | R | R | R
UPvC
2.47 | 110mm Pipes vertically or ramped to cleaning eyes (no excavation) | m | 1 | R | R | R
2.48 | 110mm Pipes laid in and including trenches not exceeding 1 m deep | m | 1 | R | R | R
2.49 | 110mm Pipes laid in and including trenches exceeding 1m not exceeding 2m deep | m | 1 | R | R | R
UPvC
2.5 | 110mm Bend | No | 1 | R | R | R
2.51 | 110mm Inspection bend | No | 1 | R | R | R
2.52 | 110mm Rodding eye | No | 1 | R | R | R
2.53 | 110mm Inspection junction | No | 1 | R | R | R
2.54 | 110mm Junction | No | 1 | R | R | R
2.55 | 110mm Gulley trap with gulley head and precast surround | No | 1 | R | R | R
Work in connection with existing
2.56 | Search, locate and break into existing manhole not exceeding2m deep for connection of new 160mm pipe, including breaking up existing benching, cast new benching to suit new configuration, making good to manhole and all pipe fittings as necessary and concrete encasement to vertical pipe, . | No | 1 | R | R | R
HDPE class 12 drain pipes, including butt welded joints, electroweld couplings and expansion joints to 'Geberit' specification in the running lengths
2.57 | 110mm Pipes vertically or ramped to cleaning eyes | m | 1 | R | R | R
2.58 | 110mm Pipes laid in and including trenches not exceeding 1 m deep | m | 1 | R | R | R
2.59 | 160mm Diameter pipes laid in earth or earth filling not exceeding 1000mm deep | m | 1 | R | R | R
2.6 | 160mm Diameter pipes laid in earth or earth filling exceeding 1000 and not exceeding 2000mm deep | m | 1 | R | R | R
Extra over HDPE pipes for fittings
2.61 | 110mm Rodding eye | No | 1 | R | R | R
2.62 | 110mm Bend | No | 1 | R | R | R
2.63 | 110mm Inspection bend | No | 1 | R | R | R
2.64 | 110mm Inspection junction | No | 1 | R | R | R
2.65 | 110mm Junction | No | 1 | R | R | R
2.66 | 160mm Bend | No | 1 | R | R | R
2.67 | 160mm Access bend | No | 1 | R | R | R
2.68 | 160m Junction | No | 1 | R | R | R
2.69 | 160mm Reducing junction | No | 1 | R | R | R
Excavate for and build circular manhole with 900 mm internal diameter precast concrete splay rebated rings not less than 65 mm thick in suitable widths to suit invert bedded and jointed with epoxy filled joints and reduced with factory made reducer slab, including steel polypropylene encapsulated step irons, on and including 100 mm thick reinforced concrete 20 MPa (19 mm stone) bottom with Ref No 311 mesh reinforcement and fitted with cover and frame (cover elsewhere) cast into and including 125 mm reinforced concrete 20 MPa (19 mm stone) cover slab, steel trowelled smooth on all exposed surfaces, the bottom benched up in fine concrete 15MPa (8 mm stone) and finished smooth in 1 :1 cement plaster around channels,
2,70 | Manhole not exceeding 1000mm deep to invert | No | 1 | R | R | R
2.71 | Manhole exceeding 1000 and not exceeding 2000mm deep to invert | No | 1 | R | R | R
| TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL No 2 : RAINWATER DISPOSAL, ) |  |  |  |  | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL No 3 :
3 | SANITARY FITTINGS AND DRAINAGE
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps .). These rates to include labour,transportation and the installation there-off complete.
Stainless steel
Stainless steel for urinals, basins, quality sinks, wash troughs, institutional equipment, shall be type 304 (18/10) or approved equivalent
Supply and installtion of sanitary and brassware complete (All fittings and extras) including chasing and/or building into walls and reinstalling of exisitng surfaces such as floors, walls, ceilings,testing, cleaning, commissioning and hand-over.
SINKS, BOWLS, WASHTROUGH
3.1 | Single bowl sink 460 x 1200mm long fitted in top | No | 1 | R | R | R
3.2 | Standard double bowl sink 1850 x 650 x 1060mm high | No | 1 | R | R | R
3.3 | Surround Wall Mount Basin 390x322x600mm with a 150mm splash back manufactured from Grade 304 (18/10) Stainless Steel 1.2mm gauge in a satin finish. | No | 1 | R | R | R
3.4 | Grade 304 18/10'' Stainless steel SIRX washtrough 500 x 450 x 240mm deep with slanted ribbed front site for scrubbing, PVC waste and plug with handle, fitted to wall on a pair of stainless steel brackets (code: 300367) pop-riveted to flange. | No | 1 | R | R | R
3.5 | Concrete Double Bowl Wash Tub | No | 1 | R | R | R
VAAL CISTERN OR APPROVED EQUIVALENT
3.6 | Hibiscus 772654/772656Closed coupled white vitreous china pan with P trap complete and preparation for flushing valve and matching flush pipe and heavy duty white double flap seat | No | 1 | R | R | R
3.7 | Hibiscus code 431500/431600" paraplegic wc suite comprising pan with double flap heavy duty plastic seat and 9 litre cistern with side paraplegic side flush lever | No | 1 | R | R | R
3.8 | Vitreous china "Orchid" back inlet (code 439016) 90° wall hung open rim pan with Styline or approved equivalent white PVC seats including Geberit or approved equivalent concealed cistern with matt chrome plated Bolero Actuator plate. | No | 1 | R | R | R
3.9 | Vitreous china wall hung "Sweetpea urinal size 565 x 275 x 310 mm with top inlet (code 705126) with FJ6000 Flushmaster or approved equivalent with FJT 5.5 flushpipe including a 38 mm chrome plated domical grating, a spreader with a 20 mm diameter thread, two hanger brackets. | No | 1 | R | R | R
Cistern
3.1 | White, wall-mounted , CL | No | 1 | R | R | R
3.11 | White, wall-mounted, Plastic | No | 1 | R | R | R
3.12 | White, wall-mounted, Vitreouss china | No | 1 | R | R | R
Water Closet
3.13 | SABS approved WC with iron built-in frame,"Flushmaster" concealed push button type with back entry | No | 1 | R | R | R
3.14 | SABS approved WC with "Flushmaster" exposed 'type with top entry | No | 1 | R | R | R
3.15 | SABS approved bidet with ascending spray 526, 'bidet-mixer, 1 pair bidet cocks, (12 mm) pop-up waste | No | 1 | R | R | R
3.16 | White, floor-mounted vitreous china | No | 1 | R | R | R
3.17 | Lavatera White vitreous flat back wall urinal with domical grating with spreader and two hanger brackets (flushing valve elsewhere) | No | 1 | R | R | R
Model KCB102 curved back urinal, length, or approved equivalent
3.18 | 915mm x 300mm x 780mm | No | 1 | R | R | R
3.19 | 1065mm x 300mm x 780mm | No | 1 | R | R | R
3.2 | 1220mm x 300mm x 780mm | No | 1 | R | R | R
3.21 | 1370mm x 300mm x 780mm | No | 1 | R | R | R
3.22 | 1525mm x 300mm x 780mm | No | 1 | R | R | R
3.23 | 1625mm x 300mm x 780mm | No | 1 | R | R | R
3.24 | 1830mm x 300mm x 780mm | No | 1 | R | R | R
BATHS
3.25 | White Built-in Straight Bath - 1700 x 700mm with handles | No | 1 | R | R | R
WASH HAND BASINS
3.26 | Cameo 595 x 455mm White vitreous china vanity wash hand basin with one tap hole plug, waste, plug and chain and concealed brackets | No | 1 | R | R | R
3.27 | Springbok 510 x 405mm White vitreous china wash hand basin with one tap hole plug, waste, plug and chain and concealed brackets | No | 1 | R | R | R
3.28 | SABS approved pedestal, with basin - concrete above but with S-trap and iron bracket | No | 1 | R | R | R
3.29 | SABS approved built-in basin - concrete slab and finish to details and with tap hole | No | 1 | R | R | R
3.3 | Stainless Steel 520 x 420mm Wash Hand Basin | No | 1 | R | R | R
Vaal Weaver or approved equivalent
3.31 | 570 x 455mm rectangular surface mounted vanity basin (code: 704201) with on tap hole. | No | 1 | R | R | R
Brass
3.32 | 32mm Basin waste union | No | 1 | R | R | R
3.33 | 38mm Urinal waste union with chromium plated dome | No | 1 | R | R | R
3.34 | 38mm Sink waste union | No | 1 | R | R | R
TRAPS
uPVC
3.35 | 38 x 50mm Deep seal trap | No | 1 | R | R | R
3.36 | 38 x 50mm Shower trap | No | 1 | R | R | R
Chromium plated
3.37 | 38 x 50mm Bottle trap | No | 1 | R | R | R
VALVES,
Brass (including couplings to copper piping)
3.38 | 15mm Stop cock | No | 1 | R | R | R
3.39 | 22mm Stop cock | No | 1 | R | R | R
3.4 | 22mm Garden tap | No | 1 | R | R | R
3.41 | 25mm Line strainer | No | 1 | R | R | R
3.42 | 50mm Line strainer | No | 1 | R | R | R
3.43 | Flushmaster FM1.000 toilet flush valve | No | 1 | R | R | R
3.44 | Flushmaster FJ6.000 urinal flush valve | No | 1 | R | R | R
3.45 | PB1.10RB vacuum breaker | No | 1 | R | R | R
3.46 | PA3.132 "Kwikflo" 400 kPa pressure reducing valve | No | 1 | R | R | R
3.47 | 15mm - Brass Gate Valve Full Bore | No | 1 | R | R | R
3.48 | 20mm - Brass Gate Valve Full Bore | No | 1 | R | R | R
3.49 | 25mm - Brass Gate Valve Full Bore | No | 1 | R | R | R
3.5 | 32mm - Brass Gate Valve Full Bore | No | 1 | R | R | R
3.51 | 40mm - Brass Gate Valve Full Bore | No | 1 | R | R | R
3.52 | 65mm - Brass Gate Valve Full Bore | No | 1 | R | R | R
3.53 | 80mm - Brass Gate Valve Full Bore | No | 1 | R | R | R
3.54 | 100mm - Brass Gate Valve Full Bore | No | 1 | R | R | R
TAPS
3.55 | Master Unimixer AA7.0LA - short lever (domestic) | No | 1 | R | R | R
3.56 | Pillar taps, handles fixed to pindle by factory press | No | 1 | R | R | R
3.57 | 20 mm, CP, star handle wall-type taps | No | 1 | R | R | R
3.58 | 20 mm CP, handles fixed to spindle by factory press | No | 1 | R | R | R
3.59 | 20 mm sink mixer with overarm swivel outlet | No | 1 | R | R | R
3.6 | 15mm "CP 166041" Sink mixer with CP extension piece and wall flange | No | 1 | R | R | R
3.61 | Plastic Tap brown 15mm or Equivalent | No | 1 | R | R | R
3.62 | Plastic Tap brown 20mm | No | 1 | R | R | R
3.63 | 15mm Code 211 Pillar tap | No | 1 | R | R | R
3.64 | 15mm Code KM 2.100 self closing pillar tap | No | 1 | R | R | R
3.65 | Decor 70 single lever basin mixe | No | 1 | R | R | R
3.66 | Bar faucet high profile with dual Arabesk handle | No | 1 | R | R | R
Watertech
3.67 | 15mm Bollostop valve or Equivalent | No | 1 | R | R | R
3.68 | 15mm Flexi connector or Equivalent | No | 1 | R | R | R
3.69 | Angle Valve | No | 1 | R | R | R
3.7 | Stoptap R.B.F X F | No | 1 | R | R | R
3.71 | Isolating Ball Valves | No | 1 | R | R | R
3.72 | Ball Cock FXF with Lever | No | 1 | R | R | R
SANITARY PLUMBING
uPVC pipes
3.73 | 50mm Pipes | m | 1 | R | R | R
3.74 | 110mm Pipes | m | 1 | R | R | R
Extra over uPVC pipes for fittings
3.75 | 50mm Bend | No | 1 | R | R | R
3.76 | 50mm Inspection bend | No | 1 | R | R | R
3.77 | 50mm Vente valve | No | 1 | R | R | R
3.78 | 50mm Junction | No | 1 | R | R | R
3.79 | 50mm Inspection junction | No | 1 | R | R | R
3.8 | 110mm Bend | No | 1 | R | R | R
3.81 | 110mm Inspection bend | No | 1 | R | R | R
3.82 | 110mm Junction | No | 1 | R | R | R
3.83 | 110m IE junction | No | 1 | R | R | R
3.84 | 110mm IE reducing juntion | No | 1 | R | R | R
3.85 | 110mm Pan connector | No | 1 | R | R | R
3.86 | 110mm Two way vent valve | No | 1 | R | R | R
| TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL No 4 : SANITARY FITTINGS AND DRAINAGE) |  |  |  |  | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL No 4 :
4 | WATER SUPPLIES,
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps .). These rates to include labour,transportation and the installation there-off complete.
HDPE polyethelene Class 12 piping with butwelding type pressure fittings
4.1 | 50mm Pipe and excavation not exceeding 1m deep | m | 1 | R | R | R
Extra over HDPE polyethylene pipes for fittings
4.2 | 50mm Fittings | No | 1 | R | R | R
Galvanised mild steel screwed and socketed pipes and fittings
4.3 | 25mm Pipes | m | 1 | R | R | R
4.4 | 32mm Pipes | m | 1 | R | R | R
Extra over galvanised mild steel pipe for fittings
4.5 | 25mm Fittings | No | 1 | R | R | R
4.6 | 32mm Fittings | No | 1 | R | R | R
Class 1 copper pipes
4.7 | 15mm Pipes | m | 1 | R | R | R
4.8 | 22mm Pipes | m | 1 | R | R | R
4.9 | 28mm Pipes | m | 1 | R | R | R
4.1 | 35mm Pipes | m | 1 | R | R | R
4.11 | 35mm Pipes | m | 1 | R | R | R
4.12 | 35mm Pipes | m | 1 | R | R | R
4.13 | 35mm Pipes | m | 1 | R | R | R
Extra over class 0, 1 or 2 copper pipes for capillary or brass compression fittings
4.14 | 15mm Pipes | m | 1 | R | R | R
4.15 | 22mm Pipes | m | 1 | R | R | R
4.16 | 28mm Pipes | m | 1 | R | R | R
4.17 | 35mm Pipes | m | 1 | R | R | R
4.18 | 35mm Pipes | m | 1 | R | R | R
4.19 | 35mm Pipes | m | 1 | R | R | R
4.2 | 35mm Pipes | m | 1 | R | R | R
ELECTRIC WATER HEATERS
4.21 | 50 Litre geyser | No | 1 | R | R | R
4.22 | 100 Litre geyser | No | 1 | R | R | R
4.23 | 150 Litre geyser | No | 1 | R | R | R
4.24 | 200 Litre geyser | No | 1 | R | R | R
4.25 | 250 Litre geyser | No | 1 | R | R | R
4.26 | 100 Litre solar geyser horizontal roof mounted, with extended solar panels to roofs complete by specialist | No | 1 | R | R | R
4.27 | 150 Litre solar geyser horizontal roof mounted, with extended solar panels to roofs complete by specialist | No | 1 | R | R | R
4.28 | 200 Litre solar geyser horizontal roof mounted, with extended solar panels to roofs complete by specialist | No | 1 | R | R | R
4.29 | Drip tray with overflow pipe | No | 1 | R | R | R
4.3 | 10 litre under basin geyser | No | 1 | R | R | R
Zip Hydroboil
4.31 | 2,5 Litre | No | 1 | R | R | R
4.32 | 5.0 Litre | No | 1 | R | R | R
4.33 | 7,5 Litre | No | 1 | R | R | R
Bathroom Accessories
Supply and installation of:
4.34 | 266 x 257 x 230mm high Surface mounted splash proof electronic hand-drier, including connecting to electrical | No | 1 | R | R | R
4.35 | Manual Towel Dispenser – Stainless Steel | No | 1 | R | R | R
4.36 | Automatic Towel Dispenser – Stainless Steel | No | 1 | R | R | R
4.37 | Folded Towel Dispenser – Stainless Steel | No | 1 | R | R | R
4.38 | Stainless Steel Round Toilet Roll Holder (Capacity: 3 x toilet rolls) | No | 1 | R | R | R
4.39 | 1300 ml Flex Soap Dispenser | No | 1 | R | R | R
4.4 | Stainless Steel 1200ml Liquid Top Up Soap Dispenser. | No | 1 | R | R | R
4.41 | 12 L Sanitary Bin - Satin Plastic | No | 1 | R | R | R
4.42 | 1200mm x 450mm Urinal Screens - Compact High Pressure Laminate (CHPL) | No | 1 | R | R | R
4.43 | 385 x 465 x 200mm stainless steel mounted waste bin installed to manufacturer's specifications | No | 1 | R | R | R
4.44 | 600mm Long chromium plated towel rails | No | 1 | R | R | R
4.45 | 1200mm Long chromium plated towel rails | No | 1 | R | R | R
Stainless steel
4.46 | Vaal 2No 32mm stainless steel grab rails | No | 1 | R | R | R
4.47 | Vaal 2No 32mm stainless steel back horizontal grab rails | No | 1 | R | R | R
Sundries
|  | No | 1 | R | R | R
4.48 | Connect 110mm Upvc to existing including fittings
4.49 | Connect 50mm HDPE to existing water supply including fittings | No | 1 | R | R | R
Gutter and Downpipes
0,6mm Chromadek or similar pre-painted sheet steel / alloy gutters and rainwater pipes
4.5 | Strip exisitng and replacement with new gutters (any household type, inc painting) | m | 1 | R | R | R
4.51 | Extra over gutter for angle | No | 1 | R | R | R
4.52 | Extra over gutter for outlet for 85mm pipe | No | 1 | R | R | R
4.53 | 85mm Diameter rainwater pipes fixed to brickwork | m | 1 | R | R | R
4.54 | Extra over rainwater pipe for shoe | No | 1 | R | R | R
4.55 | Extra over rainwater pipe for eaves or plinth offset | No | 1 | R | R | R
| TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL No 4 : WATER SUPPLIES, ) |  |  |  |  | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL No 5 :
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps .). These rates to include labour,transportation and the installation there-off complete.
5 | MAINTENANCE OF EXISTING WATER SUPPLY AND FITTINGS
Plumbing Maintenance
5.1 | Unblock existing 110mm diameter toilet drainage pipe | m | 1 | R | R | R
5.2 | Unblock urinal trap | No | 1 | R | R | R
5.3 | Replace 15mm or 20mm tap washers. | No | 1 | R | R | R
5.4 | Replace ball valve complete with and including No 700 Float valve and plastic ball | No | 1 | R | R | R
5.5 | Replace syphonic cistern valve with No 780-235 syphonic flushing valve unit complete with handle, cap and back nuts and flushpipe | No | 1 | R | R | R
5.6 | Replace flush pipe rubber between cistern and pan | No | 1 | R | R | R
5.7 | Refix cistern to wall including 6mm rawl bolt or 6mm diameter Eureka threaded rod | No | 1 | R | R | R
5.8 | Remove and replace pan connector | No | 1 | R | R | R
5.9 | Refix basin to wall including 6mm rawl bolts or 6mm diameter Eureka threaded rod | No | 1 | R | R | R
5.1 | Replace missing cistern lid | No | 1 | R | R | R
5.11 | Remove undertile stopcocks and shower rose and stop off. | No | 1 | R | R | R
MAINTENANCE OF EXISTING STORM WATER
5.12 | Excavate to expose and remove existing storm water pipes not exceeding 1m deep including backfilling with selected fill compacting to 95% Mod Aashto and level to match existing. | m | 1 | R | R | R
5.13 | Excavate to expose and remove existing storm water pipes exceeding 1m and not exceeding 2m deep including backfilling with selected fill compacting to 95% Mod Aashto and level to match existing. | m | 1 | R | R | R
5.14 | Break up and remove existing brick stormwater inspection chamber not exceeding 1m deep including backfilling with selected fill, compacting to 95% Mod Aashto and level to match existing. | m | 1 | R | R | R
5.15 | Break up and remove existing brick stormwater inspection chamber exceeding 1m and not deep including backfilling with selected fill, compacting to 95% Mod Aashto and level to match existing ground surface. | m | 1 | R | R | R
5.16 | Break up and remove existing concrete circular stormwater inspection chamber not exceeding 1m deep including backfilling with selected fill, compacting to 95% Mod Aashto and level to match existing ground surface. | m | 1 | R | R | R
5.17 | Break up and remove existing concrete circular stormwater inspection chamber exceeding 1m and not exceeding 2m deep including backfilling with selected fill, compacting to 95% Mod Aashto and level to match existing ground surface. | m | 1 | R | R | R
Grating
5.18 | Remove existing 450 x 600mm x 68kg type 9D cast iron single seal manhole cover, frame and replace with new | No | 1 | R | R | R
5.19 | Remove existing 450 x 600mm x 117kg type 9D cast iron single seal manhole cover, frame and replace with new | No | 1 | R | R | R
5.2 | Remove existing precast circular manhole cover, frame and replace with new 150mm thick manhole cover slab size 1670 x 16770mm cover slab with 150mm thick x 620mm with 150mm x 620mm diameter removable cover. | No | 1 | R | R | R
Rodding
5.21 | Allow for rodding stormwater line clean | m | 1 | R | R | R
5.22 | Allow for cleaning stormwater inspection chamber | No | 1 | R | R | R
MAINTENANCE OF EXISTING SEWER
5.23 | Excavate to expose and repair existing sewer pipes not exceeding 1m deep including backfilling with selected fill compacting to 95% Mod Aashto and level to match existing. | m | 1 | R | R | R
5.24 | Excavate to expose and repair existing sewer pipes exceeding 1m and not exceeding 2m deep including backfilling with selected fill compacting to 95% Mod Aashto and level to match existing. | m | 1 | R | R | R
5.25 | Break up and remove existing brick sewer inspection chamber not exceeding 1m deep including backfilling with selected fill, compacting to 95% Mod Aashto and level to match existing. | m | 1 | R | R | R
5.26 | Break up and remove existing brick sewer inspection chamber exceeding 1m and not deep including backfilling with selected fill, compacting to 95% Mod Aashto and level to match existing. | m | 1 | R | R | R
5.27 | Break up and remove existing concrete circular sewer inspection chamber not exceeding 1m deep including backfilling with selected fill, compacting to 95% Mod Aashto and level to match existing. | m | 1 | R | R | R
5.28 | Break up and remove existing concrete circular sewer inspection chamber exceeding 1m and not exceeding 2m deep including backfilling with selected fill, compacting to 95% Mod Aashto and level to match existing. | m | 1 | R | R | R
Grating
5.29 | Take up and remove existing 1050mm diameter 180kg type za cast iron manhole cover and frame and replace with new. | No | 1 | R | R | R
5.3 | Remove existing 450 x 600mm x 117kg type 9D cast iron single seal manhole cover and frame and replace with new | No | 1 | R | R | R
5.31 | Remove existing precast circular manhole cover, frame and replace with new 1640 x 1640 x 170mm heavy duty precast man hole cover slab including bedding edges all round in cement mortar. | No | 1 | R | R | R
Rodding
5.32 | Allow for rodding sewer line clean | m | 1 | R | R | R
5.33 | Allow for cleaning sewer inspection chamber | No | 1 | R | R | R
MAINTENANCE OF EXISTING RAINWATER GOODS
Cleaning out rain of rainwater goods
5.34 | Clean out fibre cement eaves gutters internally, rake out joints and re-seal with a polysulphide sealant | m | 1 | R | R | R
5.35 | Dismantle and clean out fibre cement eaves gutters, re-assemble with new gutter bolts and re-seal with a polysulphide sealant | m | 1 | R | R | R
5.36 | Clean out existing valley lining of all vegetation and debris | m | 1 | R | R | R
5.37 | Clear existing eaves gutter and rainwater outlet of all vegetation and debris | m | 1 | R | R | R
5.38 | Take down and remove half round gutter brackets and replace with new aluminium brackets with new galvanisde bolts | No | 1 | R | R | R
5.39 | Take down and remove 152x152 gutter brackets and replace with new aluminium brackets with new galvanised bolts | No | 1 | R | R | R
5.4 | Clear existing full-bore outlets and storm water inlets of all vegetation and debris. | No | 1 | R | R | R
Speacilised Work (Leaking, Detection, )
5.41 | Underground leak Detention | Hour | 1 | R | N/A | R
5.42 | CCTV Camera drain inspection | Hour | 1 | R | N/A | R
5.43 | High Pressure Drain Cleaning | Hour | 1 | R | N/A | R
| TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL No 5 : MAINTENANCE OF EXISTING WATER SUPPLY AND FITTINGS) |  |  |  |  | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL No 6 :
6 | TILING - SANS 10400
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps .). These rates to include labour,transportation and the installation there-off complete.
SUPPLEMENTARY PREAMBLES
Tiling on brick or concrete walls, columns, and floors to be fixed in stict accordance with the manufacturer's instructions and to include for adhesives, bedding and grouting complete to plastered or screeded surfaces
FLOOR TILING
300 x 300 x 8mm Ceramic floor tiles of an approved colour, allow the sum of R 170.00 (one hundred and seventy rand) per m2 ex factory/supplier laid on screed with tile bedding and flush pointed with epoxy mortar
6.1 | On floors and landings | m² | 1 | R | R | R
6.2 | 150mm High tile skirting | m | 1 | R | R | R
600 x 600 x 11mm Non-slip porcelain tiles (P.C allowance of R200.00/m2 excludes V.A.T. but includes delivery to site),fixed with adhesive and flush pointed with tinted waterproof jointing compound
6.3 | On floors and landings | m² | 1 | R | R | R
6.4 | 150mm High tile skirting | m | 1 | R | R | R
300 x 300 x 15mm Natural slate tiles of an approved colour, allow the sum of R 220.00 (Two hudred and twenty rand) per m2 ex factory/supplier fixed with adhesive to plaster on brickwork or concrete and pointed with matching cement grout
6.5 | On floors and landings | m² | 1 | R | R | R
6.6 | 150mm High tile skirting | m | 1 | R | R | R
300 x 300mm Non-slip porcelain tiles (PC R250/m² supply and delivery) fixed with adhesive to screed and flushpointed with tinted jointing compound externally:
6.7 | On floors and landings. | m² | 1 | R | R | R
6.8 | Skirting 150mm high. | m | 1 | R | R | R
600 x 600mm Non-slip porcelain tiles (PC R300/m² supply and delivery) fixed with adhesive to screed and flushpointed with tinted jointing compound internally:
6.9 | On floors and landings. | m² | 1 | R | R | R
6.1 | Skirting 150mm high. | m | 1 | R | R | R
Sundries
6.11 | 15 x 15 x 2mm Aluminium Edge strip | m | 1 | R | R | R
6.12 | U-Shaped aluminium expansion joint strip in tiling | m | 1 | R | R | R
WALL TILING
600 x 600mm White glazed ceramic tiles (PC R180/m² supply and delivery) fixed with adhesive to plaster and flushpointed with tinted jointing compound:
6.13 | On walls | m² | 1 | R | R | R
300 x 450 x 8mm Glazed ceramic tiles of an approved colour, allow the sum of R 180.00 per m2 ex factory/supplier fixed with adhesive to plaster on brickwork or concrete and pointed with matching cement grout
6.14 | On walls | m² | 1 | R | R | R
200 x 200 x 6mm Glazed ceramic tiles of an approved colour, allow the sum of R 140.00 per m2 ex factory/supplier fixed with adhesive to plaster on brickwork or concrete and pointed with matching cement grout
6.15 | On walls | m² | 1 | R | R | R
150 x 200 x 6mm Glazed ceramic tiles of an approved colour, allow the sum of R 100.00 per m2 ex factory/supplier fixed with adhesive to plaster on brickwork or concrete and pointed with matching cement grout
6.16 | On walls | m² | 1 | R | R | R
| TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL No 7 : TILING) |  |  |  |  | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL No 7 :
7 | DEMOLITIONS, REMOVALS AND ALTERATIONS
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps .). These rates to include labour,transportation and the installation there-off complete.
Old materials
Old materials from alterations except where described to be reused or handed over, become the property of the Contractor who must allow credit for same in the item rates as described below. Old materials from the removals and alterations except where described to be reused or handed over, as well as old rubbish, must regularly be carted from the site and not be allowed to accumulate on or around the site. None of the old materials are to be used for new work except where specifically described as to be handed over by the contractor to the Employer. Such materials or articles shall be properly stored by the contractor until handing over thereof. The contractor shall obtain an official receipt listing the materials or articles and dates of handing over. If the contractor fails to submit the receipt when requested to do so it shall be deemed that the materials or articles are still in his possesion and he will be held liable to the Employer for the full replacement value thereof which amount will be deducted from any monies due to the contractor
Rates must be shown in full and extended and not lumped.
The Employer reserve the right to keep any or all of the old materials described in the bill of quantities irrespective of such materials having been priced or not at the rates indicated against the respective items.
BUILDING UP OPENINGS
Brickwork in NFP bricks in class II mortar in building up openings
7.1 | 115mm brickwall | m² | 1 | R | R | R
7.2 | 230mm brick walls | m² | 1 | R | R | R
7.3 | 345mm brick walls | m² | 1 | R | R | R
Brickwork in NFP bricks in class II mortar in building up openings, including bonding new to existing and making good cement plaster on both sides
7.4 | 110mm brickwall | m² | 1 | R | R | R
7.5 | 220mm brick walls | m² | 1 | R | R | R
7.6 | 345mm brick walls | m² | 1 | R | R | R
Sundries
7.7 | Cutting toothings and bonding new brickwork to existing | m² | 1 | R | R | R
Face bricks pointed with flush horizontal and vertical joints
7.8 | Extra over brickwork for face brickwork in patches | m² | 1 | R | R | R
7.9 | 150mm Wide brick-on-edge header course sill set sloping and slightly projecting | m | 1 | R | R | R
7.1 | Cutting toothings and bonding new face brickwork to existing | m | 1 | R | R | R
PREPARATORY WORK TO EXISTING SURFACES
7.11 | Cutting out joints of existing brickwork to receive plaster | m² | 1 | R | R | R
7.12 | Hacking face of existing concrete columns, beams, to receive plaster | m² | 1 | R | R | R
7.13 | Making good defects in existing screeded floors | m² | 1 | R | R | R
MAKING GOOD OF FINISHES
Making good face brickwall
7.14 | Brickwork at end of half brick wall | m | 1 | R | R | R
7.15 | Brickwork at end of one brick wall | m | 1 | R | R | R
Making good "Rhino" gypsum plasterboard ceilings and brandering
7.16 | Ceiling in patches | m² | 1 | R | R | R
7.17 | Ceilings where half brick walls removed | m² | 1 | R | R | R
7.18 | Ceilings where one brick walls removed | m² | 1 | R | R | R
7.19 | Traps Door in gypsum ceiling, size 650mm x 650mm | m² | 1 | R | R | R
7.2 | Traps Door in fibre cement ceiling, size 650mm x 650mm | m² | 1 | R | R | R
Making good vinyl floor tiles
7.21 | Floors in patches | m² | 1 | R | R | R
7.22 | Floors where partitions removed | m | 1 | R | R | R
7.23 | Floors where one brick walls removed | m | 1 | R | R | R
7.24 | Floors where one brick walls removed | m | 1 | R | R | R
Making good untinted granolithic
7.25 | Making good screed where brick walls, removed not exceeding 300mm wide | m | 1 | R | R | R
Making good cement screeds
7.26 | 30mm thick floors in patches | m² | 1 | R | R | R
7.27 | Making good screed where brick walls, removed not exceeding 300mm wide | m | 1 | R | R | R
7.28 | Making good plaster to face of walls where brick walls, removed not exceeding 300mm wide | m | 1 | R | R | R
7.29 | Making good plaster to concrete ceiling where wall removed not exceeding 300mm wide | m | 1 | R | R | R
Making good internal cement plaster
7.3 | Walls in patches | m² | 1 | R | R | R
7.31 | Concrete ceilings in patches | m² | 1 | R | R | R
7.32 | Walls where half brick walls removed | m² | 1 | R | R | R
7.33 | Walls where one brick walls removed | m² | 1 | R | R | R
7.34 | Concrete ceilings where half brick walls removed | m² | 1 | R | R | R
7.35 | Concrete ceilings where one brick walls removed | m² | 1 | R | R | R
Making good white glazed tiles
7.36 | Walls in patches | m² | 1 | R | R | R
7.37 | Walls where half brick walls removed | m² | 1 | R | R | R
7.38 | Walls where one brick walls removed | m² | 1 | R | R | R
Making good porcelain tiles
7.39 | Walls in patches | m² | 1 | R | R | R
7.4 | Walls where half brick walls removed | m² | 1 | R | R | R
7.41 | Walls where one brick walls removed | m² | 1 | R | R | R
Backfilling and reinstate
7.42 | In-situ fill or cut material compacted to 90 % of modified AASHTO density | m³ | 1 | R | R | R
7.43 | Selected layers compacted to 93 % of modified AASHTO density | m³ | 1 | R | R | R
7.44 | Cement stabilized subbase layer compacted to 95% of modified AASHTO density | m³ | 1 | R | R | R
Prefabricated culverts:
7.45 | On class B bedding (375 mm Class 100D) | m³ | 1 | R | R | R
CUTTING AND REINSTATING THROUGH FLOORS, PAVINGS,
7.46 | Saw cutting through 100mm thick unreinforced concrete paving for 600mm wide cable trench and making good concrete on completion | m | 1 | R | R | R
7.47 | Lifting up interlocking concrete block paving as necessary for 600mm wide cable trench and relaying and making good paving on completion | m | 1 | R | R | R
7.48 | Road surface | m³ | 1 | R | R | R
7.49 | Repair and reinstate of paved areas | m² | 1 | R | R | R
7.5 | Repair and reinstate of concrete areas | m² | 1 | R | R | R
7.51 | Removal of tree roots | m² | 1 | R | R | R
| TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL No 7 - DEMOLITIONS,REMOVALS AND ALTERATIONS) |  |  |  |  | R

## FINAL SUMMARY PLUMBING
MOGALE CITY LOCAL MUNICIPALITY
REPAIRS AND MAINTENANCE OF WATERPROOF , DAMP PROOFING, ROOFING ELEMENTS AND GENERAL PAINTING ON AN AS AND WHEN REQUIRED BASIS FOR A PERIOD OF THREE (3) YEARS
BILL NO: |  | RANDS
1A | SECTION 1A: PROVISIONAL SUMS | 2700000
1B | SECTION 1B: LABOUR RATE; CoC | R
2 | RAINWATER DISPOSAL | R
3 | SANITARY FITTINGS AND DRAINAGE | R
4 | WATER SUPPLIES, | R
5 | MAINTENANCE OF EXISTING WATER SUPPLY AND FITTINGS | R
6 | TILING - SANS 10400 | R
7 | DEMOLITIONS, REMOVALS AND ALTERATIONS | R
| SUB-TOTAL | R
| VAT: 15% | R
| TOTAL | R