## ELECTRICAL BOQ
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL No 1 :
1 | SECTION 1A: PROVISIONAL SUMS
Contractual requirement (As described in section C3)
Psum will only be accessed and used through change/variation management process inclusive of 3 quotations request and motivation for approval by a delegated MCLM Official.
General items
1.1 | Budgetary Allowance: For unscheduled or non-schedule items which are not specified in the Bills of Quantities (Determined by the Mogale City Local Municipality), | Psum | 1 | 1000000 | N/A | 1000000
1.2 | Industrial scaffolding, Specialised Machinery, Plant and Equipment | Psum | 1 | 200000 | N/A | 200000
Solar Panel System various sizes from minimum of 3KW to maximum to 100KW
1.3 | Solar Panel System (inclusive of Certificate of Compliance and all applicable documents applicable to new installation) | Psum | 1 | 1000000 | N/A | 1500000
MOTOR GATE, BOOM GATES AND ROLLER SHUTTER DOORS
1.4 | Repair, servicing, maintenance and installation of electrical motor gates, boom gates and roller shutter doors | Psum | 1 | 200000 | N/A | 200000
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (SECTION 1A P&G's ONLY) | [5 empty] | 2900000
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL No 1B :
SECTION 1B: LABOUR RATE; CoC
Work done between Monday and Friday from 7:30am to 4pm shall be paid as per qouted rate for that particular item.
Overtime during Saturdays; Sundays; and Public Holidays
1.5 | Electrical Artisan | Hour | 1 | R | N/A | R
1.6 | Elconop / Electrical Assistant Artisan | Hour | 1 | R | N/A | R
1.7 | CoC Certificate: | Item | 1 | R | N/A | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (SECTION 1B: LABOUR RATE; CoC) | [5 empty] | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
2 | CABLES (PROVISIONAL)
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps). These rates to include labour, transportation and the installation there-off complete.
PVC/SWA/PVC ECC stranded copper conductor drawn into sleeves and/or laid in trenches
2.1 | 4mm2 x 2-Core | m | 1 | R | R | R
2.2 | 16mm2 x 2-Core | m | 1 | R | R | R
2.3 | 6mm2 x 3-Core | m | 1 | R | R | R
``
2.4 | 6mm2 x 4-Core | m | 1 | R | R | R
2.5 | 10mm2 x 4-Core | m | 1 | R | R | R
2.6 | 16mm2 x 4-Core | m | 1 | R | R | R
2.7 | 25mm2 x 4-Core | m | 1 | R | R | R
2.8 | 35mm2 x 4-Core | m | 1 | R | R | R
2.9 | 50mm2 x 4-Core | m | 1 | R | R | R
2.1 | 70mm2 x 4-Core | m | 1 | R | R | R
2.11 | 95mm2 x 4-Core | m | 1 | R | R | R
2.12 | Disconnect, remove & re-route existing 95 mm cable | Item | 1 | R | R | R
2.13 | 120mm2 x 4-Core | m | 1 | R | R | R
2.14 | 150mm2 x 4-Core | m | 1 | R | R | R
Cable terminations complete, including gland shrouds, lugs, number tags, tape, and connecting
2.15 | 4mm2 x 2-Core | No | 1 | R | R | R
2.16 | 6mm2 x 3-Core | No | 1 | R | R | R
2.17 | 6mm2 x 4-Core | No | 1 | R | R | R
2.18 | 10mm2 x 4-Core | No | 1 | R | R | R
2.19 | 16mm2 x 4-Core | No | 1 | R | R | R
2.2 | 25mm2 x 4-Core | No | 1 | R | R | R
2.21 | 35mm2 x 4-Core | No | 1 | R | R | R
2.22 | 50mm2 x 4-Core | No | 1 | R | R | R
2.23 | 70mm2 x 4-Core | No | 1 | R | R | R
2.24 | 70mm2 x 1-Core termination | No | 1 | R | R | R
2.25 | 95mm2 x 4-Core | No | 1 | R | R | R
2.26 | 120mm2 x 4-Core | No | 1 | R | R | R
2.27 | 150mm2 x 4-Core | No | 1 | R | R | R
2.28 | 150 mm single core H07 cable | No | 1 | R | R | R
Cable joints including terminations, single core tails,
2.29 | 10mm2 x 4-Core | No | 1 | R | R | R
2.3 | 16mm2 x 4-Core | No | 1 | R | R | R
2.31 | 25mm2 x 4-Core | No | 1 | R | R | R
2.32 | 35mm2 x 4-Core | No | 1 | R | R | R
2.33 | 50mm2 x 4-Core | No | 1 | R | R | R
2.34 | 70mm2 x 4-Core | No | 1 | R | R | R
2.35 | 95mm2 x 4-Core | No | 1 | R | R | R
2.36 | 120mm2 x 4-Core | No | 1 | R | R | R
2.37 | 150mm2 x 4-Core | No | 1 | R | R | R
2.38 | 185mm2 x 4-Core | No | 1 | R | R | R
2.39 | 240mm2 x 4-Core | No | 1 | R | R | R
2.4 | 300mm2 x 4-Core | No | 1 | R | R | R
2.41 | 150mm Single core H07 cable termination | No | 1 | R | R | R
Earth Wires - Bare Copper
2.42 | 4mm2 x 2-Core | No | 1 | R | R | R
2.43 | 6mm2 x 3-Core | No | 1 | R | R | R
2.44 | 6mm2 x 4-Core | No | 1 | R | R | R
2.45 | 10mm2 x 4-Core | No | 1 | R | R | R
2.46 | 16mm2 x 4-Core | No | 1 | R | R | R
2.47 | 25mm2 x 4-Core | No | 1 | R | R | R
2.48 | 35mm2 x 4-Core | No | 1 | R | R | R
2.49 | 50mm2 x 4-Core | No | 1 | R | R | R
2.5 | 70mm2 x 4-Core | No | 1 | R | R | R
2.51 | 70mm2 x 1-Core termination | No | 1 | R | R | R
2.52 | 95mm2 x 4-Core | No | 1 | R | R | R
2.53 | 120mm2 x 4-Core | No | 1 | R | R | R
2.54 | 150mm2 x 4-Core | No | 1 | R | R | R
2.55 | 150 mm single core H07 cable | No | 1 | R | R | R
Gable Glands
2.56 | Size 1 | No | 1 | R | R | R
2.57 | Size 2 | No | 1 | R | R | R
2.58 | Size 3 | No | 1 | R | R | R
Cable jointing sundries
2.59 | Allow for general compliance: Cable Jointing of the detail electrical specification | Item | 1 | R | R | R
CABLE TRAYS
Galvanised heavy duty cable trays, including short lengths and fixed to walls
2.6 | 100mm Wide cable trays | m | 1 | R | R | R
2.61 | 150mm Wide cable trays | m | 1 | R | R | R
2.62 | 400mm Wide cable trays | m | 1 | R | R | R
Extra over cable tray for:
2.63 | 150mm Bend | No | 1 | R | R | R
2.64 | 150mm T-piece | No | 1 | R | R | R
2.65 | 400mm Bend | No | 1 | R | R | R
2.66 | 400mm T-piece | No | 1 | R | R | R
SLEEVES
Unplasticised polyvinyl chloride (uPVC) sleeve piping including short lengths and jointing, laid in trench
2.67 | 50mm Diameter rigid pipes | m | 1 | R | R | R
2.68 | 75mm Diameter rigid pipes | m | 1 | R | R | R
2.69 | 110mm Diameter rigid pipes | m | 1 | R | R | R
2.7 | 150mm Diameter rigid pipes | m | 1 | R | R | R
2.71 | 50mm Diameter flexible pipes | m | 1 | R | R | R
2.72 | 75mm Diameter flexible pipes | m | 1 | R | R | R
2.73 | 110mm Diameter flexible pipes | m | 1 | R | R | R
Extra on UPVC piping for:
2.74 | 110mm Diameter long radius bend | No | 1 | R | R | R
2.75 | 150mm Diameter long radius bend | No | 1 | R | R | R
CABLE TRENCHES
2.76 | Soft excavation not exceeding 2m deep for cable trenches including risk of collapse of excavations, keeping excavations free from water, setting aside excavated material and later refilling of trenches | m³ | 1 | R | R | R
Extra over excavation for cable or sleeve trenches for excavation in:
2.77 | Intermediate material | m³ | 1 | R | R | R
2.78 | Hard rock material | m³ | 1 | R | R | R
SUNDRIES
2.79 | Cable warning tape placed 150mm above cables in excavations | m | 1 | R | R | R
2.8 | Concrete block cable marker with inscribed aluminium or brass indicator plate | No | 1 | R | R | R
CUTTING AND REINSTATING THROUGH FLOORS, PAVINGS,
2.81 | Saw cutting through 100mm thick unreinforced concrete paving for 600mm wide cable trench and making good concrete on completion | m | 1 | R | R | R
2.82 | Lifting up interlocking concrete block paving as necessary for 600mm wide cable trench and relaying and making good paving on completion | m | 1 | R | R | R
2.83 | Road surface | m³ | 1 | R | R | R
2.84 | Repair and reinstate of paved areas | m² | 1 | R | R | R
2.85 | Repair and reinstate of concrete areas | m² | 1 | R | R | R
2.86 | Removal of tree roots | m² | 1 | R | R | R
CABLE MANHOLES
2.87 | 600 x 600mm Brick inspection chamber not exceeding 1000mm deep internally, including precast concrete cover slab (cover elsewhere) | No | 1 | R | R | R
2.88 | 1000 x 1000mm Brick inspection chamber not exceeding 1000mm deep internally, including precast concrete cover slab (cover elsewhere) | No | 1 | R | R | R
2.89 | 450 x 450mm x 27,4kg cast iron grating and frame | No | 1 | R | R | R
GENERAL LIGHTING POWER
CONDUITS
Galvanised steel conduits
2.9 | 50mm Diameter | m | 1 | R | R | R
Rigid PVC conduits
Including all accessories i:e adaptors, couplings, sandles, round boxes.
2.91 | 20mm Diameter | m | 1 | R | R | R
2.92 | 25mm Diameter | m | 1 | R | R | R
2.93 | 32mm Diameter | m | 1 | R | R | R
galvanised conduits
2.94 | 20mm Diameter | m | 1 | R | R | R
2.95 | 25mm Diameter | m | 1 | R | R | R
2.1 | 32mm Diameter | m | 1 | R | R | R
2.101 | 50mm Diameter | m | 1 | R | R | R
PVC conduit accessories
2.102 | 100 x 50 x 50mm Deep box | No | 1 | R | R | R
2.103 | 100 x 100 x 50mm Deep box | No | 1 | R | R | R
2.104 | Blank cover plate for 100mm x 100mm box | No | 1 | R | R | R
WIRING CHANNELS
2.105 | Type P2000 galvanised wiring channels fitted with full length cover plates and suspended from timber trusses/purlins | m | 1 | R | R | R
2.106 | Type P8000 galvanised wiring channels fitted with full length cover plates and suspended from timber trusses/purlins | m | 1 | R | R | R
Draw Wire
2.107 | Supply and install 1.6mm galvanised steel wire drawn into conduit and wireways. | m | 1 | R | R | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 2 : EXISITING INSTALLATION, ) | [5 empty] | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL NO.3 :
3 | CONDUITS AND WIRING
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps). These rates to include labour, transportation and the installation there-off complete.
PVC conductors
PVC insulated stranded copper earth conductors drawn into wireways:
3.1 | 2,5mm2 | m | 1 | R | R | R
3.2 | 6mm2 | m | 1 | R | R | R
3.3 | 4mm2 | m | 1 | R | R | R
PVC insulated stranded copper conductors drawn into wireways:
3.4 | 2,5mm2 | m | 1 | R | R | R
3.5 | 4mm2 | m | 1 | R | R | R
3.6 | 10mm2 | m | 1 | R | R | R
3.7 | 16mm2 | m | 1 | R | R | R
3.8 | 25mm2 | m | 1 | R | R | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 3 : CONDUITS AND WIRING, ) | [5 empty] | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL NO. 4 :
4 | POWER INSTALLATION
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps). These rates to include labour, transportation and the installation there-off complete.
LIGHT SWITCHES, SWITCHED SOCKET OUTLETS, OR SIMILAR CRABTREE
NOTE : Rates must include for engraving cover plates indicating DB and circuit number labelling
4.1 | Supply and install galv. Boxes 16 Amp 3 pin switched socket outlets complete with cover plate on wall surface . 16 Amp 3 pin single switched socket oulet - 4 x 4 | No | 1 | R | R | R
4.2 | Supply and install galv. Boxes 16 Amp 3 pin switched socket outlets complete with cover plate on wall surface 16 Amp 3 pin double switched socket oulet - 4 x 2 | No | 1 | R | R | R
4.3 | Supply and install galv. Boxes 16 Amp 3 pin switched socket outlets complete with cover plate on power skarting 16 Amp 3 pin dedicated switched socket oulet - 4 x 2 | No | 1 | R | R | R
4.4 | Supply and install galv. Boxes 16 Amp 3 pin switched socket outlets complete with cover plate power skarting 16 Amp 3 pin dedicated switched socket oulet - 4 x 2 | No | 1 | R | R | R
Switches, complete with engraved metal cover plates
4.5 | Royce Thomson P5 type photo electric cell complete with "Hubbel" type plug set suitable for mounting on and including galvanised pressed steel conduit box and neoprene gasket | No | 1 | R | R | R
DAYLIGHT SWITCH/ PHOTOCELL
4.6 | Supply and install photocell unit suitable for use with discharge luminaires. | No | 1 | R | R | R
SIREN / BELLS
Supply, install and connect a siren complete in a vandalproof box:
Siren as specified
4.7 | Siren push button mounted in a wall box | No | 1 | R | R | R
LIGHT SWITCHES
Supply and install, 4 x 2 galvanised boxes, includung the connections of the light switches complete with cover plate and accessories, similar to crabtree
4.8 | 16A 1 way 1 lever | No | 1 | R | R | R
4.9 | 16A 1 way 2 lever | No | 1 | R | R | R
4.1 | 16A 1 way 3 lever | No | 1 | R | R | R
5A UNSWITCHED SOCKETS
4.11 | Supply and install 5A sockets in ceiling void for light fittings complete with all accessories | No | 1 | R | R | R
Switches, complete with engraved metal cover plates fixed in flush boxes: similar to crabtree
4.12 | 16A One-lever one-way switch | No | 1 | R | R | R
4.13 | 16A Two-lever one-way switch | No | 1 | R | R | R
4.14 | 16A Three-lever one-way switch | No | 1 | R | R | R
4.15 | 16A One-lever two-way switch | No | 1 | R | R | R
4.16 | 16A One-lever one-way watertight switch | No | 1 | R | R | R
4.17 | 5A Single three-pin unswitched socket outlet for round box | No | 1 | R | R | R
4.18 | 16A Single three-pin switched socket outlet | No | 1 | R | R | R
4.19 | 16A Dedicated single three-pin switched socket outlet | No | 1 | R | R | R
4.2 | 16A Red coloured single three-pin switched socket outlet | No | 1 | R | R | R
4.21 | 16A Double three-pin switched socket outlet | No | 1 | R | R | R
4.22 | 16A Red coloured double three-pin switched socket outlet | No | 1 | R | R | R
4.23 | 16A Single three-pin waterproof switched socket outlet | No | 1 | R | R | R
4.24 | 20A Double pole isolator | No | 1 | R | R | R
4.25 | 20A Double pole weatherproof isolator | No | 1 | R | R | R
4.26 | 20A Triple pole isolator | No | 1 | R | R | R
4.27 | 30A Double pole isolator | No | 1 | R | R | R
4.28 | 40A Triple pole isolator | No | 1 | R | R | R
4.29 | 150A Triple pole isolator | No | 1 | R | R | R
4.3 | 200A Triple pole isolator | No | 1 | R | R | R
4.31 | York Boxes | No | 1 | R | R | R
4.32 | 200 x 200mm Weatherproof york box | No | 1 | R | R | R
INTERCOM
4.33 | Supply and install 4x4 galvanised boxes complete with covers and screws. | No | 1 | R | R | R
ISOLATORS
4.34 | Supply and install isolator switch complete with box and associated materials and connection 20A double pole stove isolator | No | 1 | R | R | R
4.35 | 20A double pole geyser isolator and airconditioner | No | 1 | R | R | R
LUMINAIRES AND EQUIPMENT
Luminaires or equipment complete with lamps, connections, mounted in position
4.36 | T5 – 28 Watts Low brightness Fluorescent Tube | No | 1 | R | R | R
4.37 | LED 18 watts tubes 4 Foot | No | 1 | R | R | R
4.38 | LED 18 watts tubes 5 Foot | No | 1 | R | R | R
4.39 | 600x600 Recess Light - Complete with 3 LED 18 watts tubes prismatic diffuser fluorescent fitting | No | 1 | R | R | R
4.4 | 1200x600 Recess Light - Complete with 3 LED 18 watts tubes prismatic diffuser fluorescent fitting | No | 1 | R | R | R
4.41 | Convert Existing 600x600 fitting from T- 8 to LED for 2 Channel | No | 1 | R | R | R
4.42 | Convert Existing 1200x600 fitting from T- 8 to LED for 3 Channel | No | 1 | R | R | R
4.43 | 7W downlighter with white trim complete with glass lens, 1,5m cabtyre, 3-pin plug top, | No | 1 | R | R | R
4.44 | 12W downlighter with white trim complete with glass lens, 1,5m cabtyre, 3-pin plug top, | No | 1 | R | R | R
4.45 | 18W downlighter with white trim complete with glass lens, 1,5m cabtyre, 3-pin plug top, | No | 1 | R | R | R
4.46 | Open Channel 5 Foot Double Tubes LED Fluorescent Fitting | No | 1 | R | R | R
4.47 | "LIH/BH/IND/LU/POLY/CL-2PL9" round surface mounted bulkhead fitting or similar | No | 1 | R | R | R
4.48 | 150W "LIH150W/OTELLA" wall mounted up/down fitting | No | 1 | R | R | R
4.49 | "Beka Argos" double ceiling mounted emergency exit sign light complete with exit signage | No | 1 | R | R | R
4.5 | "Beka Argos" double ceiling mounted emergency exit sign light complete with RTO204 exit signage | No | 1 | R | R | R
4.51 | LED High Bay 150W Fitting | No | 1 | R | R | R
FLOODS LIGHTS (SPORTS FACILITIES LIGHTS)
4.52 | 1000W Floodlights Fitting | No | 1 | R | R | R
4.53 | 2000W Floodlights Fitting | No | 1 | R | R | R
4.54 | 1000W Globes | No | 1 | R | R | R
4.55 | 2000W Globes | No | 1 | R | R | R
4.56 | 1000W Compactable Ballast (3 Phase) | No | 1 | R | R | R
4.57 | 2000W Compactable Ballast (3 Phase) | No | 1 | R | R | R
4.58 | 1000W Ignitor | No | 1 | R | R | R
4.59 | 2000W Ignitor | No | 1 | R | R | R
4.6 | 1000W Capacitor | No | 1 | R | R | R
4.61 | 2000W Capacitor | No | 1 | R | R | R
4.62 | 250W LED Floodlight | No | 1 | R | R | R
4.63 | 400W LED Floodlight | No | 1 | R | R | R
4.64 | 250W Globe | No | 1 | R | R | R
4.65 | 400W Globe | No | 1 | R | R | R
4.66 | 250W Ignitor | No | 1 | R | R | R
4.67 | 400W Ignitor | No | 1 | R | R | R
SUNDRIES
4.68 | Allow for marking and labelling of all equipment, cables, and for engraving cover plates indicating DB and circuit number labelling | Psum | 1 | 80000 | N/A | 80000
4.69 | Disposing of Fluorescent Fittings (Certificate of disposal must be issued) | Item | 1 | R | R | R
HEAT DETECTION/INFRA RED TEST
Allow for heat detection/Infra red test:
4.7 | An Inspection report supported by photos to be submitted to the Municipal Official | No | 1 | R | R | R
EARTHING & BONDING
4.71 | Earthing and bonding of all buildings and testing thereof | Item | 1 | R | R | R
TESTING & COMMISSIONING
4.72 | Allow for testing, balancing and commissioning the complete electrical installation | Item | 1 | R | R | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 4 : POWER INSTALLATION, ) | [5 empty] | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL NO. 5 :
5 | CIRCUIT BREAKERS
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps). These rates to include labour, transportation and the installation there-off complete.
5.1 | 15A | m | 1 | R | R | R
5.2 | 20A | No | 1 | R | R | R
5.3 | 25A | No | 1 | R | R | R
5.4 | 30A | No | 1 | R | R | R
5.5 | 40A | m | 1 | R | R | R
5.6 | 60A Double Pole | m | 1 | R | R | R
5.7 | 80A Double Pole | m | 1 | R | R | R
5.8 | 60A Triple Pole | m | 1 | R | R | R
5.9 | 80A Triple Pole | m | 1 | R | R | R
5.1 | 100A Triple Pole | m | 1 | R | R | R
CIRCUIT BREAKER 10/15/25K NON ADJUSTABLE
5.11 | 125A Triple Pole | No | 1 | R | R | R
5.12 | 150A Triple Pole | No | 1 | R | R | R
5.13 | 200A Triple Pole | No | 1 | R | R | R
5.14 | 250A Triple Pole | No | 1 | R | R | R
EARTH LEAKAGES
5.15 | 63A Earth leakage with overload protection - Double Pole | No | 1 | R | R | R
5.16 | 80A Earth leakage with overload protection - Double Pole | No | 1 | R | R | R
5.17 | 63A Earth leakage with overload protection - Four Pole | No | 1 | R | R | R
5.18 | 80A Earth leakage with overload protection - Four Pole | No | 1 | R | R | R
SURGE ARRESTORS
5.19 | Single Pole | No | 1 | R | R | R
5.2 | Double Pole | No | 1 | R | R | R
5.21 | Triple Pole | No | 1 | R | R | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 5 : CIRCUIT BREAKERS, ) | [5 empty] | R
Item | Description | Uom | Quantity | Rate | Labour | Amount Excl. Vat ( R )
BILL NO. 6 :
6 | EARTHING AND BONDING
All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps). These rates to include labour and the installation there-off complete.
LIGHTNING PROTECTION INSTALLATION
The Contractor shall supply and install all lightning and earthing conductors, rods and bonds to roof including all tests reports and confirming full compliance with SABS 03 1993.
Excavation
6.1 | Soft excavation not exceeding 2m deep for earth conductors including risk of collapse of excavations, keeping excavations free from water, setting aside excavated material and later refilling of trenches | m³ | 1 | R | R | R
Down conductors
6.2 | 50mm2 Aluminium conductors surface mounted on walls, including all necessary fixing accessories, insulating sleeves, stand off brackets, jointing, | m | 1 | R | R | R
Air terminal conductors
6.3 | 50mm2 Aluminium conductors surface mounted on metal roofing, including all necessary fixing accessories, insulating sleeves, stand off brackets, jointing, | m | 1 | R | R | R
Terminations of down conductors to air terminals
6.4 | Complete termination arrangement of the 50mm2 aluminium conductor to the metal sheeting including all necessary lugs, ferrules, making off of ends, clamps, | No | 1 | R | R | R
Earthing conductors
Earthing of all buildings to comply with the latest SANS 10142-2005 Code of Practice for The Wiring of premises as amended.
6.5 | Bonding of all hot, cold and waste pipes complete with 12,5mm x 1mm thick solid or perforated copper tape including fixings, brass srews, nut, washers, . | No | 1 | R | R | R
6.6 | 70mm2 Green PVC insulated copper conductor laid in trenches (trenches elsewhere) including jointing, | No | 1 | R | R | R
Terminations of earthing conductors to down conductors
6.7 | Complete termination arrangement of the 70mm2 PVC insulated earth conductor to the 50mm2 aluminium down conductor including all necessary lugs, ferrules, making off of ends, clamps, | No | 1 | R | R | R
Earth electrodes
6.8 | 3,6m Long "Copperweld" copper clad steel electrodes driven into the ground with top end of electrode 500mm below finished ground level | No | 1 | R | R | R
Terminations of earthing conductors to earth electrodes
6.9 | Complete termination arrangement of the 70mm2 PVC insulated copper conductor to the installed earth electrodes including all necessary lugs, ferrules, making off of ends, clamps, | No | 1 | R | R | R
POWER SKIRTINGS
Supply and install power skirting including covers, internal and external bends and all necessary accessories to form an installation to the satisfaction of the Department 3 Compartment - 2 cover type power skirting
6.1 | 150 x 50mm "Legrand" PVC two compartment power skirtings, fixed to walls | m | 1 | R | R | R
POWERSKIRTING (STEEL)
Complete with covers with end cap
6.11 | 2 Compartment | No | 1 | R | R | R
6.12 | 3 Compartment | No | 1 | R | R | R
6.13 | 45 degree bends - 2 Compartments | No | 1 | R | R | R
6.14 | 45 degree bends - 3 Compartments | No | 1 | R | R | R
6.15 | 90 degree bends - 2 Compartments | No | 1 | R | R | R
6.16 | 90 degree bends - 3 Compartments | No | 1 | R | R | R
Extra over for:
6.17 | Body joint | No | 1 | R | R | R
6.18 | Cover joint | No | 1 | R | R | R
6.19 | Internal/external corner piece | No | 1 | R | R | R
6.2 | End cap | No | 1 | R | R | R
6.21 | 16A Single three-pin flush mounted switched socket outlet complete with cover plate, fixed to skirting | No | 1 | R | R | R
6.22 | 16A Dedicated single three-pin flush mounted switched socket outlet complete with cover plate, fixed to skirting | No | 1 | R | R | R
6.23 | 16A Red coloured single three-pin flush mounted switched socket outlet complete with cover plate, fixed to skirting | No | 1 | R | R | R
6.24 | RJ11 connector with cradle/cover and mod blank | No | 1 | R | R | R
GENERAL EARTH BONDING
6.25 | Bonding of metal drainage down pipes and all other metal items | Item | 1 | R | R | R
TESTING,
6.26 | Allow for the visiting of the site and the carrying out of the required resistivity tests and the issuing of the test results and report | Item | 1 | R | R | R
6.27 | Allow for the testing of joint continuity | Item | 1 | R | R | R
6.28 | Allow for the testing of earthing points/Lightning points | Item | 1 | R | R | R
6.29 | Allow for the required maintenance of the system for the full maintenance period including a final test reading before the end of the period | Item | 1 | R | R | R
TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 6 - EARTHING AND BONDING ) | [5 empty] | R

## FINAL SUMMARY ELECTRICAL
MOGALE CITY LOCAL MUNICIPALITY
PANEL OF CONTRACTORS FOR MINOR ELECTRICAL MAINTENANCE AND REPAIRS IN MOGALECITY LOCAL MUNICIPALITY OWNED BUILDINGS ON AN AS AND WHEN REQUIRED FOR THE PERIOD OF THREE (3) YEARS
BILL NO: |  | RANDS
1A | SECTION 1A: PROVISIONAL SUMS | 2900000
1B | SECTION 1B: LABOUR RATE; CoC | R
2 | CABLES (PROVISIONAL) | R
3 | CONDUITS AND WIRING | R
4 | POWER INSTALLATION | R
5 | CIRCUIT BREAKERS | R
6 | EARTHING AND BONDING | R
| SUB-TOTAL | R
| VAT: 15% | R
| TOTAL | R